## Annex A LOT 1
REQUEST FOR QUOTATION: RFQ/HCR/CXB/2024/011 ANNEX A - TECHNICAL REQUIREMENTS (LOT 1 - ELECTRONIC APPLIANCES) FOR ESTABLISHMENT OF FRAME AGREEMENT FOR THE SUPPLY AND DELIVERY OF ELECTRONIC APPLIANCES AND ELECTRICAL ITEMS FOR UNHCR BANGLADESH
SL No. | Items Name | Technical Specifications | Equivalent Brand | Minimum Warranty Period | Estimated Yearly Required Quantity for Cox's Bazar | Estimated Yearly Required Quantity for Dhaka | Unit of Measure (UOM) | Indicative Photo | Catalogue(s)/ Photographs required. (Yes/No) | DELIVERY LEAD TIME (MAXIMUM) | Bidder's offered delivery lead time | Bidder's offered Brand | Bidder's offered Warranty Period | Compliance of proposed items specifications with UNHCR technical specifications (Annex A) | Submission of Proof of minimum two (2) similar contracts/Purchase Orders with UN Agencies, INGOs, Government or Private Sector for similar items
1 | Electric Kettle | Capacity: 1.8 litre, Cool touch body, Double Wall 304 Stainless-Steel, BPA-Free food contact materials, Voltage: 1500 watts (Copper wire), along with 01 (One) year warranty. | Equivalent to ELIMA, EMK-555, Germany brand | Minimum one (1) year | 50 | 5 | PCS |  | Yes | 10 Days
2 | Microwave | Capacity Capacity: 23-25 Litres Color: Black CHILD LOCK MICRO +CONVECTION AUTO COOKING MULTI-STAGE COOKING OVERHEATING PROTECTION & Grill facility. | Equivalent to Singer/Conion/ LG brand | Minimum two (2) years replacement warranty | 10 | 0 | PCS |  | Yes | 10 Days
3 | Inverter Split Air Conditioner | Dual Inverter AC. - Ton 1 Ton Rated Cooling Capacity (W) 3,520. - (Btu/h) 12,000 EER (W/W) 3.21. - Compressor Type Twin Rotary Compressor Motor Type Brushless DC Motor (BLDC) - Refrigerant and Charge (g) R410A/ R32, 850 Additional Refrigerant Charge g/m 20. - Easy-to-Monitor Energy Consumption - Environment-Friendly -Control 4 Levels of Energy Consumption The supplier shall also include for 2 years maintenance of the AC unit in their bid price. Technicians for the daily maintenance should be available readily in Cox's Bazar. | Equivalent to LG/Hair/Samsung brand | Minimum ten (10) years warranty of compressor | 15 | 0 | PCS |  | Yes | 10 Days
4 | Inverter Split Air Conditioner | Dual Inverter AC. - Ton 1 .5Ton Rated Cooling Capacity (W) 3,280. - (Btu/h) 18,000 EER (W/W) 3.26 - Compressor Type Twin Rotary Compressor Motor Type Brushless DC Motor (BLDC) - Refrigerant and Charge (g) R410A/R32 , 850 Additional Refrigerant Charge g/m 20. - Easy-to-Monitor Energy Consumption - Environment-Friendly -Control 4 Levels of Energy Consumption The supplier shall also include for 2 years maintenance of the AC unit in their bid price. Technicians for the daily maintenance should be available readily in Cox's Bazar. | Equivalent to LG/Hair/Samsung brand | Minimum ten (10) years warranty of compressor | 20 | 4 | PCS |  | Yes | 10 Days
5 | Inverter Split Air Conditioner | Dual Inverter AC. - Ton2.00Ton Rated Cooling Capacity (W) 6450 - (Btu/h) 22,000 EER (W/W) 3.43 - Compressor Type Twin Rotary Compressor Motor Type Brushless DC Motor (BLDC) - Refrigerant and Charge (g) R410A/R32, 1400 Additional Refrigerant Charge g/m 20. - Easy-to-Monitor Energy Consumption - Environment-Friendly -Control 4 Levels of Energy Consumption The supplier shall also include for 2 years maintenance of the AC unit in their bid price. Technicians for the daily maintenance should be available readily in Cox's Bazar. | Equivalent to LG/Hair/Samsung brand | Minimum ten (10) years warranty of compressor | 20 | 5 | PCS |  | Yes | 10 Days
6 | Refrigerator | - Frost Free, Double Door: Auto defrost to stop ice-build up - Capacity 350 L: - Warranty: 1 year on product, 10 years on compressor - Energy Rating: 4 Star - Shelf Type: Toughened Glass - Also included in the box: User manual, Warranty card, Color: Mixed | Equivalent to LG /Singer/Samsung brand | Minimum ten (10) years warranty of compressor along with low electric consumption capacity. | 11.5 | 0 | PCS |  | Yes | 10 Days
7 | Refrigerator | Capacity: 110 L Single Door Mini Refrigerator / Small Fridge with Separate Deep Freezer Compartment & Interior Lig | Equivalent to LG/Walton brand | Minimum two (02) years warranty |  | 0 | PCS |  | Yes | 10 Days
8 | Coffee Maker | 1.2 liter Water Level Indicator Drip Stop Automatic Shut-Off Drip Filter Coffee 1 Year Warranty | Equivalent to Philips brand | Minimum one (1) year warranty | 20 | 3 | PCS |  | Yes | 10 Days
9 | Ceiling Fan | Nickel brush with safty Chain, Size: 56” (1400 mm) Power Consumption: 70w / 75w (Approx) Related Speed: 320rpm / 300Rpm | Equivalent to BRB brand | Minimum three (3) years warranty | 20 | 0 | PCS |  | Yes | 10 Days
10 | Wall Mounted Fan | 18 inch: oscillating; nickel brush with remote control | Equivalent to Vishion/ Walton brand | Minimum one (1) year warranty | 20 | 0 | PCS |  | Yes | 10 Days
11 | Flat screen TV 55" | Product Type:LED Display Screen Size: 55" Resolution: 3,840 x 2,160 Video Picture Engine: UHD Engine PQI (Picture Quality Index):1400 HDR (High Dynamic Range):HDR HDR 10+:Yes Contrast:Mega Contrast Audio Dolby Digital Plus: Yes Dialog Enhancement:Yes Speaker Type:2CH Blutooth Audio:Yes Smart Service SmartThings App Support:Yes SmartThings:Yes Gallery:Yes Convergence Mobile to TV - Mirroring, DLNA:Yes TV Sound to Mobile:Yes Sound Mirroring:Yes Connectivity HDMI:3 USB:2 Additional Feature Processor:Quad-Core Digital Clean View:Yes Eco Feature Eco Sensor:Yes Power: Power Supply:AC100-240V 50/60Hz; Power Consumption (Max):120 W Dimension: Package Size (WxHxD):1097 x 678 x 151 mm(apprx.); Set Size with Stand (WxHxD):970.2 x 636.3 x 210.3 mm(apprx.); Set Size without Stand (WxHxD)L970.2 x 563.2 x 58.2 mm(apprx.) Weight: Package Weight:12.8 kg(apprx.); Set Weight with Stand:9.8 kg(apprx.); Set Weight without Stand:9.6 kg(apprx.) Accessory: Remote Controller: yes; Power Cable: Yes; Vesa Wall Mount Support: Yes | Equivalent to Samsung/Sony/LG brand | Minimum three (3) years warranty | 3 | 2 | PCS |  | Yes | 10 Days

## Annex A LOT 2
REQUEST FOR QUOTATION: RFQ/HCR/CXB/2024/011 ANNEX A - TECHNICAL REQUIREMENTS (LOT 2 - ELECTRICAL ITEMS) FOR ESTABLISHMENT OF FRAME AGREEMENT FOR THE SUPPLY AND DELIVERY OF ELECTRONIC APPLIANCES AND ELECTRICAL ITEMS FOR UNHCR BANGLADESH
SL No. | Item Name | Item Description |  | Minimum Warranty Period | Estimated Yearly Required Quantity for Cox's Bazar | Estimated Yearly Required Quantity for Dhaka | Unit of Measure (UOM) | Indicative Photo | Sample Requirements: Yes/No | DELIVERY LEAD TIME (MAXIMUM) | Bidder's offered delivery lead time | Bidder's offered Brand | Bidder's offered Warranty Period | Compliance of proposed items specifications with UNHCR technical specifications (Annex A) | Mandatory Submission of samples as per the technical specifications | Submission of Proof of minimum two (2) similar contracts/Purchase Orders with UN Agencies, INGOs, Government or Private Sector for similar items
1 | Cable | no: 363 Single core NYY CABLE SINGLE CORE CABLE, 600/1000V - PVC Insulated & PVC Sheathed Single Core Cabl | Equivalent to BRB brand | N/A | 400 | 100 | Meter |  | No
2 | Cable | no:23/76 Usable to AC/DC & Solar Line Systems FT CABLE, Voltage (Load) Capacity: 5 Volt to 750 Volt( AC/DC & Solar Line). Ampere (Load) Capacity: 3 Amp to 18 Amp. PVC insulation, Copper Conductor. | Equivalent to BRB brand | N/A | 200 | 50 | Meter |  | No
3 | Energy Saving Bulb | 26 watt ECO LED Bulb Bright White Lamp Light 2 Years Warranty | Equivalent to OSAKA (LED) brand | 2 years | 150 | 10 | EA |  | No
4 | Energy Saving Bulb | 32 watt ECO LED Bulb Bright White Lamp Light 2 Years Warranty | Equivalent to OSAKA (LED) brand | 2 years | 120 | 10 | EA |  | No
5 | Energy Saving Bulb | 15 Watt ECO LED Bulb Bright White Lamp Light 2 Years Warranty | Equivalent to OSAKA (LED) brand | 2 years | 100 | 10 | EA |  | No
6 | Combine Socket | 6 pin Anti Corrosive & Anti Rust Metal Silver Tip Contact-ensure proper conductivity 100% Pure Copper Connecting Plate SS Spring ensures ultimate contact strength High-Quality PC & PA Plastic: Fire retardant Highly Resistant to Moisture, Heat & Fire Flames & Glowing at the specimen extinguish within 30s Switching compatibility more than 40,000 cycles Applicable for AC & DC Easy to Install | Equivalent to ENERGYPACK brand | 2 years | 400 | 60 | EA |  | Yes
7 | Extension cord (Multi plug) | 4 pin Durable / Long Life High-Quality ABS Plastic Fire Retardant High-Quality ABS Plastic Body High Moisture Resistance Pure Copper Made Metal Parts (High Resistant to Corrosion) 2.25 Meter Flexible Cable. | Equivalent to ENERGYPACK brand | N/A | 100 | 30 | EA |  | Yes
8 | Cable Concealer | PVC Cable Cover, 6X L15.8in W1.6in H0.8in, CMR02 (95in, white) | Equivalent to RFL brand | N/A | 100 | 15 | EA |  | Yes
9 | Cable Concealer | on wall, 1 inch elf-adhesive plastic cable cover in white in different sizes. All cable covers regardless of size have a length of 1 metres. | Equivalent to RFL brand | N/A | 100 | 15 | EA |  | No
10 | Cable Concealer | on wall, 1.5 inch elf-adhesive plastic cable cover in white in different sizes. All cable covers regardless of size have a length of 1 metres. | Equivalent to RFL brand | N/A | 100 | 15 | EA |  | No
11 | Cable Concealer | on wall, 2 inch elf-adhesive plastic cable cover in white in different sizes. All cable covers regardless of size have a length of 1 metres. | Equivalent to RFL brand | N/A | 50 | 10 | EA |  | No
12 | Screw | 1/2 inch | Local brand | N/A | 10 | 0 | Pack |  | Yes
13 | Screw | 1 inch | Local brand | N/A | 10 | 0 | Pack |  | No
14 | Screw | 2 Inch | Local brand | N/A | 10 | 0 | Pack |  | No
15 | Royal Plug | Size: 10 No. | Local brand | N/A | 100 | 0 | Pack |  | Yes
16 | Power Soket Board | Size: 10 No. As per picture | Local brand | N/A | 150 | 25 | EA |  | Yes
17 | Cable Tie | Size: 2 inch | Local brand | N/A | 12 | 3 | Pack |  | No
18 | Cable Tie | Size: 4 inch | Local brand | N/A | 12 | 3 | Pack |  | No
19 | Cable Tie | Size: 6 inch as per pic | Local brand | N/A | 10 | 3 | Pack |  | No
20 | Cable Tie | Size: 8 inch as per picture | Local brand | N/A | 10 | 3 | Pack |  | No
21 | Cable Tie | Size: 10 inch as per pic | Local brand | N/A | 10 | 3 | Pack |  | No
22 | Cable Tie | Size: 12 Inch as per pic | Local brand | N/A | 10 | 5 | Pack |  | No
23 | LED Tube Light with fitting | 40 watt nput Voltage: AC 85-265V Hz: 50/60 Hz PF: 0.98 CCT:6500K Light Colour: White 85% Energy Saving Environment Friendly Body Materials: Aluminum / PC Made In China Warranty: 2 Years | Equivalent to OSAKA (LED) brand | 2 years | 200 | 10 | EA |  | No
24 | LED Tube Light with fitting | 20 watt Energy Saving Environment Friendly Body Materials: Aluminum / PC Made In China Warranty: 2 Years | Equivalent to OSAKA (LED) brand | 2 years | 20 | 5 | EA |  | No
25 | LED Bulb | 18 Watt (Pin) Energy Saving Environment Friendly Body Materials: Aluminum / PC Made In China Warranty: 2 Years | Equivalent to OSAKA (LED) brand | 2 years | 150 | 0 | EA |  | No
26 | LED Bulb | 32 Watt (Pin) Energy Saving Environment Friendly Body Materials: Aluminum / PC Made In China Warranty: 2 Years | Equivalent to OSAKA (LED) brand | 2 years | 150 | 10 | EA |  | No
27 | LED Bulb | 15 Watt (Pin) Energy Saving Environment Friendly Body Materials: Aluminum / PC Made In China Warranty: 2 Years | Equivalent to OSAKA (LED) brand | 2 years | 150 | 0 | EA |  | Yes
28 | LED panel light | 24 watt, rectangular box type light | Equivalent to Great brand | 2 years | 100 | 50 | EA |  | No
29 | LED panel ligh | 18 watt | Equivalent to Great brand | 2 years | 120 | 100 | EA |  | No
30 | Combine Switch Box | 1 Gang Box as per Pic | Local brand | N/A | 100 | 25 | EA |  | Yes
31 | Plug | 3 Pin, round shape AC 125V 15A 3 Wire US Japan Type, Grounding plug. | Local brand | N/A | 500 | 24 | EA |  | Yes
32 | Electric Wire | 329 Single Core 100% copper PVC Insulated Non-Sheathed Single core BYA FR Color: Red/Black 1-coil 1x1.0rm BYA FR Cable | Equivalent to BRB brand | N/A | 4 | 1 | Coil |  | No
33 | Electric Wire | 306 100% copper PVC Insulated Non-Sheathed Single core BYA FR Color: Red/Black 1-coil 1x1.0rm BYA FR Cable | Equivalent to BRB brand | N/A | 4 | 1 | Coil |  | No
34 | Electric Wire | 7/029 100% copper PVC Insulated Non-Sheathed Single core BYA FR Color: Red/Black 1-coil 1x1.0rm BYA FR Cable | Equivalent to BRB brand | N/A | 4 | 1 | Coil |  | No
35 | Circuit Breaker | Color: Grey. Rated Current: 63A. single Breaking Capacity: 10 KA Pole/Phase: 2-Pole/ DP (Double Phase.) Type: MCB (Miniature Circuit Breaker.) Frequency: 50Hz. | Equivalent to Havells brand | 1 year | 80 | 10 | EA |  | Yes
36 | Circuit Breaker | 40 A Single Current Rating (In): 06A to 63A Breaking capacity (Ics): 3kA / 6kA/10kA Characteristic: C Rated operating voltage (Ue): 230V ac Rated insulation voltage (Ui): 500V Rated insulation withstand voltage (Uimp): 4kV Frequency: 50/60 Hz | Equivalent to Havells brand | 1 year | 80 | 10 | EA |  | No
37 | Circuit Breaker | 32 Amp (Single) Current Rating (In): 06A to 63A Breaking capacity (Ics): 3kA / 6kA/10kA Characteristic: C Rated operating voltage (Ue): 230V ac Rated insulation voltage (Ui): 500V Rated insulation withstand voltage (Uimp): 4kV Frequency: 50/60 Hz | Equivalent to Havells brand | 1 year | 200 | 10 | EA |  | No
38 | Adhesive Tape | Color: Red | Equivalent to Tisa brand | N/A | 150 | 24 | EA |  | No
39 | Adhesive Tape | Color: Black | Equivalent to Tisa brand | N/A | 150 | 24 | EA |  | No
40 | Wall Drill Bit | size: 4" | Local brand | N/A | 20 | 5 | EA |  | No
41 | Wall Drill Bit | size: 15" | Local brand | N/A | 20 | 5 | EA |  | No
42 | Wall Drill Bit | size: 6" | Local brand | N/A | 20 | 5 | EA |  | No
43 | Air Exhaust Fan | Size: 10'', Type: Square Type Colour: White Voltage : 220V Power: 45 Watt Pure Copper Wire Low Power Consumption Frequency: 50Hz 40W MEAS; 40x14x40 (cm) Pure Copper Wire | Equivalent National delux brand | 01 Year | 100 | 10 | EA |  | No
44 | Air Exhaust Fan | Size: 12'', Type: Square Type Colour: White Voltage : 220V Power: 45 Watt Pure Copper Wire Low Power Consumption Frequency: 50Hz 40W Pure Copper Wire | Equivalent National delux brand | 01 Year | 150 | 10 | EA |  | No
45 | AC Socket (03 pin Round, 32A) | Anti Corrosive & Anti Rust Metal Silver Tip Contact-ensure proper conductivity 100% Pure Copper Connecting Plate SS Spring ensures ultimate contact strength High-Quality PC & PA Plastic: Fire retardant Highly Resistant to Moisture, Heat & Fire Flames & Glowing at the specimen extinguish within 30s Switching compatibility more than 40,000 cycles Applicable for AC & DC | Equivalent to ENERGYPACK brand | 01 Year | 500 | 30 | EA |  | Yes
46 | LED Tube Light T8 | Consistent CCT Output Good CRI Level No flickering, UV/IR & Mercury free Surge Voltage Protection ≥ 2.5 KV, Lumen Maintenance after 2000 Hours > 90% Tested 2000 Hours | Equivalent to LED brand | 02 Years | 220 | 25 | EA |  | Yes
47 | CPVC Pro-Pipe 1''(25mm) | CPVC Pro Pipe 1''(25mm) Item code: 70307 Standard: ASTM D-2846 Diameter (mm): 1''(25mm) Thickness (mm): 2.10 - 2.60 Length (Mtr): 3 SDR Or Schedule: 13.5 | Equivalent to RFL brand | N/A | 100 | 10 | Feet |  | No
48 | CPVC Pro-Pipe 3/4''(20mm) | CPVC Pro Pipe 3/4''(20mm) Item code: 70312 Standard: ASTM D-2846 Diameter (mm): 3/4''(20mm) Thickness (mm): 2.00 - 2.50 Length (Mtr): 3 SDR Or Schedule: 11 | Equivalent to RFL brand | N/A | 200 | 10 | Feet |  | No
49 | CPVC Fittings Brass elbow 3/4'' | Size: Small Material: Brass, Metal Brand: SUPREME Colour: Gold, Sandal, Connector Type: Elbow Thread Size: 0.75, Exterior Finish: Brass Item Weight: 499 Grams. | Equivalent to RFL brand | N/A | 50 | 5 | EA |  | Yes
50 | CPVC Fittings elbow 3/4'' | Size/ Diameter 3/4 inch, Connection Type Male, Usage/ Application, Plumbing, Elbow Bend Angle, 90 Degree, Material CPVC, Application Structure Pipe. | Equivalent to RFL brand | N/A | 150 | 5 | EA |  | No
51 | CPVC Fittings elbow 1'' | Size/ Diameter 01 inch, Connection Type Male, Usage/ Application, Plumbing, Elbow Bend Angle, 90 Degree, Material CPVC, Application Structure Pipe. | Equivalent to RFL brand | N/A | 100 | 5 | EA |  | No
52 | CPVC Fittings Coupler/Socket 1'' | Size: Small Connector Type: Coupling Thread Size: 1 inch Item Weight: 499 Grams | Equivalent to RFL brand | N/A | 100 | 5 | EA |  | Yes
53 | CPVC Fittings Coupler/Socket 3/4'' | Colour: Yellow Connector Type: Coupling Thread Size: 0.75 Item Weight: 625 Grams | Equivalent to RFL brand | N/A | 100 | 5 | EA |  | No
54 | 3/4 inch CPVC Plastic Tee (Yellow) | Material: CPVC, Colour: Yellow, Connector Type: Tee Thread Size: 0.75 inch, Item Weight: 625 Grams | Equivalent to RFL brand | N/A | 100 | 5 | EA |  | Yes
55 | 01 inch CPVC Plastic Tee (Yellow) | Material: CPVC, Colour: Yellow, Connector Type: Tee, Item Weight: 600 Grams | Equivalent to RFL brand | N/A | 100 | 5 | EA |  | No
56 | uPVC Thread Union 1" | uPVC Thread Union 1" Green Item code: 707619 .Thread Pipe & Fittings Size: 1'' Color: Green (As given picture). | Equivalent to RFL brand | N/A | 100 | 10 | EA |  | Yes
57 | uPVC Thread Union 3/4" | uPVC Thread Union 3/4" Green Item code: 707621 Brand: RFL Thread Pipe & Fittings Size: 3/4" Color: Green (As given picture). | Equivalent to RFL brand | N/A | 100 | 10 | EA |  | No
58 | Flash Ball Cock | Adjustable Fill Valve 7 Inch to 10 Inch/Ball Cock/Toilet Water Tank Fittings | Equivalent to RFL brand | N/A | 80 | 24 | EA |  | Yes
59 | Basin Angle Valbe | BASIN ANGLE STOP COCK - 10 years gurantee | Equivalent to Sattar brand | N/A | 180 | 24 | EA |  | Yes
60 | Basin Big Cock | Head Series Name: Coaster+A Head Type: Wheel Material: 100% Brass SetUp : Wall Mounted Use: Basin/Sink Guarantee: 10 years | Equivalent to Sattar brand | N/A | 50 | 6 | EA |  | Yes
61 | Conceal Water Tape SS: Guarantee: 10 Years, Material : 100% Brass | Star Head Type: Wheel Material: 100% Brass Setup : Wall Mounted Use: Basin | Equivalent to Sattar brand | 01 Year | 50 | 20 | EA |  | Yes
62 | Water Rubber pipe: 1" | Size: 1" Length: 300 feet Thickness: 1.40 - 1.60 mm Inner Diameter: 25.80-26.20 mm Color: Orange | Equivalent to RFL brand | N/A | 400 | 50 | EA | Photo required | Yes
63 | Water Rubber pipe: size: 3/4" (Feet) | Size: 3/4" Length: 300 feet Thickness: 1.40 - 1.60 mm Inner Diameter: 19.0-19.40 mm Color: Blue (As given picture | Equivalent to RFL brand | N/A | 500 | 100 | EA | Photo required | Yes
64 | Pipe Connecting hose CLAMP: size: 1" | Pipe Connecting hose CLAMP: size: 1" | Equivalent to Sattar brand | N/A | 300 | 10 | EA | Photo required | Yes
65 | Pipe Connecting hose CLAMP: size: 3/4" | Pipe Connecting hose CLAMP: size: 3/4" | Equivalent to Sattar brand | N/A | 300 | 10 | EA | Photo required | Yes
66 | Pipe Connecting hose CLAMP: size: 2.5" | Pipe Connecting hose CLAMP: size: 2.5" | Equivalent to Sattar brand | N/A | 150 | 5 | EA | Photo required | Yes
67 | Pipe Connecting hose CLAMP: size: 05" | Pipe Connecting hose CLAMP: size: 05" | Equivalent to Sattar brand | N/A | 150 | 5 | EA | Photo required | Yes
68 | PVC Gum: capacity: 500 gm, (Fast Setting Waterproof Bonding for bonding PVC and UPVC pipes and fittings. ) | capacity: 500 gm, (Fast Setting Waterproof Bonding for bonding PVC and UPVC pipes and fittings. ) | Equivalent to RFL brand | N/A | 20 | 5 | EA | Photo required | No
69 | Pipe Nipple: SS quality, 1'' | Pipe Nipple: SS quality, 1'' | Equivalent to RAK brand | N/A | 30 | 5 | EA | Photo required | Yes
70 | Pipe Nipple: SS quality, 3/4'' | Pipe Nipple: SS quality, 3/4'' | Equivalent to RAK brand | N/A | 50 | 10 | EA | Photo required | Yes
71 | Gate Valbe: SS quality. Size: 3/4" | Gate Valbe: SS quality. Size: 3/4" | Equivalent to SANWA brand | N/A | 25 | 5 | EA | Photo required | No
72 | Gate Valbe: SS quality. Size: 1" | Gate Valbe: SS quality. Size: 1" | Equivalent to SANWA brand | N/A | 20 | 5 | EA | Photo required | No
73 | Gate Valbe: SS quality. Size: 1.5" | Gate Valbe: SS quality. Size: 1.5" | Equivalent to SANWA brand | N/A | 20 | 5 | EA | Photo required | No
74 | CPVC Gate/Ball bulb 1'' | Controls the flow of fluids in a plumbing system. Enables precise adjustment of flow rates. Provides on/off functionality for the flow of liquids. Suitable for use in both residential and commercial plumbing systems.Can handle hot and cold water applications. | Equivalent to RFL brand | N/A | 50 | 5 | EA |  | Yes
75 | CPVC Gate/Ball bulb 3/4'' | Controls the flow of fluids in a plumbing system. Enables precise adjustment of flow rates. Provides on/off functionality for the flow of liquids. Suitable for use in both residential and commercial plumbing systems.Can handle hot and cold water applications. | Equivalent to RFL brand | N/A | 50 | 5 | EA |  | No
76 | White Cement | 1000 gm, (pearl white,General High Grade,brightness more) | Local brand | N/A | 100 | 10 | EA | Photo required | Yes
77 | Seal Tape | Sanitary, (P.T.F.E. Thread Seal Tape Comes in a resealable plastic container The tape is 1/2 wide by 260 long Ensures a secure and tight seal Great for all types ) | Local brand | N/A | 150 | 24 | EA | Photo required | No
78 | Liquid (Soap) dispenser | Auto system, (Excellent performance Easy to install and refill It uses sensor It has on/off control button. Extra large content 700 ml.04 purchase AA size alkaline batteries. Infrared detection, Motion ACTIVATED) | Any Japanese brand | 2 years | 60 | 15 | EA |  | Yes
79 | Adapter | 06 volt, (Excellent performance Easy to install and refill It uses sensor It has on/off control button) | Any Japanese brand | 2 years | 60 | 15 | EA |  | Yes
80 | Liquid (Sanitizer) dispenser | Best quality needed. Auto system, (Excellent performance Easy to install and refill It uses sensor It has on/off control button. Extra large content 700 ml.04 purchase AA size alkaline batteries. Infrared detection, Motion ACTIVATED) | Any Japanese brand | 2 years | 60 | 15 | EA |  | Yes
81 | Adapter | 05 volt, (Excellent performance Easy to install and refill It uses sensor It has on/off control button) along with one year warranty. | Any Japanese brand | 2 years | 60 | 15 | EA |  | Yes
82 | Auto water tape | Sensor based, Automatic Sink Mixers sensor Tap Hands Free infrared water bathroom basin faucet. Durable and practical. Best Material.4 AA batterier (not included) can use lasts for 2 years for daily use. Classic Modern design, durable copper made, chrome finish. Comes with water hose and necessary installation parts. | Equivalent to Sattar brand | 3 years | 35 | 10 | EA |  | Yes
83 | Combination Lock | Number Lock, High Quality.Combination lock is a type of locking device in which a sequence of symbols, usually numbers, is used to open the lock. The sequence may be entered using a single rotating dial which interacts with several discs or cams, by using a set of several rotating discs with inscribed symbols which directly interact with the locking mechanism, or through an electronic or mechanical keypad. Size - Medium. | Equivalent to MOBAJ Premium brand | N/A | 300 | 24 | EA |  | Yes
84 | Pad lock | High Quality. It is very firm and durable. Fashion, lightweight, and convenient design. Lock without fear of having locks cut open. 3-digit dialing allows for a different combination. Size: 60 MM. Material: Steel. Heavy-duty padlocks for steel gates and doors. | Equivalent to MOBAJ Premium brand | N/A | 300 | 24 | EA |  | No
85 | Center Lock | Best quality. Multi Drawer lock. Front locking system with adjustable locking pins. Key removable in locked and unlocked positions.It can lock as many as three drawers in the 480 mm and four drawers in the 580 mm model. Can be used for Side / Bottom mounting, Full Panel & Telescopic Drawer Slides. | Equivalent to R&R brand | N/A | 100 | 10 | EA |  | Yes
86 | Lock (Single) | Best quality. Made of SS. For Single Drawer. Front locking system with adjustable locking pins. Key removable in locked and unlocked positions. | Equivalent to Mikado brand | N/A | 100 | 50 | EA |  | Yes
87 | Hand Push Shower (Metal) | High Quality. Material: Plastic & SS. Pipe Size: 4ft. Design Style: Modern. Application Area: Bathroom.Model: SMI-777R. | Equivalent to Sattar brand | Guarantee: 25 months | 300 | 24 | EA | ? | Yes
88 | Key Ring (Plastic box with tag paper) | Best quality. With SS ring & chain. Attractive colour with standard looking plastic box with inside paper tag. | Local brand | N/A | 500 | 60 | EA |  | No
89 | Energy Saving Bulb | 9 Watt | Equivalent to OSAKA (LED) brand | 2 years | 0 | 50 | EA |  | No
90 | LED spot light | 3 Watt | Equivalent to LED brand | 2 years | 0 | 50 | EA |  | No
91 | LED panel light | 12 watt | Equivalent to Great brand | 2 years | 0 | 50 | EA |  | No
92 | LED flood light - IP67 | 100 watt | Equivalent to Great brand | 2 years | 0 | 10 | EA |  | No
93 | LED hanging light | 20 watt | Equivalent to Great brand | 2 years | 0 | 50 | EA |  | No
94 | Emergency Heavy duty LED light with Adjustable Head | Power: 220V Size: 31x11x33.5cm Color: Yellow 4 watt light output No. of lights: 2 | Equivalent to Great brand | 2 years | 0 | 10 | EA |  | No