## Civil
Proposed Public Toilet at Bandar Bazar, Sylhet
Civil Works
SN | Description of items of work | Unit | Quantity | Unit rate | Amount in BDT
PART - A General Site Facilities
1 | Security fencing: Erection and removal of security fencing around construction area with temporary support @ 5 ft C/C, corrugated sheet and necessary accessories all complete and accepted by the engineer in charge. Consider at least 10 feet offset from each side of the construction to enclose the working perimeter. | LS | 1
2 | Safety Security Measures including Safety helmate, Safety boot, Safety Vest, First Aid Box etc. for all workers & technical manpower at site as per direction of engineer in charge. | LS | 1
3 | Mobilization and cleaning site before commencing actual physical work and during contract period and demobilization after completion of the Works under contract accepted by Engineer.This work shall also covers clayey cleaning and clearing, cutting or filling, dressing the project area on and in the ground to an extent that all the events of works of the project can be executed smoothly in a working environment with a particular attention on safety and security in all respects, and to stockpile the end outcome to a place for disposal agreed by the Engineer, where, payments are to be based on ground area determined by the Engineer and be proportionate to the percentage progress of work under contract as a whole in all respects and approved by the Engineer. Quantity shall not exceed the plinth area of the main toilet only. | LS | 1
SUB -TOTAL- A
PART - B CONSTRUCTION UPTO PLINTH LEVEL
4 | Earth work in excavation in all kinds of soil for foundation trenches including. layout, providing center lines, local bench-mark pillars, leveling, ramming and preparing the base, fixing bamboo spikes and marking layout with chalk powder, providing necessary tools and plants, protecting and maintaining the trench dry etc., stacking, cleaning the excavated earth at a safe distance out of the area enclosed by the layout etc. all complete and accepted by the Engineer, subject to submit method statement of carrying out excavation work to the Engineer for approval. However, Engineer’s approval shall not relieve the contractor of his responsibilities and obligations under the contract.
5 | Layout and marking for earthwork in excavation in foundation accepted by the Engineer. [Plinth area of the structure shall be considered for measurement] | sqm | 100
6 | Earthwork in excavation in foundation trenches up to 3.0 m depth and maximum 10 m lead: in very stiff (hard) clayey soil/ rubbish etc. | cum | 150
7 | Sand filling in foundation trenches and plinth with coarse sand having min. F.M. 1.2 in 150mm in layers including leveling, watering and compaction to achieve minimum dry density of 90% with optimum moisture content (Modified proctor test) by ramming each layer up to finished level as per design supplied by the design office only etc. all complete and accepted by the Engineer. | cum | 80
8 | Earth filling in foundation trenches and plinth in 150 mm layer with earth available within 90 m of the building site to achive minimum dry density of 90% with optimum moisture content (Modified proctor test) including carrying watering, leveling, dressing and compacting to a specified percentage each layer up to finished level etc. all complete and accepted by the Engineer. | cum | 80
9 | Clearing and disposing of excavated earth from the construction site by truck or any other means to a place within 30 km radius of the city or town area including loading, unloading at both ends, leveling and dressing the carried earth etc. complete accepted by the Engineer. | cum | 70
10 | One layer of brick flat soling in foundation or in floor with first class or picked jhama bricks including preparation of bed and filling the interstices with local sand, leveling etc. complete and accepted by the Engineer. | sqm | 90
11 | Supplying and laying of single layer polythene sheet weighing one kilogram per 6.5 square meter in floor or any where below cement concrete complete in all respect and accepted by the Engineer. | sqm | 160
12 | 250 mm or above Brick works with first class bricks in cement sand (F.M. of sand 1.2) mortar (1:6) in foundation and plinth, filling the joints/interstices fully with mortar, racking out the joints, cleaning and soaking the bricks at least for 24 hours before use and curing at least for 7 days etc. all complete including cost of water, electricity and other charges and accepted by the Engineer. (Cement: CEM-II/A-M) (SCAN, HOLCIM, Basundhara, Supercrete, UltraTech) | cum | 25
13 | 125 mm brick works with first class bricks in cement sand (F.M. 1.2) mortar (1:4) and making bond with connected walls including necessary scaffolding, raking out joints, cleaning and soaking the bricks for at least 24 hours before use and washing of sand curing at least for 7 days in all floors including cost of water, electricity and other charges etc. all complete and accepted by the Engineer. (Cement: CEM-II/A-M)(SCAN, HOLCIM, Basundhara, Supercrete, UltraTech) | sqm | 40
14 | 75 mm thick cement concrete (1:3:6) with cement in flooring best quality coarse sand and 19 mm down stone chips including breaking chips, screening, mixing, laying, compacting, washing and screening of sand of F.M 1.2 and curing at least for 7 days etc. including cost of water, electricity and other charges etc. all complete and accepted by the Engineer. Cement: CEM-II/A-M) (SCAN, HOLCIM, Basundhara, Supercrete, UltraTech) | sqm | 2
15 | 38 mm thick artificial patent stone (1:2:4) flooring with cement, best quality coarse sand (50% quantity of Sylhet sand or coarse sand of equivalent F.M. 2.2 and 50% best local sand of FM 1.2) and 12 mm down well graded stone chips, laying the concrete in alternate panels, compacting and finishing the top with neat cement and curing at least 7 days in all floors including cost of water, electricity and other charges etc. all complete and accepted by the Engineer. Cement: (CEM-II/A-M) (SCAN, HOLCIM, Basundhara, Supercrete, UltraTech) | sqm | 50
16 | Reinforced cement concrete works using wooden shutter with minimum cement content relates to mix ratio 1:1.5:3 having minimum f 'cr = 30 Mpa, and satisfying a specified compressive strength f 'c = 25 Mpa at 28 days on standard cylinders as per standard practice of Code ACI/BNBC/ASTM & Cement conforming to BDS EN-197-1- CEM1, 52.5N (32.5 to 52.5 N) / ASTM-C 150 Type – I, best quality Sylhet sand or coarse sand [F.M. 2.2] and 20 mm down well graded picked jhama brick chips conforming to ASTM C-33, including breaking chips and screening, making, placing shutter in position and maintaining true to plumb, making shutter water-tight properly, placing reinforcement in position; mixing in standard mixer machine with hoper and fed by standard measuring boxes, casting in forms, compacting by vibrator machine and curing at least for 28 days, removing centering-shuttering after specified time approved; including cost of water, electricity, additional testing charges of materials and cylinders required by engineer, other charges etc. all complete approved and accepted by the Engineer. (Rate is excluding the cost of reinforcement and its fabrication, placing and binding etc) (SCAN, HOLCIM, Basundhara, Supercrete, UltraTech) | cum | 15
17 | Formwork/shuttering, prop and necessary supports etc. (wooden) | sqm | 150
18 | Supplying, fabrication, and fixing to details as per design : Ribbed or deformed bar reinforcement for Reinforced Cement Concrete, produced and marked in accordance with BSTI standard including straightening and cleaning rust, if any, bending and binding in position with supply of G.I. wires, splices or laps what so ever etc. complete in all respects and accepted by the Engineer ( Measurement shall be recorded only on Standard Mass per Unit length of Bars, while, dia of bars exceeds its standard) [BSRM, KSRM, RSRM]
19 | 60 Grade with minimum fy=415MPa, ultimate streangth 620MPa | ton | 2.5
20 | Minimum 12 mm thick cement sand (F.M. 1.2) plaster with neat cement finishing to plinth wall (1:4) with cement up to 150 mm below ground level with neat cement finishing including washing of sand, finishing the edges and corners and curing at least for 7 days, cost of water, electricity and other charges etc. all complete in all respect as per drawing and accepted by the Engineer. (Cement: CEM-II/A-M) (SCAN, HOLCIM, Basundhara, Supercrete, UltraTech) | sqm | 65
21 | Cl Manhole cover: Supplying fitting fixing of Cl Manhole cover in approved design with DCC Monogram on the cover, fixing with RCC slab including necessary materials etc. all complete as per direction of Engineer in charge. In special case adjustment will be made as tk.35.00 per kg for less or above weight of the manhole cover. including fixing.
22 | 450 mm dia (40 kg) for internal work (including locking arrangement) | each | 2
23 | Cylinder test: Taking sample in a standard cylinder mould and Cylinder test from CUET including cylinder fabrication cost ( 1 set - 3 no's Cylinder ) | set | 1
SUB-TOTAL- B
PART - C/ DEMOLITION AND CLEANING
24 | Dismantling paving block: Dismantling apaving block including disposal of broken concrete, cleaning, brooming etc. as per direction of the Engineer-in-charge. | sqm | 3
25 | Dismantling plain concrete: Dismantling any cement concrete including disposal of broken concrete, cleaning, brooming etc. as per direction of the Engineer-in-charge. | cum | 5
26 | Dismantling R.C.C. : Dismantling Any R.C.C. work in sub structure (below plinth) as per direction of Engineer-in-charge. | cum | 5
27 | 250 mm or above thickness brickwork of sub structure | cum | 2
28 | 125 mm thickness brickwork I hollow brick work of sub structure | sqm | 5
29 | Cleaning sludge & night soil: Cleaning sludge & night soil cleaning sludge & night soil from RCC soil pipe sewer line& Mathor Passage and removing the derbies in a safe distance with T & P etc complete as per direction of Engineer-in-charge. | cum | 2
30 | Cleaning of Drain: Taking out of silted sludge from the bottom of drain and removed to disposal site quickly safe places quickly, slab with necessary materials etc. all complete as per direction of Engineer in Charge.) | cum | 3
31 | Taking out of RCC Pipe : Labour charge for taking out of old RCC, UPVC, IRON pipe left of/ useless in underground, cleaning, undamaged, carrying and preserved in desired place etc. all complete as per direction of Engineer in Charge.
32 | c) up to 450 mm dia | rm | 2
33 | Clearing and disposing of debries from the construction site by truck or any other means to a place within 30 km radius of the city or town area including loading, unloading at both ends, leveling and dressing the carried debries etc. complete accepted by the Engineer. | cum | 5
SUB-TOTAL- C
PART - D Superstructure including Brick work
34 | Sand filling in plinth with coarse sand having min. F.M. 1.2 in 150mm in layers including leveling, watering and compaction to achieve minimum dry density of 90% with optimum moisture content (Modified proctor test) by ramming each layer up to finished level as per design supplied by the design office only etc. all complete and accepted by the Engineer. | cum | 25
35 | Earth filling in foundation trenches and plinth in 150 mm layer with earth available within 90 m of the building site to achive minimum dry density of 90% with optimum moisture content (Modified proctor test) including carrying watering, leveling, dressing and compacting to a specified percentage each layer up to finished level etc. all complete and accepted by the Engineer. | cum | 2
36 | One layer of brick flat soling in foundation or in floor with first class or picked jhama bricks including preparation of bed and filling the interstices with local sand, leveling etc. complete and accepted by the Engineer. | sqm | 50
37 | Supplying and laying of single layer polythene sheet weighing one kilogram per 6.5 square meter in floor or any where below cement concrete complete in all respect and accepted by the Engineer. | sqm | 80
38 | 250 mm or above Brick works with first class bricks in cement sand (F.M. 1.2) mortar (1:4) in exterior walls including filling the interstices with mortar, raking out joints, cleaning and socking the bricks at least for 24 hours before use and washing of sand, necessary scaffolding, curing at least for 7 days etc. all complete including cost of water, electricity and other charges (measurement to given as 250 mm width for one brick length and 375 mm for one brick and a half brick length) accepted by the Engineer.(Cement: CEM-11/A-M) (SCAN, HOLCIM, Basundhara, Supercrete, UltraTech) | cum | 2
39 | 125 mm brick works with first class bricks in cement sand (F.M. 1.2) mortar (1:4) and making bond with connected walls including necessary scaffolding, raking out joints, cleaning and soaking the bricks for at least 24 hours before use and washing of sand curing at least for 7 days in all floors including cost of water, electricity and other charges etc. all complete and accepted by the Engineer. (Cement: CEM-II/A-M) (SCAN, HOLCIM, Basundhara, Supercrete, UltraTech) | sqm | 150
40 | 75 mm thick cement concrete (1:3:6) with cement in flooring best quality coarse sand and 12 mm down graded stone chips, screening, mixing, laying, compacting, washing and screening of sand of F.M 1.2 and curing at least for 7 days etc. including cost of water, electricity and other charges etc. all complete and accepted by the Engineer. Cement: CEM-II/A-M) (SCAN, HOLCIM, Basundhara, Supercrete, UltraTech) | sqm | 12
41 | Reinforced cement concrete works using wooden shutter with minimum cement content relates to mix ratio 1:1.5:3 having minimum f 'cr = 30 Mpa, and satisfying a specified compressive strength f 'c = 25 Mpa at 28 days on standard cylinders as per standard practice of Code ACI/BNBC/ASTM & Cement conforming to BDS EN-197-1- CEM1, 52.5N (32.5 to 52.5 N) / ASTM-C 150 Type – I, best quality Sylhet sand or coarse sand [F.M. 2.2] and 20 mm down well graded stone chips conforming to ASTM C-33, including breaking chips and screening, making, placing shutter in position and maintaining true to plumb, making shutter water-tight properly, placing reinforcement in position; mixing in standard mixer machine with hoper and fed by standard measuring boxes, casting in forms, compacting by vibrator machine and curing at least for 28 days, removing centering-shuttering after specified time approved; including cost of water, electricity, additional testing charges of materials and cylinders required by engineer, other charges etc. all complete approved and accepted by the Engineer. (Rate is excluding the cost of reinforcement and its fabrication, placing and binding etc) (SCAN, HOLCIM, Basundhara, Supercrete, UltraTech) | cum | 18
42 | Formwork/shuttering, prop and necessary supports etc. (wooden) | sqm | 175
43 | Supply and use of water-reducing and accelerating chemical admixture in concrete, complying ASTM C-494 Type - E of approved brand/origin/manufacturer and supplied by only manufacturer's authorised dealer with certificate of origin : The admixture to reduce the quantity of mixing water required to produce concrete of given consistency, i.e. low water-cement (W/C) ratio and intend to accelerate setting time of concrete, and early strength gain in concrete etc. | liter | 30
44 | Supplying, fabrication, and fixing to details as per design : Ribbed or deformed bar reinforcement for Reinforced Cement Concrete, produced and marked in accordance with BSTI standard including straightening and cleaning rust, if any, bending and binding in position with supply of G.I. wires, splices or laps what so ever etc. complete in all respects and accepted by the Engineer ( Measurement shall be recorded only on Standard Mass per Unit length of Bars, while, dia of bars exceeds its standard) [BSRM, KSRM, RSRM]
45 | 60 Grade with minimum fy=415MPa, ultimate streangth 620MPa | ton | 2
46 | Supplying fan hook of 16 mm diameter M.S. rod (one meter straight length) having rounded hook at the middle of bar in proper size so as to be concealed within fan cup including fabrication and fitting fixing in all floor accepted by the Engineer. | each | 3
47 | Cylinder test: Taking sample in a standard cylinder mould and Cylinder test from CUET including cylinder fabrication cost ( 1 set - 3 no's Cylinder ) | set | 1
SUB-TOTAL- D
PART - E FINISHING WORK
48 | Marble stone flooring with 18mm thick Italian coloured/ grey marble stone of approved quality, texture and size over 25 mm thick cement sand (F.M. 1.2) mortar (1:2) including. placing cement slurry below the stone, cutting the marble stone to desired size, grinding and finishing the edges, setting in position in proper level filling the gaps with white cement and colouring pigments including supplying all necessary equipments/materials and finishing the top by pumic stone and necessary auxiliary materials and water, electricity and other charges complete in all respect accepted by the Engineer. (Cement: CEM-II/A-M) (SCAN, HOLCIM, Basundhara, Supercrete, UltraTech) | sqm | 2
49 | Labour Cost for making moulding in marble stone as per Architectural drawing including cutting, grinding, finishing, supplying necessary equipment etc. complete in all respect as per direction of the Engineer in Charge.
50 | 18 mm thick marble stone | sqm | 2
51 | Supplying, fitting and fixing country made glazed wall tiles ,irrespective of color &/or design, with on 20 mm thick cement sand (F.M. 1.2) mortar (1:3) base and raking out the joints with repective joint filler & binder including cutting, laying and hire charge of machine and finishing with care etc. including water, electricity and other charges complete all respect accepted by the Engineer. (Cement: CEM-II/A-M). In ground floor (RAK/ STAR/ Great Wall) Default size 300 mm X 500 mm unless otherwise specified ) (SCAN, HOLCIM, Basundhara, Supercrete, UltraTech)
52 | Colored wall tiles | sqm | 170
53 | Supplying, fitting and fixing country made rock/ rustic (Gress Porcellanato) - glazed floor tiles irrespective of color &/or design, with cement sand (F.M. 1.2) mortar (1:4) base and raking out the joints with white cement including cutting and laying the tiles in proper way and finishing with care etc. all complete and accepted by the Engineer.(Cement: CEM-II/A-M). In ground floor ( RAK / STAR ) ( Default size 400mm X 400mm unless otherwise specified ) (SCAN, HOLCIM, Basundhara, Supercrete, UltraTech)
54 | Floor tiles | sqm | 55
55 | Supplying and making door and window frames (Chowkat) for all floors with matured natural seasoned wood of required size including painting two coats of coal tar to the surface in contact with wall, fitting and fixing in position etc. complete and accepted by the Engineer. (All sizes of wood are finished)
56 | Chittagong Teak | cum | 0.5
57 | Supplying, fitting and fixing 38 mm thick well matured, seasoned (min 10" wide plank) solid wood single leaf door shutter having top rail style of sections 100 mm x 38 mm, lock rail 125 x 38 mm and bottom rail 225 x 38 mm. Closed joints with 25 mm x 12 mm size wooden peg and provided with best quality 6 Nos. 100 mm iron hinges, 4 MS flat bar clamp, 2 (two) Nos. best quality 12 mm dia 300 mm and 200 mm long iron tower and socket bolts, 2 (two) Nos. heavy type nickel plated handle, hinged cleats, buffer blocks and finished by sand papering etc. all complete in all floors and accepted by the Engineer.(All sizes of wood are finished)
58 | Chittagong Teak | sqm | 16
59 | Supplying, fitting and fixing Rim/ round door lock approved and accepted by the Engineer. | each | 3
60 | Supplying, fitting and fixing of best quality magnetic door shock absorber including all necessary tools and accessories etc. all complete approved and accepted by the Engineer | each | 10
61 | Supplying, fitting and fixing grills of any design made of mild steel section approx. 20 x 3 mm) with outer frame of approx 25 x 6 mm) F.I. bar fabricating, welding, cost of electricity, workshop charges, carriage, fixing with pre-placed clamps in walls or RCC member, all necessary tools and plants etc complete for all floors and accepted by the Engineer. | sqm | 25
62 | Minimum 12 mm thick cement sand (F.M. 1.2) plaster (1:4) with fresh cement to wall/or any surface both inner-and outer surface, finishing the corner and edges including washing of sand cleaning the surface, scaffolding and curing at least for 7 days, cost of water, electricity and other charges etc. all complete in all respect as per drawing and accepted by the Engineer. (Cement: CEM-II/A-M). (SCAN, HOLCIM, Basundhara, Supercrete, UltraTech) | sqm | 150
63 | On exterior surface applying as per manufacturer instructions 3 coat of weather coat of approved quality and colour delivered from authorized local agent of the manufacturer in a sealed container complete in all respect in all floors and accepted by the Engineer. (Berger/Asian) | sqm | 65
64 | Painting to door and window frames and shutters in two coats with approved best quality and colour of synthetic enamel paint delivered from authorized local agent of the manufacturer in a sealed container, having highly water resistant, high bondibilty, flexible, using specific brand thinner applied by brass/roller/spray over a coat of priming elapsing time for drying including surface cleaning from dust, oil or dirt, smoothening, finishing and polishing with sand paper and necessary tools, scaffolding, testing charges etc. all complete in all floors approved and accepted by the Engineer. (Berger/Asian) | sqm | 40
65 | Plastic emulsion paint of approved best quality and colour delivered from authorized local agent of the manufacturer in a sealed container, applying to wall and ceiling in two coats over lime putty of specified brand applied on primer or sealer elapsing specified time for drying/recoating including cleaning drying, making free from dirt, grease, wax, removing all chalked and scaled materials, fungus, mending good the surface defects, sand papering the surface and necessary scaffolding, spreading by brush/ roller/spray etc. all complete in all floors accepted by the Engineer. (Berger/Asian) | sqm | 60
66 | Supplying, fitting and fixing 62 mm dia SS pipe railing of any standard height of any design and shape with 50 x 50 x 6 mm M.S. plate at the base of 62 mm dia SS. Pipe and fitted and fixed by welding. Placing the pipes (1 Nos. in each steps) 75 mm embedded into the R.C.C /Wall case after cutting grooves and mending good the damages with C.C. of any design including polishing painting etc. all complete and accepted by the Engineer. (Exposed area of railing will be considered for measurement, rate is excluding the cost of pain, wood for railing)
67 | With the provision of hand rail of size: 150 x 62 mm (finished) | sqm | 3
68 | Preparation of ground to make ready for plantation by spading the ground in to a depth of 150 mm to 230 mm beyond 38 mm thick scrapped ground by spade, breaking earth clods to powder by hammers, picking up all sorts of rubbish, unwanted grasses by suitable tools, carrying and spreading the surplus earth into low lying area including supply of tools and plants etc. including Rate for different types of plant (medium size plant having length more than 3 feet) producted by narsary or profetional gardenar,each plant should be standard in size.etc all complete as per direction of E/C all complete and accepted. | L.S | 1
69 | Supplying, fitting fixing of food grade plastic overhead water reservoir tank including all necessary fittings, hardware and consumables etc. all complete approved and accepted by the Engineer. (GAZI)
70 | Capacity 2000 Liter | each | 1
71 | Supplying and placing of colored paving tilesfor paving walk way having compressive strength of 15 N/mm2 on compacted sand bed of 50 mm on stabilized soil base, and filling all interstices with sand, cleaning etc. accepted by the Engineer. | sqm | 20
72 | Supplying, fitting and fixing exterior tiles (CT) of 9.25''x2.75''x0.5'' (local made mirpur ceramics/ khadim) for exterior wall on 20mm thick cement mortar (1:3) base and raking out the joints with cement in/c cutting and laying the tiles in proper way and finishing with care, etc. all complete as per direction of the Engineer. Sand of minimum FM 1.2 to be used. | sqm | 25
73 | Supplying, fitting and fixing of wooden cabinet with 25 mm thick well matured natural seasoned (min 10" wide plank) Kathal wood door, shutters and shelf, for all cabinet door having 75 x 25 mm 'Z' battens, provided with best quality 3 Nos. 100 mm iron hinges, 2 Nos. 62 mm dia iron ring fitted with nuts, 2 Nos. best quality 12 mm dia, 300 mm and 225 mm long iron tower and socket bolts, hinged cleats, buffer blocks, lock, screws and finished with sand papering in all floors etc. complete as per supplied drawing and accepted by the Engineer in charge. (All sizes of wood are finished) | sqm | 3
74 | Supplying, fitting and fixing of plastic board with 0.5 mm thickness inside shutter of door, complete as per supplied drawing and accepted by the Engineer in charge. | sqm | 11
75 | Wooden table as per supplied drawing (Size: 1200 mm X 750 mm height 900 mm) including drawer provision as per suggestion of EIC | nos. | 1
76 | Supply and fixation of Chair- CF01 Fixed (BRAND: TANIN ) as per suggestion of EIC | nos. | 1
77 | Supply and fixation of Shoe rack big size: 1000 mm X 375 mm (BRAND: TANIN) as per suggestion of EIC | nos. | 1
78 | Supplying, fitting and fixing of glass shelf for sanitary napkin preservation made of aluminium frame with 5mm glass accepted by the Engineer. (only face measurement will be considered) | nos. | 1
79 | Supply and fixation of Viniyad board shelf for store room as per director of EIC (thickness 18 mm) | sqm | 1.5
80 | MS Main gate made of MS Bar of 25mmX25mmX25mm vertical bar at 100mm spacing with 10mm fiber glass fitted with the frames, fixed with wheel roller on both bottom and rom rail, including hasp bolt and locking mechanish, all compete approved and accepted by the engineer. | sqm | 8
SUB-TOTAL- E
TOTAL- CIVIL

## Plumbing
Proposed Public Toilet at Bandar Bazar, Sylhet
Plumbing Work
SN | Description of items of work | Unit | Quantity | Unit rate | Amount in BDT
1 | Commode:
Supplying, fitting and fixing European type glazed porcelain Water closet, in/c plastic seat cover, cistern system, preparing the base with cement concrete and with wire mesh or rods if necessary, in all floors including making holes wherever required and mending good the damages and fitting, fixing, finishing etc. complete with all necessary fittings and connection approved and accepted by the Engineer.
| RAK -White, Mistral/Infinity water closet | each | 3
2 | Long Pan :
Supplying, fitting and fixing Bangladesh pattern, long pan with foot rest & Ceramics lowdown, made of RKA/BISF and preparing the base of plan with cement mortar (1:4) and with wire mesh or rods, if necessary in all floors including making holes wherever required and mending good the damages and fitting, fixing, finishing etc. complete with all necessary fittings and connection approved and accepted by the Engineer.
| RAK -White, 505x390x200, 10 kg | each | 2
3 | Under counter Wash Basin:
Supplying, fitting and fixing of white under counter wash basin including marble cutting, marble molding, fitting, fixing the same in position with heavy type 30mm dia PVC waste water pipe with brass coupling (not exceeding 750mm in length), basin waste with chain plug, necessary connection pipes including making holes in walls and floors and fitting with screws and mending good the damages, finishing etc. all complete approved and accepted by the Engineer.
| RAK - ROSA UNDER COUNTER WASH BASIN | each | 4
4 | Wall mount Wash Basin:
Supplying, fitting and fixing white glazed vitreous pedestal type Wall mount Wash Basin fitting, fixing the same in position with heavy type 30mm dia PVC waste water pipe with brass coupling (not exceeding 750mm in length), basin waste with chain plug, necessary connection pipes including making holes in walls and floors and fitting with screws and mending good the damages, finishing etc. all complete approved and accepted by the Engineer.
| RAK - 450X260X345, 10.2 KG | each | 1
5 | Supplying, fitting and fixing 445 x 355 x 330 mm in size European type glazed vitreous standing/sitting bowl urinal, approx. 8.0 kg by weight including fitting, fixing the same in position after making holes in walls and floors, providing 32 mm dia plastic waste pipe with brass coupling up to grading below, 12 mm dia plastic connection pipe with brass coupling, 12 mm dia brass stop cock including mending good the damages with cement mortar (1:4) etc. all complete approved and accepted by the Engineer. ( BRAND - RAK ) | each | 2
6 | Supplying, fitting and fixing of 5 mm thick aluminium framed super quality mirror with hard boards at the back with all necessary fitting including making holes in walls and mending good the damages with cement mortar (1:4) etc. all complete approved and accepted by the Engineer. | sqm | 3
7 | Supplying, fitting and fixing super quality C.P. Towel rail of 600 mm long and 20 mm in dia with C.P. holder including making holes in walls and mending good the damages with cement mortar (1:4) etc. all complete approved and accepted by the Engineer. | each | 2
8 | Toilet Paper Holder with Cover :
Supplying, fitting and fixing standard stainless steel toilet paper holder of 150x150x126mm size including making holes in walls and mending good the damages with cement mortar (1:4) etc. all complete approved and accepted by the Engineer.
| BRAND - RAK | each | 10
9 | SOAP TRAY
Supplying, fitting and fixing standard size soap tray including making holes in walls and mending good the damages with cement mortar (1:4) etc. all complete approved and accepted by the Engineer.
| BRAND - RAK | each | 2
10 | Grating:
Supplying, fitting and fixing best quality grating in traps or in drains and where necessary including making holes in walls and floors and mending good the damages and supply and carriage of all materials, labour, tools, incidentals, etc. all complete approved and accepted by the Engineer.
| a) 125 mm dia gratings | each | 16
11 | Bib Cock :
Supplying, fitting and fixing 12mm dia 75mm long C.P. concealed best quality (heavy Type) single bib cock (Nazma, Sharif or equivalent ) including supply and carriage of all materials, labour, tools, incidentals, etc. all complete approved and accepted by the Engineer.
| a) 12 mm C.P. bib cock for Pan, Drinking etc. (Nazma, Sharif or equivalent ) | each | 4
| b) 12 mm C.P. twin bib cock for commode shower (Nazma, Sharif or equivalent ) | each | 3
12 | Concealed Stop Cock:
Supplying, fitting and fixing Special/Fancy quality heavy type C.P. concealed stop cock (Sharif or Nazma or equivalent) including supply and carriage of all materials, labour, tools, incidentals, etc. all complete approved and accepted by the Engineer.
| 12 mm dia stop cock (Heavy type) (Nazma, Sharif or equivalent ) | each | 2
13 | Supplying, fitting and fixing medium best quality pillar cock etc. complete approved and accepted by the Engineer
| 12 mm CP special heavy duty pillar cock (Nazma, Sharif or equivalent ) | each | 5
14 | Supplying, fitting and fixing Special/Fancy quality C.P. Angle stop cock with all necessary hardware and consumables approved and accepted by the Engineer.
| Angle Stop Cock (Nazma, Sharif or equivalent ) | each | 12
15 | Supplying fitting and fixing best quality 100 mm dia C.P. Shower rose (fixed type) ablution including holder etc. complete approved and accepted by the Engineer. | each | 2
16 | Supplying 100 mm inside diameter best quality uPVC rain water down pipe fitting, fixed in position with head and shoes, bends, min.20 mm width F.I. Bar clamp and nails, and including all accessories such as round grating/domed roof grating bands, sockets approved and accepted by the Engineer. BRAND - RFL | rm | 15
17 | Supplying 50 mm inside dia best quality uPVC soil, waste and ventilation pipe having specific gravity 1.35 - 1.45, wall thickness 2.5 - 3.0 mm, and other physical, chemical, thermal, fire resistivity propertie s etc. as per BSTI approved manufacturer standards or ASTM, BS/ISO/IS standards fitted and fixed in position with sockets, bends, of uPVC Pipe with all accessories such as Round grating /domed roof grating bands, sockets etc. approved and accepted by the Engineer (length: 6000 mm each). BRAND - RFL | rm | 12
18 | Supplying 100 mm inside dia best quality uPVC soil, was te and ventilation pipe having specific gravity 1.35-1.45, wall thic kness 3.4- 4.0 mm, and other physical, chemical, thermal, fire resistivity properties etc. as per BSTI approved manufacturer standards or ASTM, BS/ISO/IS standards fitted and fixed in position with sockets, bends, with all accessories such as Round grating/domed roof grating bands, sockets etc. approved and accepted by the Engineer (length: 6000 mm each). BRAND - RFL | rm | 40
19 | Supplying 150 mm inside dia best quality uPVC soil, waste a nd ventilation pipe having specific gravity 1.35 - 1.45, wall thickness 4.5 mm - 5.2 mm, and other physical, chemical, thermal, fire resistivity properties etc. as per BSTI approved manufacturer standards or ASTM, BS/ISO/IS standards fitted and fixed in position with sockets, bends, with all accessories such as Round grating/domed roof grating bands, sockets etc. approved and accepted by the Engineer (length: 6000 mm each). BRAND - RFL | rm | 25
20 | Supplying different inside dia best quality uPVC pressure pipe for water supply having specific gravity 1.35 - 1.45, and other physical, chemical, thermal, fire resistivity properties etc. as per BSTI approved manufacturer standards or ASTM, BS/ISO/IS standards fitted and fixed in position with sockets, bends, with all accessories such as Round grating/domed roof grating, bends, sockets etc. approved and accepted by the Engineer. (length: 6000 mm each)
| 12 mm dia wall thickness 2.8 mm - 3.3 mm | rm | 40
| 25 mm dia wall thickness 3.4 mm - 4.0 mm | rm | 25
| 37 mm dia wall thickness 3.7 mm - 4.3 mm | rm | 30
| 60 mm dia wall thickness 3.9 mm - 4.5 mm | rm | 40
21 | Supplying, fitting and fixing best quality G.M. gate valve with sealant etc. complete approved and accepted by the Engineer.
| 62 mm brass gate valve | each | 2
22 | Supplying, fitting and fixing best quality G.M. Globe valve, threaded joint with sealant etc. complete approved and accepted by the Engineer. ( basundhara/hatim)
| 62 mm dia brass Globe valve | each | 2
23 | Supplying, fitting and fixing best quality G.M. Check valve, threaded joint with sealant etc. complete approved and accepted by the Engineer.
| 62 mm brass check valve | each | 2
24 | Supplying, fitting and fixing best quality G.M. Float valve, threaded joint Pit valve etc. complete approved and accepted by the Engineer.
| 40 mm brass Float valve | each | 1
25 | Supplying different inside dia best quality uPVC pressure waste pipe having specific gravity 1.35 -1.45, wall thickness 2.7 mm - 3.4 mm, and other physical, chemical, thermal, fire resistivity properties etc. as per BSTI approved manufacturer standards or ASTM, BS/ISO/IS standards, fitted and fixed in position with sockets, bends, with all accessories such as Round grating/domed roof grating bands, sockets etc. complete approved and accepted by the Engineer. ( national Polymer, RFL/Lira/Aziz)
| 100 mm dia uPVC 'P' or 'S' trap | each | 16
| 100 mm dia uPVC Y or T - Y Cleanout | each | 12
26 | Installation of Deep Tubewell upto 300m depth
| Mobilization and demobilization of all equipment such as casing pipe, boring pipe with any other relevent items, stocking at the construction, tools etc all complete as per direction of EIC. (Including permission from concerned authority for permission of deep tubewell installation) | LS | 1
Performing boring upto 250m by using 200 mm dia cutter and collecting samples and preserving it by all means necessary at the interval of 3 meter by using water jet drilling method or any other relevent method all complete as per direction of EIC. Preserve borelog for every 3m as per direction of EIC.
| i) Boring from 00 meter to 50 meter | rm | 50
| ii) Boring from 51 meter to 100 meter | rm | 50
| iii) Boring from 101 meter to 150 meter | rm | 50
| iv) Boring from 151 meter to 200 meter | rm | 50
| v) Boring from 201 meter to 250 meter | rm | 50
| vi) Boring beyond 250 meter | rm | 50
| Supply and lowering of 100 mm dia casing pipe of water graded uPVC pipe class D quality (aziz/rfl/lira ) having minimum thickness of 4.0mm, all complete as per direction of EIC | rm | 220
| Supply and lowering of 100 mm dia best quality GI pipe having minimum thickness of 5.0mm, all complete as per direction of EIC | rm | 1.5
| Supply and lowering of of blind pipe ( if required) of 100 mm dia water graded uPVC pipe class D ( aziz/rfl/lira ) quality having minimum thickness of 4.0mm, all complete as per direction of EIC | nos. | 1
| supply and installation of 100mm dia strainer of water graded uPVC pipe class D quality ( aziz/rfl/lira ) having minimum thickness of 4.0mm, all complete as per direction of EIC | rm | 30
| supply and installation of 50mm dia delivery pipe of water graded uPVC pipe class D quality ( aziz/rfl/lira ) having minimum thickness of 2.0mm, all complete as per direction of EIC | rm | 50
| Supply and installation of 100mm dia PVC cap | nos. | 1
| Filling the top 0.6 meter of the bore hole around the top pipe with sanitary seal of concrete of proportion 1:2:4 as per design accepted by the Engineer | nos. | 1
| Preparation and making gravel pack around the tube well fixtures with supply of designed graded pea gravels free from any substance harmful to pipe and health confirmed by test (Passing through 10 mesh and retained on 40 mesh) including sieving, washing etc. complete as per standard specification and accepted by the Engineer. | cum | 7
| Making a sanitary seal up to a minimum depth of 6 meter from G.L. or as specified including the supply of approved quality of cement, sand and khoa (12 mm downgraded) in ratio (1:1:5:3) as per standard specification and accepted by the Engineer. | cum | 2
| Complete development of the tube well by air compressor and pump of suitable capacity by alternate surging and pumping or any specified method until satisfactory yield. is achieved in sand and turbid free water confirmed by laboratory test using necessary quantity of cologne and conducting step drawn-down test before and after the development as per specification and accepted by the Engineer. (Development should be started within 24 hours of completion of shrouding) | nos. | 1
| Disinfections of the well including supply of sufficient quantity of bleaching powder (33% strength) to obtain chlorinated water having 150 ppm free chlorine in the well complete as per standard specification and accepted by the Engineer | nos. | 1
| Protective top cover: Supplying and fitting fixing best quality 150 mm dia 4 mm thick MS. Pipe 1.0 m (3'-4") long one end blocked with 200 mm dia 4 mm thick M.S. plate and other end minimum 300 mm (1'-0") embedded in sanitary seal for protection of uPVC Housing Pipe as per standard specification and accepted by the Engineer. | nos. | 1
| Supply and installation of 100mm dia socket adaptar | nos. | 1
| Supply and installation solvant cement (100 gm tube) | nos. | 10
27 | Supply and installation of submersible pump at desired depth as per design ( Brand Pedrollo 3.0HP ) | Set | 1
28 | Supply and construction of sewrage and waste water or any other kind of pit as per drawing | each | 8
29 | S.S Pipe Grab Rail (50 mm dia) at Disable Toilet | Rm. | 8
30 | Push Shower for Commode (confort brand metal body) | No | 3
31 | High Capacity water purifiers for offices & commercial estiblishments, Best suited for attachment to water coolers, purification capacity 50 ltr/hr, 40 Ltrs storage capacities, per day capacity maximum 250 liters. Double purification by Reverse Osmosis System followed by UV Sterilization, Suitable for 70-80 persons. With double nozzle & others (Hydraulic storage system) (including cost of testing of faecal and total coliform from CUET) | Unit | 1
32 | Supply and fitting of SS made coat hock in each door back side for hanging coat | each | 7
TOTAL- PLUMBING

## Electrical
Proposed Public Toilet at Bandar Bazar, Sylhet
Electrical Work
SN | Description of items of work | Unit | Qty | Unit Rate | Amount in BDT
1 | Providing & fixing 230/250V, 50 Hz grade following concealed type distribution board made of 18-SWG MS sheet complete with hinged type door, built-in type locking arrangement, Four no. 60A capacity bus-bar with required no. of holes thereon on insulators at both ends, copper blocks for neutral and earth terminal, SPMCBs manufactured and tested in accordance with relevant IEC/VDE/NEMA/BS/JIS standard having minimum breaking capacity 6/10- KA with thermal over current and instantaneous electromagnetic short ckt. release, necessary arrangement for fixing of MCBs in/c stove enamel/gray hammer painting of board etc. | each | 1
2 | Supplying, fitting and fixing of TPMCB of Dorman Smith (UK)/Germany/Legrand/Schneider/Eaton or equivalent quality accepted by the Engineer
| a) 60 amp/63 amp. | each | 1
3 | Supplying, fitting and fixing of DPMCB of Dorman Smith (UK)/Germany/Legrand/Schneider/Eaton or equivalent quality accepted by the Engineer
| a) 25 amp | each | 2
4 | Supplying, fitting and fixing of SPMCB of Drman Smith (UK)/Germany/Legrand/Schneider/Eaton or equivalent quality accepted by the Engineer
| a) 40 amp | each | 4
| b) 15/20 amp | each | 2
| c) 5/10 amp | each | 2
5 | ELECTRICAL WIRING Concealed Conduit wiring: Concealed Conduit wiring for the following Points Looping at the Switch board with earth terminal including Circuit wiring with 1c-2x1.5 Sq.mm PVC insulated stranded cable (BYA) & 1.5 mm rm (green) PVC insulated stranded ECC wire (BYA) through PVC conduit (Aziz or equivalent) of 25 mm inner dia wall thickness 1.5 mm, 18 SWG GP Sheet, switch board & Pull box with 3mm thick ebonite sheet cover, brass contact, ceiling rose, fixing materials & all other accessories as required including mending the damages: Manufacturer of cable Eastern/BRB/Citizen/Paradise/Poly cable/Super sign/EVANA or equivalent according to the specification & direction of the Engineer- in-charge.
| Light Point (Eastern/BRB/BBS/Paradise or equivalent cable) | point | 30
| Fan point | point | 3
| 2/3 (combined) pin 10-15 amps. Socket outlet at other than switch board | point | 5
6 | Providing gang switch/socket/regulator/ module concealed type 5/6 amps (Minimum) 250 volts made Legrand/ Havells brand type or (made in French/England) equivalent all complete as per direction of Engineer in charge
| For four gang switch type | each | 8
| Fan Regulator with switch | each | 3
7 | ELECTRICAL WIRING NYY Cable: Supplying & installation of surface Channel wiring with the following PVC insulated & sheathed stranded cable (BYM) & green Colored PVC insulated ECC wire (BYA) through PVC Channel complete with fixing materials & other accessories as specified. Manufacturer of cable. Eastern/ BRB/Paradise/BBS/ or equivalent according to the Specification & direction of the Engineer- in-charge.3cx10 Sq.mm (NYY) Cable with 10.00 Sq.mm (BYA) ECC wire through PVC Channel | rm | 35
8 | ELECTRICAL WIRING NYY Cable: Supplying & installation of surface Channel wiring with the following PVC insulated & sheathed stranded cable (BYM) & green Colored PVC insulated ECC wire (BYA) through PVC Channel complete with fixing materials & other accessories as specified. Manufacturer of cable. Eastern/ BRB/Paradise/BBS/ or equivalent according to the Specification & direction of the Engineer- in-charge.3cx4 Sq.mm (NYY) Cable with 4.00 Sq.mm (BYA) ECC wire through PVC Channel | rm | 20
9 | ELECTRICAL WIRING BYA Cable: concealed Conduit wiring with the following PVC insulated and sheathed stranded cable (BYM) & green Colored PVC insulated ECC wire (BYA) through PVC Conduit (Aziz or equivalent) complete with fixing materials & other accessories as specified, Manufacturer of cable Eastern/BRB/BBS/Paradise or equivalent according to the Specification & direction of the Engineer-in-charge. 1c-2x2.5 Sq.mm (BYM ) Cable with 2.5 Sq.mm (BYA) ECC | rm | 80
10 | Supplying, fitting and fixing 250 volts single phase 3-pin combined switches and socket outlet (surface type) mounted on beast quality locally made required size 18 SWG galvanized plain sheet board (75mm depth) etc. all complete as per drawings and directions of the E-I-C. 15 amps, Round pin type | each | 6
11 | Supply & fitting fixing of square LED panel light Technical feature are as below: Voltage: AC 85~265V, Efficiency: >90% Size: 150 mm x 150 mm Power: 9-12 Watt Life Span: >/ 50,000hrs, Certification: CE, RoHS, Warranty: Minimum 1years ( Replacement) Sample approved & all work done as per direction of Engineer in Charge. | each | 30
12 | Providing and fixing of following axial flow A.C capacitor type wall mounted exhaust fan complete with blade, metal frame standard wall louver shutter, PVC insulated connecting wire etc. complete as required including cutting wall and mending good the damages as per direction of the Engineer. 10" sweep Exhaust fan metal body (accepted/approved by the Engineer) | each | 7
13 | 04 Channel Network Video recorder (NVR) HD | each | 1
14 | Digital Color CCD 2 megapixel wide angle dome type IP Camera IR 20M 4m Brand: Jovision | each | 2
15 | Supplying & Installation of 19.5"Color LED Monitor, Foreign Aspect Ratio: 16:9 Resolution: 1920 x 1080 Contrast Ratio: 5000000: 1 Brand: Dell/Samsung/HP | each | 1
16 | Network and coaxial cable with pipe | rm | 30
17 | Hard Disc (1 tera bite) | each | 1
18 | Supplying & Installation of Camera bracket. Complete with required accessories and in conformity to specified codes & Specification of international standards. Model & sample to be approved by the Engineer-in-charge. | each | 1
19 | Supply and fitting of ION Premium 1500 VA IPS (Warranty 18 Months). (Rahimafrooz) | each | 1
20 | Supplying and fitting fixing of Celing fan (Vision, BRB, Click or equivalent) | each | 3
21 | Earthing boring at least 15 m and installing necessary cable, copper rod, GI pipe 3 m, grounding all electrical appliences. Cost include all materials supply. | each | 1
22 | Electrical Connection with approval from concerned Authority
| a)Preparation of Demand Note for line connection purpose. b) PDB/Any concerned authority office office misc. expenditure for revenue clearance. Demand note issue & connection permission. c) Supply & installation of electric Meter including PDB/Any concerned authority offic office misc. expenditure for necessary official documents. all complete and accepted by the Engineer. Bill can only be if the relevant work is done accordingly and relevent expenditure document should be provided during the submission of bill. | each | 1
TOTAL- ELECTRIC

## TOTAL COST
SUMMARY OF BOQ
Proposed public toilet at Bandar Bazar, Sylhet
Sl No. | Description | Amount in BDT
1 | CIVIL WORK
2 | PLUMBING WORK
3 | ELECTRICAL WORK
Total
In Word: