## Sheet1
Concern Worldwide, Bangladesh
Tender Reference: BGD/DHK/Solar/TENDER/2023/004 |  |  | Annex : 5
Financial Offer Form
Tender for: Solar installation project
Name of Project: Solar installation project
Company name:
Items | Description | Unit Number | Unit Price | Total (Taka)
Solar PV panels | At minimum 18% solar panel, Tier-1 Branded (Total 28kWp) |  |  | 0
Grid tied Inverter | 15kW Grid Tied string inverter, 3-Phase, 50Hz (1 unit), must follow SERDA standard |  |  | 0
Hybrid Inverter (For backup system) | 8kW Grid Tied Hybrid inverter, 3-Phase, 50Hz (1 unit) |  |  | 0
Battery (For backup system) | 1500 Ah (48 volt) |  |  | 0
Mounting structure | Panels needs to be mounted at a 23 degree angle and the sturcture needs to stron enough to tackle cyclones and any other concerning natual disater |  |  | 0
Cables including cable tray and combiner box |  |  |  | 0
Status monitoring equipment |  |  |  | 0
Lightning Protection system (LPS) | Ensure proper LPS connections on both the DC and AC sides with a resistance of less than 5 ohms. |  |  | 0
AC and DC components | The system should include IP 65 protected AC and DC distribution components. |  |  | 0
Equipment for maintenance |  |  |  | 0
Net Energy Meter | Must be from SRDEA aprroved list |  |  | 0
Battery storage room construction | A proper room for keeping battery along with other componets like inverters or any other solar penel related electrical components |  |  | 0
Getting regulatory permissions and others |  |  |  | 0
|  |  | Total | 0
Signature
Name and designation
Date