## Sheet1
Appendix A (Item List with Specifications)
S/N | Name | Additional Description | UNIT | Unit Price(Including VatsssssVat, Tax & Transportation cost ) | Picture of the item | Source of the item Manufacture/ Import/Locally sourced | Delivery Lead time | categorize | AT - Type
1 | AFO (Ankle Foot Orthosis)-Adult | Made of propylene, Prefabricated plastic brace / holder that fits around the back of the ankle joint and hold it in a 90° position (open orthosis). 2 Velcro straps: 1 around the shin and 1 across the front of the ankle. | PC |  |  |  |  | Customize | AT- Orthotics
2 | AFO (Ankle Foot Orthosis)-Child | Made of propylene, Prefabricated plastic brace / holder that fits around the back of the ankle joint and hold it in a 90° position (open orthosis). 2 Velcro straps: 1 around the shin and 1 across the front of the ankle. | PC |  |  |  |  | Customize | AT- Orthotics
3 | Arm Sling/ Shoulder Sling | Prefabricated articulated arm sling in light, breathable, washable fabric (canvas fabric),Reversible to fit right or left arm.Sling needs to support a forearm in a plaster cast, if necessary.A strap (Adjustable cushioned shoulder pad) attached to the arm piece is worn around the neck to support the forearm.Velcro fasteners and adjustable strap. Adjustable Bukle fastener to fit variable heights for sling.Brand: OAC (Made by Tynor) | PC |  |  |  |  | ready made | AT- Orthotics
4 | Axillary Crutch- Adjustable-Large | Light weight and Durable made of high-quality aluminum alloy, soft comfortable hand grip (ergonomic) made of TPR material, pre-assembled including crutch tips (rubber tips with metal inlay for longer resistance), underarm pads.Height adjustable with butterfly screws.Overall Length - 1145-1345 mm aluminum Handle Height- 795-845mm ,Arm Pad to Hand Grip - 350-500 mm,Ferrules 22mm | Pair |  |  |  |  | ready made | AT- Mobility
5 | Axillary Crutch-Adjustable-Child | Light weight and Durable made of high-quality aluminum alloy, soft comfortable hand grip (ergonomic) made of TPR material, pre-assembled including crutch tips (If possible, rubber tips with metal inlay for longer resistance), underarm pads.Height adjustable with butterfly screws.Ferrules 22mm | Pair |  |  |  |  | ready made | AT- Mobility
6 | Axillary Crutch-Adjustable-Medium | Light weight and Durable made of high-quality aluminum alloy, soft comfortable hand grip made of TPR material, pre-assembled including crutch tips, hand grip, underarm pads.Height adjustable with butterfly screws.Ferrules 22mm | Pair |  |  |  |  | ready made | AT- Mobility
7 | Balance/Coordination board (sitting and standing) | Size: Child, Adult,Material & Technical details: High quality Light weight and durable Rubber & plastic doping material. Plane top with aching/textured surface and bottom surface with a half-circle concave shape which control coordination or balance Two sides whole way help to carry during transportation. It develops motor coordination skills, weight distribution and core strength It prevents knee and ankle injury | PC |  |  |  |  | ready made | AT- Therapeutic Items
8 | Ball, Soft Gripper Foam Ball | Made of high-quality fabric with soft foam filler High density (<45kg/m3) foam material. | PC |  |  |  |  | ready made | AT- Therapeutic Items
9 | Ball, Soft Gripper Gel Ball | High quality material (Made of silicone) and textured surface will give a fantastic and comfortable touch feeling. | PC |  |  |  |  | ready made | AT- Therapeutic Items
10 | Battery operated wheelchair (Small) | The design consists of an electric motor, a drive system, motor and steering controls, and a power supply. Use of sealed lead acid batteries (SLA), wet or dry cell batteries that have an output of 4 to 5 amps. The battery can be recharged using a standard electrical outlet when the wheelchair/tricycle is not being used. | pc |  |  |  |  | ready made | AT- Mobility
11 | Battery operated wheelchair (Large) | The design consists of an electric motor, a drive system, motor and steering controls, and a power supply. Use of sealed lead acid batteries (SLA), wet or dry cell batteries that have an output of 4 to 5 amps. The battery can be recharged using a standard electrical outlet when the wheelchair/tricycle is not being used. | pc |  |  |  |  | ready made | AT- Mobility
12 | Battery operated tricycle | The design consists of an electric motor, a drive system, motor and steering controls, and a power supply.Use of sealed lead acid batteries (SLA), wet or dry cell batteries that have an output of 4 to 5 amps. The battery can be recharged using a standard electrical outlet when the wheelchair/tricycle is not being used. Head light, back light and statistic brake of both back wheels must be added | pc |  |  |  |  | Customize | AT- Mobility
13 | Motor operated tricycle | The design consists of an electric motor, a drive system, motor and steering controls, and a power supply.Use of sealed lead acid batteries (SLA), wet or dry cell batteries that have an output of 4 to 5 amps. The battery can be recharged using a standard electrical outlet when the wheelchair/tricycle is not being used.Head light, back light and statistic brake of both back wheels must be added | pc |  |  |  |  | ready made | AT- Mobility
14 | Bed pan (Toilet pot) | Made of high-quality medical grade polypropylene plastic or metal with secure fitted lid, suitable for both male and female use. Lightweight, strong and durable with ergonomic seat With inside ledges for easier installation and soft rim to prevent injuries. must be observed there is no any sharp ends present | pc |  |  |  |  | ready made | AT- Daily Leaving
15 | Bed Urinal pot/ Urine Flask - Female | Made of high-quality medical grade polypropylene plastic with secure easy grip handle, lightweight, strong and durable. 1000ml capacity, large opening, must be observed there is no any sharp ends present | PC |  |  |  |  | ready made | AT- Daily Leaving
16 | Bed Urinal pot/ Urine Flask - Male | Made of high-quality medical grade polypropylene plastic with secure easy grip handle, lightweight, strong and durable. 1000ml capacity must be observed there is no any sharp ends present | Pc |  |  |  |  | ready made | AT- Daily Leaving
17 | Hearing Aid Device | • Hearing Aid Quality: Hooks over the top of the ear and rests behind the ear. A tube connects the hearing aid to a custom earpiece called an earmold that fits in the ear canal. Type: BTE Including 1 Pata (6 pcs) l3 Size Battery and 1 pe Elbow with Ear tip, • Origin: Europe • Customization Capability: The vendor must demonstrate the ability to adjust the hearing aids to match the assessments provided (e.g., various amplification levels, noise reduction features, etc.). • Durability: Hearing aids must be durable and suited to the environmental conditions. • Protective Clip for daily worker person with hearing disabilities Moderate to severe and severe to profound hearing loss cover Warranty of Hearing Aid at least 1 Years | pc |  |  |  |  | ready made | AT- Hearing and Speech
18 | Bobath Sling | comfortable feeling by memory foam ('' viscoelastic'' polyurethane foam) ,wide strap and high quality fabric, Adjustable Buckle fastener to fit variable heights for sling. Cross straps at shoulder area to pick up shoulder in right position | pc |  |  |  |  | ready made | AT- Orthotics
19 | Cervical Collar / Cervical Brace | made from high density polyurethane foam with higher cushioning, dermophillic cotton, rust proof ventilation, dermophillic | pc |  |  |  |  | ready made | AT- Orthotics
20 | Communication board-1 | Low tech basic communication board A board with symbols or pictures that is used to facilitate communication for persons with limited expressive language ability. Children communicate using the board by pointing and gesturing or gazing at the various symbols and pictures. | pc |  |  |  |  | ready made | AT-Communication
21 | Communication board-2 | Low tech basic communication board A board with symbols or pictures that is used to facilitate communication for persons with limited expressive language ability. Children communicate using the board by pointing and gesturing or gazing at the various symbols and pictures. Pictrure are must be related to the ADLs | PC |  |  |  |  | ready made | AT-Communication
22 | Compression Socking – Thigh High) | High quality high denier yarns, tapered shape, uniform compression, durable, soft and comfortable, anti-slip silicone belt Washable and re-usable. Depending on the context, it is advisable to check the quality of fabrics and intended use in regard to hot climate environment. | pc |  |  |  |  | ready made | AT- Orthotics
23 | COMPRESSION SOCKINGS -Mid Thigh | High quality high denier yarns, tapered shape, graduated compression, durable, soft and comfortable Washable and re-usable. Depending on the context, it is advisable to check the quality of fabrics and intended use in regard to hot climate environment. | pc |  |  |  |  | ready made | AT- Orthotics
24 | Congenital Talipes Equinovarus (CTEV) orthosis | For correction of congenital club foot High quality Orfit sheet like Thermoplastic polypropylene (PP) Sheet, Thermoplastic is kind material that softens when heated and hardens again when cooled, so it is re-shapeable for growing child | pc |  |  |  |  | Customize | AT- Orthotics
25 | Corner Chair | Made from wood, foam, tissue V-shaped back rest designed to support trunk and sides during sitting Adjustable back rest and head rest height. Optional accessories include adductor block, trunk and/or head support, tray table (fixed and removable). | pc |  |  |  |  | ready made | AT- Learning, Cognition and development
26 | Crepe Bandage/Elastic Bandage | Made from 75% soft cotton, 15% spandex, 10% polyester. Should retains elasticity after repeated use and washing. A fastener (metal clip or Velcro) to hold the bandage in place. Washable and breathable. Non-sterile. Width : 3 and 4 inch | pc |  |  |  |  | ready made | AT- Therapeutic Items
27 | Crutch Tips | Made from heavy duty rubber, metal washer reinforced base Non slip cushioning Adaptable with a variety of mobility aids including cane, crutches and walking frames. Tube diameter of Elbow crutch and Walking stick is same (OD -19mm), for Auxiliary Crutch tube OD-22mm and Walker Tube OD-28mm, So you have to mention the size when you will place order, because this is not possible to adapt one size for different outer diameters tube. | pc |  |  |  |  | ready made | AT-Consumpable item
28 | Pressure relief cushion | High quality double layer foam with cotton cover. Tube or square shape. Base layer Foam density <45Kg/m3 and Upper layer foam density <35Kg/m3, base level is little hard and top level is softness. Washable and re-useable cotton cover. Two layers with two different densities can relief pressure by special cutting shape | pc |  |  |  |  | ready made | AT- Positioning
29 | Denis Brown Shoe | Helps in foot abduction, Genuine leather material, EVA and Aluminum flat bar, minimum, maximum and increments for adjustable bar or between fixed bar sizes Length of bar: size range to accommodate infants (0–12 months) and children (1–5 years) (e.g. bar width 12–38 cm) • Bilateral boots: size range to accommodate infants (0–12 months) and children (1–5 years) (e.g. foot bed length 6.4–20.4 cm) • Abduction angle of boot 30–70 ° (allows for unaffected foot) • Dorsiflexion angle of boot 10–15 ° • Smallest assembled size weight range 110–320 g • Largest assembled size weight range 270–650 g | Pair |  |  |  |  | Customize | AT- Orthotics
30 | Education Material Kit (number blocks) | Wooden or plastic materials, square box shape with multiple color, 1 set box, Printed with number (1,2,3,4,5,6,7,8,9,0, +,-,X,÷,=). | Set |  |  |  |  | ready made | AT- Learning, Cognition and development
31 | Education Material Kit (building blocks,) | High quality and light weight PVC material. Blocks with different length. Contrast color painting on block This block can be used as elementary teaching material | Set |  |  |  |  | ready made | AT- Learning, Cognition and development
32 | Education Material Kit (shape blocks,) | High quality and light weight PVC material. Blocks with different length shape and size. Contrast color painting on block | Set |  |  |  |  | ready made | AT- Learning, Cognition and development
33 | Education Material Kit (letter blocks) | High quality and light weight food grade PVC material. Blocks with different alphabetic letters. Clear and contrast color printing on block. Printed with number (A, B, C, D, E, F, G, H,I,J,K,L,M,N,O,P,Q, R,S,T,U,V,W,X,Y,Z) or bangle letters | Set |  |  |  |  | ready made | AT- Learning, Cognition and development
34 | Education Material Kit (puzzles) | Light PVC material Puzzles with different shapes Clear and contrast color painting on puzzle blocks Puzzle help develop Hand-Eye coordination and also develop fine motor skils | Set |  |  |  |  | ready made | AT- Learning, Cognition and development
35 | Elbow Crutch-Adjustable-Child | Light weight and long-lasting made of high quality aluminum alloy, pre-assembled crutch tips, comfortable hand grip, adjustable arm rest and length | pc |  |  |  |  | ready made | AT- Mobility
36 | Elbow Crutch-Adjustable-Large | Light weight and long-lasting made of high quality aluminum alloy, pre-assembled crutch tips, comfortable hand grip(Ergonomic handle), adjustable arm rest Possibility of adjustable forearm section Adjustable floor to handgrip. for maximum use and comfort of patient. Prefer rubber tips with metal inlay forgreater resistance. | pc |  |  |  |  | ready made | AT- Mobility
37 | Elbow Crutch-Adjustable-Medium | Light weight and longlisting made of high quality aluminum alloy, pre-assembled crutch tips, comfortable hand grip (Ergonomic handle), adjustable arm rest Possibility of adjustable forearm section Adjustable floor to handgrip. for maximum use and comfort of patient. Prefer rubber tips with metal inlay for greater resistance. | pc |  |  |  |  | ready made | AT- Mobility
38 | Extensor splint | Post-injury extensor tendon healer Durable polypropylene (PP) / mild steel sheet, EVA and Velcro straps No moveable components and immobilizes a joint | pc |  |  |  |  | Customize | AT- Orthotics
39 | Foot Drop Splint | Foot drop preventer, Durable polypropylene (PP) sheet, Ethaplast and Velcro straps Foot drop splint is also known as Ankle-foot brace It holds the foot and ankle in a straightened position to improve walking | pc |  |  |  |  | Customize | AT- Orthotics
40 | Gaiter (Arm/Leg) | Immobilizer and stabilizer of joints High quality artificial leather, aluminum flat bar and Velcro straps | PC |  |  |  |  | ready made | AT- Orthotics
41 | Hand gripper | High tensile pressure spring and soft grip padding It improves strength, power and speed in the wrist Hand gripper also work great for rehabilitation | PC |  |  |  |  | ready made | AT- Therapeutic Items
42 | Hand Splint (Static/Dynamic) | Fabricated from rigid or semi-rigid plastic (Poly-ethylene, co-polymer or similar) The splint is designed to maintain the wrist and hand in functional position: Wrist in 30 degrees extension, slight flexion in metacarpophalangeal joints and thumb in opposition. Suspension and control provided by three Velcro straps, positioned at forearm, wrist and fingers. Left OR right hand models | pc |  |  |  |  | Customize | AT- Orthotics
43 | Hearing Aid with Double cord | Max. sound output: <130 + 5dB Sound gain: >50dB Total Harmonic wave Distortion: < 5% Frequency Response: 300Hz ~4000Hz Input noise: <30dB Voltage: DC 1.5V Current: < 4mA Double cord ear amplifier Made by Siemens Moderate to severe and severe to profound hearing loss cover | Set |  |  |  |  | ready made | AT- Hearing and Speech
44 | Hearing Aid with single cord | Max. sound output: <130 + 5dB Sound gain: >50dB Total Harmonic wave Distortion: < 5% Frequency Response: 300Hz ~4000Hz Input noise: <30dB Voltage: DC 1.5V Current: < 4mA Single cord ear amplifier Made by Siemens Moderate to severe and severe to profound hearing loss cover | Set |  |  |  |  | ready made | AT- Hearing and Speech
45 | Knee Ankle Foot Orthosis(KAFO) | High quality polypropylene (PP) sheet, aluminum joint bars at both sides, EVA, strongest Velcro straps Variation in model for Left and Right leg It helps to control instabilities in the knee and lower limb by maintaining proper alignment and controlling motion | pc |  |  |  |  | Customize | AT- Orthotics
46 | Knee Brace-Open Patella & Hinge | Soft, resistant and washable material. Pre-fabricated brace, designed to match the anatomical shape of the joint. Suspension and straps configuration varies. Commonly consists of 2 velcro straps positioned proximal and distal to the patella. Soft and malleable material, usually neoprene. Easily washable. Lateral reinforcements. Patellar window with reinforcement for additional patella support and to facilitate correct positioning of the device. Specific left and right sided models. | PC |  |  |  |  | ready made | AT- Orthotics
47 | Knee Cap | High quality four way stretch yarns Bi-layered, cotton on the inside, a dermophillic interphase improves sweat absorption, comfort and compliance Two layered with interwoven air space, retain body heat effectively, speeds up healing and allays pain Uniform compression by unique wave Classic design and freely breathable Tapered shape and hypoallergenic | Pair |  |  |  |  | ready made | AT- Orthotics
48 | Knee Orthosis with Knee Joint | Functional ROM Knee joint with Carbon fiber bars at both sides, four strongest Velcro straps to hold at right position Washable and re-useable prefabricated brace Knee joint control the knee rotating angles Universal design for lateral reinforcement Light weight and easy to use Tapered shape with clear indication at Thigh and Calf side It has a dial lock to hold at rigid position for any angle | PC |  |  |  |  | ready made | AT- Orthotics
49 | Knee Orthosis without Knee Joint | High quality light rigid flat bars at both sides, three strongest Velcro straps to hold at right position Washable and re-useable prefabricated brace Neoprene fabric material gives extra comfort Universal design for lateral reinforcement Light weight and easy to use Tapered in shape High quality four way stretch yarns Neoprene patella window with reinforcement Uniform compression and universal design for lateral reinforcement Classic design and freely breathable Tapered shape and hypoallergenic | PC |  |  |  |  | ready made | AT- Orthotics
50 | Knee Support-Open Patella | Soft and comfortable Washable and re-useable User friendly for both in hot & cold weather | pc |  |  |  |  | ready made | AT- Orthotics
51 | Lumber Corset / Lumber Brace /Lumber Orthosis | Elastic webbing, Ethafoam, strongest pull Velcro and semi rigid aluminum splints Flexible back splinting on application takes the body shape for excellent immobilization Double pull Velcro mechanism ensure secure fitting Porous elastic webbing improves ventilation and patient comfort Heat resistant rubber of high modules of elasticity improves life of the belt Large hook loop panel allows controlled compression, sizing flexibility, easy application Comfortable immobilization provided by this belt makes it an ideal belt for everyday use in mild back ache. | pc |  |  |  |  | ready made | AT- Orthotics
52 | Mattress, Foam With Plastic Cover | Size: 72” inch*36”inch*4”inch Orthopedic grade high quality Foam material with density <35Kg/m3 Washable and re-useable dark black or black cotton cover Uniform suspension to get better stress & strain | pc |  |  |  |  | ready made | AT- Positioning
53 | Mattress, Pressure Relief | High resilient molded foam (HR) (>45kg/m3) Mattress with pressure relief properties in recumbent position to prevent the risk of bedsores. Mattress with nodular foam. With removable, waterproof and washable pillow case. The components of the mattress should be long-lasting and resistant to frequent handling. One part will be heard and other soft | pc |  |  |  |  | ready made | AT- Positioning
54 | Hand Mirror | Wooden/hard plastic handle(Easy-to hold handle.), size : 27*13 cm , mirror surface wide :11 cm | pc |  |  |  |  | ready made | AT- Therapeutic Items
55 | Mirror, Medium Size | 6feet*2.5 feet (Approximate) High quality looking glass with wooden frame and wooden stand Light weight wooden frame with varnish polish surface Rectangular shape has no handle | pc |  |  |  |  | ready made | AT- Therapeutic Items
56 | Object Reacher | Manufactured in light weight material (plastic) not exceeding 400 grammas. Grasping device with a non-slip jaw at the end of a handle, activated by a trigger at wrist - finger level. Approximate length: 70 cm. | pc |  |  |  |  | ready made | AT- Daily Leaving
57 | Pillow - Cushion | Foam (35kg/m3) Covered with leatherette (artificial leather / PVC leather), thick fabric, water-resistant, washable and preferably dark color.Square cushion with approximate size. Length = 50 cm, width = 50 cm | pc |  |  |  |  | ready made | AT- Positioning
58 | Pillow - Neck (Soft microcellular foam with a colored cover in imitation leather) | Open circle cushion.The components of the cushion should be long-lasting, washable and resistant to frequent handling. | pc |  |  |  |  | ready made | AT- Positioning
59 | Pillow – Rectangular (Foam (35kg/m3) | Covered with leatherette (artificial leather / PVC leather), thick fabric, and water-resistant, washable and preferably dark color.) | pc |  |  |  |  | ready made | AT- Positioning
60 | Pillow – Round (Foam (35kg/m3) | Covered with leatherette (artificial leather / PVC leather), thick fabric, and water-resistant, washable and preferably dark color.) | pc |  |  |  |  | ready made | AT- Positioning
61 | Pillow – Semi Cylindrical. | Covered with leatherette (artificial leather / PVC leather), thick fabric, and water-resistant, washable and preferably dark color.) | pc |  |  |  |  | ready made | AT- Positioning
62 | Pillow – Wedge | Covered with leatherette (artificial leather / PVC leather), thick fabric, and water-resistant, washable and preferably dark color.) | pc |  |  |  |  | ready made | AT- Positioning
63 | Transfemoral prosthesis | Material & Technical details: High density (0.95g/cm3) polypropylene (PP) sheet Axial foot piece with adapter High quality heavy duty aluminum pylon/connecting tube Four axis knee joint with auto lock Rest of stainless steel accessories imported from overseas | pc |  |  |  |  | Customize | AT-Prosthesis
64 | Transtibial Prosthesis | High density (0.95g/cm3) polypropylene (PP) sheet Axial foot piece or Sach foot piece with adapter High quality heavy duty aluminum pylon/connecting tube Rest of stainless steel accessories imported from overseas | pc |  |  |  |  | Customize | AT-Prosthesis
65 | Special seat/Cp Wheel chair -Customized | As per measurement will provide by the HI | pc |  |  |  |  | ready made | AT- Mobility
66 | Special seat/Cp Wheel chair | Well cushioned seat with back rest covering head rest including trunk and pelvic support belt, thigh divider (to maintain abduction position) with proper cushion, foot rest with velcro stra, also forearm strap ,movable and adjustable leg rest(to maintain knee on extension position ) . If possible with Tray. | pc |  |  |  |  | ready made | AT- Mobility
67 | Sitting Chair- Normal Plastic/ Wooden | made from high quality plastic with arm rest and back rest | pc |  |  |  |  | ready made | AT- Positioning
68 | Ball, Soft Ball | High quality foam material. High density foam has Good balance between stress and stain to get better elongation for compression | PC |  |  |  |  | ready made | AT- Therapeutic Items
69 | Spectacle | High performance glass fiber frame Power glass will be provided as per the assessment report Universal design can easily fit for men and women | PC |  |  |  |  | ready made | AT- Vision
70 | Splint (resting & dynamic both) | High quality Ploy-Vinyl-Chloride (PVC), EVA and Velcro straps Elastic rope for dynamic splint Variation in model for Left and Right hand It help to immobilize, protect and support inflamed joints and tendons | PC |  |  |  |  | Customize | AT- Orthotics
71 | Standing Frame | frame made of G.I pipe, tray made of wood, well cushioned knee support, good quality velcro straps(foot straps, knee steps), with pelvic and chest support belt. Height adjustable, (if possible attached frame made form iron bar for holding toys.) | PC |  |  |  |  | ready made | AT- Learning, Cognition and development
72 | Taylor Brace | Elastic webbing, pull Velcro and rigid mild steel splints. Back rigid splints is strong and allow accurate posture correction. Double pull mechanism ensures secure fitting. Canvas back pad offers moderate cushioning. Hook loop panel allows controlled compression | PC |  |  |  |  | ready made | AT- Orthotics
73 | Taylor Brace-adjustable | Elastic webbing, Ethafoam, strongest wider pull Velcro and semi rigid aluminum splints Aluminum Back Rigid Splints are light weight, durable and maintain the spine in neutral position and allow accurate posture correction Horizontal Chest Splint prevent the rotational movement of the torso for effective immobilization | PC |  |  |  |  | ready made | AT- Orthotics
74 | Therapeutic toy like peg velcro, posting ring) | One Peg Velcro with five different shape and handle for hand manipulations One Posting Ring stand with multi color circle ring One Connect Four set with accessories | PC |  |  |  |  | ready made | AT- Therapeutic Items
75 | Tilt chair | High quality Light weight and durable strongest aluminum alloy tube with anodized blue lecar painting color foldable frame 6”( inch) Castors Well cushioned seat and backrest Tilting back angle up to 45° degree Integrated United Break and Static break Flip up and adjustable Seat, Hand rest, Backrest and Removable Footrest Adjustable, rotating and removable headrest Back recline angles and united break controlled by Hydraulic system | PC |  |  |  |  | ready made | AT- Mobility
76 | Tilting wooden horse for static balance practice | Made of high quality solid wood Attractive painting looks like a real horse Horse head with handle to hold while balancing A small railing set at tail of horse which protect children for quick drive balancing time Color option: Red, yellow, Green | PC |  |  |  |  | ready made | AT- Therapeutic Items
77 | Toilet Chair With Bucket (Adult and Child) | Made of stainless steel/high quality aluminum alloy, foldable, With removable toileting seat and a toilet bowl/ bucket Stable armrests (can be removable for easier transfer). The components of the chair should be light-weight (easy to transport) and washable (ensure hygiene). | PC |  |  |  |  | ready made | AT- Daily Leaving
78 | Toilet Chair Without Bucket Adult and Child) | Made of stainless steel/high quality aluminum alloy, foldable, With removable toileting seat, commode of Asian type. Stable armrests (can be removable for easier transfer). The components of the chair should be light-weight (easy to transport) and washable (ensure hygiene). | PC |  |  |  |  | ready made | AT- Daily Leaving
79 | Transfer Board | Made with strong plastic or wood. Mix of 1 straight and 1 curve If possible: with cut-out handles for gripping. Light | PC |  |  |  |  | ready made | AT- Therapeutic Items
80 | Tray, Adjustable for wheel chair and special seating chair | Adjustable wooden or strong plastic tray | PC |  |  |  |  | ready made | AT- Positioning
81 | Tricycle- Customized | As per the measurements will provide by the HI Pull bar in both side, static brake in both back wheel | PC |  |  |  |  | Customize | AT- Mobility
82 | Tricycle | Proper and easier hand cycling system, if possible rear tire with push bar. Proper breaks system. Well cushioned seat, arm and back rest. Well foot rest and user friendly for person with disability (Like easy to in and out). Calling bell, looking glass. , if possible extra basket on the posterior of back rest. | PC |  |  |  |  | Customize | AT- Mobility
83 | Trolley, Long | For transportation of goods | PC |  |  |  |  | ready made | AT- Mobility
84 | Trolley, Low | As per HI design | PC |  |  |  |  | Customize | AT- Mobility
85 | Walker- Child Closed | Steel and plastic. Walker with 4 fully rotating wheels. Sling seat of the walker is adjustable for different sizes, removable and washable. Front bar (with non-slip grip) enables manual bearing for user. The frame can be adjusted according to height of user. | PC |  |  |  |  | ready made | AT- Mobility
86 | Walker- Child Posterior | Made form aluminum, foldable and height adjustable with rest seat. Rear wheels should move forwards only and lock when frame pushed back. Front wheels should be able to swivel or locked to go straight only | PC |  |  |  |  | ready made | AT- Mobility
87 | Walker- Child without wheel | Made from aluminum tubing light weight, foldable, height adjustable legs with rubber ferrule tips, ergonomic handles. | PC |  |  |  |  | ready made | AT- Mobility
88 | Walking Frame /Walker (Adjustable ) with Four Wheels-adult | Made from lightweight aluminum frame, foldable, puncture proof wheels, padded rest seat with cushioned safety bar, ergonomic hand grip. | PC |  |  |  |  | ready made | AT- Mobility
89 | Walking Frame/ Walker (Adjustable ) with no wheel-Adult | Made from aluminum tubing light weight, foldable, height adjustable legs with rubber ferrule tips, ergonomic handles. | PC |  |  |  |  | ready made | AT- Mobility
90 | Walking Frame/ Walker (Adjustable ) with Two Wheels-Adult | Made from aluminum tubing light weight, foldable, height adjustable legs with rubber ferrule tips, with two front wheel, ergonomic handles. | PC |  |  |  |  | ready made | AT- Mobility
91 | Walking Frame/ Walker (Adjustable ) with Two Wheels-Children | Made from aluminum tubing light weight, foldable, height adjustable legs with rubber ferrule tips, with two front wheel, ergonomic handles. | PC |  |  |  |  | ready made | AT- Mobility
92 | Walking Stick Four Point /Quadripod Cane-Adjustable | Made of chrome plated steel/ aluminum, light weight and durable, cane with four feet, adjustable in height with ergonomic handle (high quality polymer material).Rubber tips with metal inlay for greater resistance | PC |  |  |  |  | ready made | AT- Mobility
93 | Walking Stick, Tripod Cane /Three point -Adjustable | Made of chrome plated steel/ aluminum, light weight and durable, cane with three feet, adjustable in height with ergonomic handle (high quality polymer material ). | PC |  |  |  |  | ready made | AT- Mobility
94 | Walking Stick-Adjustable | Made from aluminum, light and durable, height adjustable with ergonomic handle made from high quality polymer material. If possible, rubber tips with metal inlay for greater resistance. | PC |  |  |  |  | ready made | AT- Mobility
95 | Wheel chair - Belt | Foam and soft tissue belt thick double foam padding, secure lock and release Attach straps via velcro or latch system. 1 strap for pelvic /abdomen 2 optional straps for trunk Resistant and washable straps Width and height adaptable. | PC |  |  |  |  | ready made | AT-Consumpable item
96 | Wheel Chair Tool Kit - One rear seat bag | Made of thick and strong Canvas fabric which able to carry minimum 10Kg weight Two hook handle can easily adjust with wheel chair caregiver push handle Classic design can adjust with any wheel chair Pocket adjustable by strong Velcro straps Washable and re-useable | PC |  |  |  |  | ready made | AT-Consumpable item
97 | Wheel Chair Tool Kit- One air pump | Made of Stainless steel body with air hose pipe Two different size air nozzle Manual and easy operation | PC |  |  |  |  | ready made | AT-Consumpable item
98 | Wheel Chair Tool Kit - Four standard inner air tubes | Four standard inner air tubes standard (24 pouches?). | PC |  |  |  |  | ready made | AT-Consumpable item
99 | Wheel Chair Tool Kit - One mini kit patches | Small piece of rubber cutting with different shapes for instant leak proof One small tube super glue One small piece of sand paper One small & hard PE Bag | Set |  |  |  |  | ready made | AT-Consumpable item
100 | Wheel Chair Tool Kit - One classic lubricant. | One classic lubricant. | pc |  |  |  |  | ready made | AT-Consumpable item
101 | Wheel Chair Tool Kit - One vise grip. | One vise grip. | pc |  |  |  |  | ready made | AT-Consumpable item
102 | Wheel Chair Tool Kit- grease bearing. | One pot of grease bearing. | pc |  |  |  |  | ready made | AT-Consumpable item
103 | Wheel Chair Tool Kit - wheelchair ball bearings. | Two standard wheelchair ball bearings. | Set |  |  |  |  | ready made | AT-Consumpable item
104 | Wheel Chair Tool Kit - multi wrench tool. | One multi wrench tool. | Set |  |  |  |  | ready made | AT-Consumpable item
105 | Wheel Chair,- Active Rough Terrain-38(fold able) | Mild steel frame with foldable 28”( inch) spoke wheel with solid Pneumatic/air tyre-tube Rear wheel and 8” (inch) Front Castors with handmade fork Round type hand rest for easy propel and transfer from wheel chair to bed Steel material Push-hand rim for self-propel 3” (inch) thickness cotton covered seat cushion Fixed Hand rest, Backrest and Footrest Seat belt, Leg belt and mild foot plate with hand spray paint | PC |  |  |  |  | ready made | AT- Mobility
106 | Wheel Chair,- Active Rough Terrain-39 (Foldable) | Mild steel frame with foldable 28”( inch) spoke wheel with solid Pneumatic/air tyre-tube Rear wheel and 8” (inch) Front Castors with handmade fork Round type hand rest for easy propel and transfer from wheel chair to bed Steel material Push-hand rim for self-propel 3” (inch) thickness cotton covered seat cushion Fixed Hand rest, Backrest and Footrest Seat belt, Leg belt and mild foot plate with hand spray paint | PC |  |  |  |  | ready made | AT- Mobility
107 | Wheel Chair,- Active Rough Terrain-40 (foldable) | Mild steel frame with foldable 28”( inch) spoke wheel with solid Pneumatic/air tyre-tube Rear wheel and 8” (inch) Front Castors with handmade fork Round type hand rest for easy propel and transfer from wheel chair to bed Steel material Push-hand rim for self-propel 3” (inch) thickness cotton covered seat cushion Fixed Hand rest, Backrest and Footrest Seat belt, Leg belt and mild foot plate with hand spray paint | PC |  |  |  |  | ready made | AT- Mobility
108 | Wheel Chair, - Active Rough Terrin Children size (foldable) | Mild steel frame with foldable 28”( inch) spoke wheel with solid Pneumatic/air tyre-tube Rear wheel and 8” (inch) Front Castors with handmade fork Round type hand rest for easy propel and transfer from wheel chair to bed Steel material Push- hand rim for self-propel 3” (inch) thickness cotton covered seat cushion Fixed Hand rest, Backrest and Footrest Seat belt, Leg belt and mild foot plate with hand spray paint | PC |  |  |  |  | Customize | AT- Mobility
109 | Wheel Chair, - Active Rough Terrin -Customized (foldable) | As per the measurements shared by the HI Mild steel frame with foldable | PC |  |  |  |  | Customize | AT- Mobility
110 | Wheel Chair, Fixed- Active Rough Terrain-41(foldable) | Mild steel frame with foldable 28”( inch) spoke wheel with solid Pneumatic/air tyre-tube Rear wheel and 8” (inch) Front Castors with handmade fork Round type hand rest for easy propel and transfer from wheel chair to bed Steel material Push-hand rim for self-propel 3” (inch) thickness cotton covered seat cushion Fixed Hand rest, Backrest and Footrest Seat belt, Leg belt and mild foot plate with hand spray paint | PC |  |  |  |  | ready made | AT- Mobility
111 | Wheelchair - 18''(Hospital) Adult folding | Frame: iron, aluminum or combination seat and backrest: canvas or leatherette materials Standard folding wheelchair with 4 wheels and posterior handles, foot plates and breaks. Washable canvas seat and backrest. Height, declinable backrest, adjustable and declinable foot and leg rest, flip back or removable armrests, static brakes system. | PC |  |  |  |  | ready made | AT- Mobility
112 | Wheelchair - (Hospital) Children folding | Frame: iron, aluminum or combination seat and backrest: canvas or leatherette materials Standard folding wheelchair with 4 wheels and posterior handles, foot plates and breaks. Washable canvas seat and backrest. Height, declinable backrest, adjustable and declinable foot and leg rest, flip back or removable armrests, static brakes system. | PC |  |  |  |  | ready made | AT- Mobility
113 | Wheelchair-16''(Hospital) Adult Folding | Frame: iron, aluminum or combination seat and backrest: canvas or leatherette materials Standard folding wheelchair with 4 wheels and posterior handles, foot plates and breaks. Washable canvas seat and backrest. Height, declinable backrest, adjustable and declinable foot and leg rest, flip back or removable armrests, static brakes system. | PC |  |  |  |  | ready made | AT- Mobility
114 | Reversy board | High quality wood with Varnish surface finish Reversy hole hand knob Complete set put into a PE poly bag | Set |  |  |  |  | ready made | AT- Therapeutic Items
115 | Posting tree | Made by wood Different shape and size. | Set |  |  |  |  | ready made | AT- Therapeutic Items
116 | Soft spiky ball | Made of high quality plastic 20 CM in Diameter, filled with air | PC |  |  |  |  | ready made | AT- Therapeutic Items
117 | White Cane (Foldable) | Made from high quality aluminum alloy, firm and durable. Snaps open for quick assembly and can be collapsed/ fold instantly Must be white as it is a means of identification. With tips and can be reuseble. Different size for adult and children | PC |  |  |  |  | ready made | AT- Vision
118 | Cylindrical grasp board and special grasp board | Made by paper, cylindrical shape and different color, 6- 8 peach set in a box | Set |  |  |  |  | ready made | AT- Therapeutic Items
119 | Manipulation Board | Made of paper and bottle, different shape of the bottle and cap in different color | Set |  |  |  |  | ready made | AT- Therapeutic Items
120 | Shoulder ladder | Shoulder Exercise Ladder is designed to increase a users range of motion, strength, and flexibility. This can be adjusted to 3 different angles 70 degrees, 65 degrees, and 55 degrees • Working surface measures 18.5" wide x 23.5" high • Constructed of durable Birch wood • Includes a 36" movable dowel rod; ladder can be folded down for easy storage | pc |  |  |  |  | ready made | AT- Therapeutic Items
121 | Toilet Chair- Customized | As per the measurements will provide by the HI | Pc |  |  |  |  | ready made | AT- Daily Leaving
122 | Hammock | Made of high quality strong Nylon rope Net swing with strong knot like loop Complete Hammock net with PE poly bag for packing | Pc |  |  |  |  | ready made | AT- Therapeutic Items
123 | Kneeling chair/ Balance chair | Made of high-quality strong wood /metal frame with Varnish surface finish Cross leg with wheel Well cushioned seat and Knee support | Pc |  |  |  |  | ready made | AT- Positioning
124 | Walker Kits | High quality PVC material with shock absorbing properties Roller bush with cover MAG spoke with light weight | Pc |  |  |  |  | ready made | AT-Consumpable item
125 | Peg Velcro | Size: 12” * 12” High quality ply wood with Varnish surface finish Five square rows with peg hole Complete set put into a PE poly bag | Set |  |  |  |  | ready made | AT- Therapeutic Items
126 | Connect Four | Size: 10” Made of food grade plastic material Vertical board with 42 holes Two colored 42 coin | Set |  |  |  |  | ready made | AT- Therapeutic Items
127 | Painting color | Rainbow color box,18 acrylic paint color | Set |  |  |  |  | ready made | AT- Therapeutic Items
128 | Counting and Stacking Board | Wooden Toys Kids Education Mathematics Rainbow Ring Logarithmic Plate Aids Counting and Stacking Board for kids Children | Set |  |  |  |  | ready made | AT- Therapeutic Items
129 | .Trampoline | PVC cover with sewn-in padding and connect to a durable, polypropylene jumping mat Trampoline and safety enclosure proudly carries the heigh quality seal Weight limit of 200 lbs and should not exceed more than 1 rider at a time Trampoline Type: Fitness Trampolines Round shape 40’’ -48’’ Bar height – 8.5’’-9’’ | PC |  |  |  |  | ready made | AT- Therapeutic Items
130 | Iron Frame for Drainage | Size: 3feet*4 feet Foldable and heigh quality still | PC |  |  |  |  | ready made | AT- Environment Modification
131 | Mobile ramp | Size: 8inch*56inch, Lightweight, Easy-to-Handle and Set Up. Folds In Half | PC |  |  |  |  | ready made | AT- Environment Modification
132 | BP Machine | Single Head Stethoscope – Black Enamel 300 mmHg Non Stop Pin– Manometer – Latex Free Cuff – Chrome-Plated Brass Air Release Valve – Includes:- Zipper Bag, Cuff, Bulb, and Instruction Manual | PC |  |  |  |  | ready made | AT- Therapeutic Items
133 | Brush for tactile stimulation | • This oval-shaped brush is easier to use than regular sensory brushes in that it comes with an attached handle and has a more ergonomic design that makes it fit comfortably in your hand • Vibrant colors make these brushes fun and can be used to teach children colors while brushing • Designed by an occupational therapist to ensure they are most effective • The high density of the bristles, make it an ideal brush for the body | Set |  |  |  |  | ready made | AT- Therapeutic Items
134 | Hand Cycle | Structure size: 48*41*30cm Accessories: mini leg trainer, corrugated box Product size: 48*41*30cm Product material: steel, rubber | PC |  |  |  |  | ready made | AT- Therapeutic Items
135 | Pulley | Steel bracket with non-skid rubber tips, nylon rope, 2 high quality metal pulleys, 2 easy grip plastic handles. Dimensions: 18.25 inches long, 15.5 inches wide, 14.25 inches high. | PC |  |  |  |  | ready made | AT- Therapeutic Items
136 | .Basketball | Details Height: 9.43”-9.51” ¦ 24-24.2 cm Circumference: 29.5” ¦ 74.9 cm Diameter: 9.43”-9.51” ¦ 24-24.2 cm Pressure: 7.5-8.5 PSI Weight: 22 ounces (maximum) Material (Indoor): Full-grain leather Material (Outdoor): Rubber | PC |  |  |  |  | ready made | AT- Therapeutic Items
137 | Parallel Bar | Type: Portable Length: 3-4 meter Handrails: yes Height & Width : Adjustable | Pair |  |  |  |  | ready made | AT- Therapeutic Items
138 | Vibrator | Full Body Vibrating Massager Physiotherapy Machine for Back Muscle, Pain Relief, Weight Loss, Fat Burning, Leg Massage Power Requirements Power Source: Electric Power Consumption (Watts) : 35 W Power Required (Volts): 220V-240V, 50Hz | Set |  |  |  |  | ready made | AT- Therapeutic Items
139 | Digi flex | Size: Hand(2.5lbs) • he Digi-Flex hand therapy device develops isolated finger strength, flexibility and coordination as it builds hand and forearm strength • Weights of hand therapy device refer to lbs per finger • Entire unit lbs are also listed for the digi-flex hand exercise device • Yellow color • 2.5 lbs Weight | PC |  |  |  |  | ready made | AT- Therapeutic Items
140 | Counter Force Brace | NE SIZE FITS MOST - Universal size fits forearm circumferences up to 12”. It can be worn on your right or left arm. Package Dimensions ‏ : ‎ 5.67 x 4.41 x 1.42 inches; 1.59 Ounces | PC |  |  |  |  | ready made | AT- Orthotics
141 | Thumb Spica Splint | • For correct size please measure circumference evenly around wrist joint and refer corresponding size in size chart. • Size: 5 to 9.5 inches (12.5 to 23.8 cms). For correct size please measure circumference evenly around wrist joint and refer corresponding size in size chart | PC |  |  |  |  | ready made | AT- Orthotics
142 | Thera-band | A high-quality, easy-to-use product designed for resistance training, rehabilitation, and can be easily integrated in a variety of exercise. Color-coded progressive resistance gives at-a-glance documentation of progress from one level to the next. Made with the highest quality natural rubber latex. | Set |  |  |  |  | ready made | AT- Therapeutic Items
143 | Thera-putty | Thera-putty is made from a silicone polymer and is gluten, latex, nuts, egg and soy free. • Product Dimensions ‏ : ‎ 8 x 7 x 5 inches; 1 Pounds | Set |  |  |  |  | ready made | AT- Therapeutic Items
144 | Moisture Lotion | • CETAPHIL BODY MOISTURIZING LOTION: Fast absorbing and non-greasy, lightweight body lotion provides instant and long lasting hydration for all skin types • INSTANT AND LONG LASTING 24 HOUR HYDRATION: Binds water to the skin, preventing moisture loss to hydrate and protect skin from dryness | PC |  |  |  |  | ready made | AT- Therapeutic Items
145 | Weight Bag | Type 1: Medium 36 * 60cm (outer dimension), 2 kg for waist circumference approx. 50-56cm, approx. 104 Type 2: Large 40 * 72cm (external dimensions), 3 kg for waist circumference approx. 62-68cm, approx. 110-116 Weight: 2 kg or 3 kg Color: gray Material: cotton fabric | PC |  |  |  |  | ready made | AT- Therapeutic Items
146 | Abacus | This wooden "calculator" helps teach math skills, patterning and color recognition Slide and count the colourful beads with this timeless counting frame Solid hardwood frame with 100 wooden beads 305 mm x 302 mm x 76 mm | PC |  |  |  |  | ready made | AT- Therapeutic Items
147 | Colorful Bubbles | Different colour Large/miduam/small size Easy to grip | PC |  |  |  |  | ready made | AT- Therapeutic Items
148 | Colour pencil & paper | Heigh quality colour pencil box | Set |  |  |  |  | ready made | AT- Therapeutic Items
149 | Colourful Lighting Toys for Visual sensory stimulation | Soft and different colour, different doll size of fish and other animal | Set |  |  |  |  | ready made | AT- Therapeutic Items
150 | Dumbbell .5 kg | Great for home or studio workouts - Great for physiotherapy exercises - Grips easily in sweaty hands - Perfect for light-weight training and toning - Safe rubber wont scratch flooring - Hexagonal ends provide stability Package Include : 2 unit x 0.5kg Neoprene Dumbbell | Pair |  |  |  |  | ready made | AT- Therapeutic Items
151 | Dumbbell 1 kg | Great for home or studio workouts - Great for physiotherapy exercises - Grips easily in sweaty hands - Perfect for light-weight training and toning - Safe rubber wont scratch flooring - Hexagonal ends provide stability Package Include : 2 unit x 1.0kg Neoprene Dumbbell | Pair |  |  |  |  | ready made | AT- Therapeutic Items
152 | Dumbbell 2 kg | Great for home or studio workouts - Great for physiotherapy exercises - Grips easily in sweaty hands - Perfect for light-weight training and toning - Safe rubber wont scratch flooring - Hexagonal ends provide stability Package Include : 2 unit x 2kg Neoprene Dumbbell | Pair |  |  |  |  | ready made | AT- Therapeutic Items
153 | Incentive Spirometer | Type - Three Ball Synonyms - breathing or lung exerciser, respirometer Material - PVC Uses/Application - achieve optimum lung capacity | Set |  |  |  |  | ready made | AT- Therapeutic Items
154 | Motor skill/ADL board | Standard Quality | Set |  |  |  |  | ready made | AT- Therapeutic Items
155 | Puzzle Human/Animal | Wooden, Both Boy and Girl picture. Every part of the body (Head, hand, Leg, trunk, Belly) need to separate Easy to grip, colourful. | Set |  |  |  |  | ready made | AT- Learning, Cognition and development
156 | Sand bag-.5 kg | • Filled with low friction smooth steel balls for soft feel, easy wearing and to make the product accident free. High density of steel balls ensures small volume of the product and convenience of use. • Reverse buckle mechanism ensure secure tightening, easy application and removal of the cuff and flexible sizing. Aerodynamic shape ensures good grip and better aesthetics. • Made from strong spandex fabric for durability, enhanced comfort and pleasing aesthetics. • Package Include : 2 unit x 0.5kg | pc |  |  |  |  | ready made | AT- Therapeutic Items
157 | Sand bag- 1 kg | Filled with low friction smooth steel balls for soft feel, easy wearing and to make the product accident free. High density of steel balls ensures small volume of the product and convenience of use. Reverse buckle mechanism ensure secure tightening, easy application and removal of the cuff and flexible sizing. Aerodynamic shape ensures good grip and better aesthetics. Made from strong spandex fabric for durability, enhanced comfort and pleasing aesthetics. Package Include : 2 unit x 1.0kg | pc |  |  |  |  | ready made | AT- Therapeutic Items
158 | Sand bag-2 kg | Filled with low friction smooth steel balls for soft feel, easy wearing and to make the product accident free. High density of steel balls ensures small volume of the product and convenience of use. Reverse buckle mechanism ensure secure tightening, easy application and removal of the cuff and flexible sizing. Aerodynamic shape ensures good grip and better aesthetics. Made from strong spandex fabric for durability, enhanced comfort and pleasing aesthetics. Package Include : 2 unit x 2kg | pc |  |  |  |  | ready made | AT- Therapeutic Items
159 | SMO (Supra malleolar orthosis) | Made of propylene, Prefabricated plastic brace / holder that fits around the back of the ankle joint and hold it in a 90° position (open orthosis). 2 Velcro straps: 1 around the shin and 1 across the front of the ankle | pc |  |  |  |  | Customize | AT- Orthotics
160 | Sound Making Toys for auditory sensory stimulation - Xylophone | Wood box design, unique wood box design as a creative move for making our best sound kids xylophone after years of works on kids music instruments. Kids will love this one unique toy instrument for this beautiful looking. Product Dimensions 8.66 x 3.15 x 1.46 inches | pc |  |  |  |  | ready made | AT- Therapeutic Items
161 | Velcro Board | Wooden board 14’’ x 14’’ design as check board with Velcro and square shape wooden box are covered by velcro and small clip(soft) to hold | pc |  |  |  |  | ready made | AT- Therapeutic Items
162 | TENS | Dimensions: 3.9" H x 2.45" W x 1" D. Weight: 140 grams with battery. Channel: Dual, isolated between channels. Pulse intensity: Adjustable, 0-80 mA peak into 500 ohm load each channel, constant current. Pulse Rate: adjustable from 1 to 160 Hz. Pulse Width: Adjustable, from 50 to 260 microseconds. Patient compliance meter: shows the treatment times in hours. Patient lock system: prevents the user from changing any fixed parameters set by the physician or licensed practitioner. Wave Form: Asymmetrical Bi-Phase Square Pulse. Voltage: 0 to 110 V. Power Supply: One 9V battery (Alkaline or Nickel-Cadmium Rechargeable). Five Function modes: 1. Cycle bursts: 2 bursts/sec, 9 pulses/burst and 100 HZ, width is adjustable. 2. Continuous mode: adjustable pulse rate, width and intensity. 3. Modulation width: pulse width is automatically varied in a six-second interval. 4. Strength, duration and rate modulation (SDR): consists of alternating modulated intensity (amplitude) and pulse rate. 5. Strength, duration and width modulation (SDW): consists of alternating modulated intensity (amplitude) and pulse width. Box Included: 9-Volt Battery. 2 Lead Wires. 1 Pack of 4 Pre-Gelled Electrodes. Carrying Case. Manual. | Set |  |  |  |  | ready made | AT- Therapeutic Items
163 | UST | Technical Specifications: Ultrasonic nominal Frequency : 1 Mhz or 3 Mhz Ultrasonic Output : cont. 2.5W/cm, Pulse 3.5/cm Pulse Frequency : 8hz, 16z 50hz, 100hz Pulse ratios : 1:1, 1:4, 1:7, 1:9 Treatment time : 0 to 6 Minutes Timer : Electronic timer 0to 99 minutes Display :LCD display Standard Accessories : 1 Main Cord, 1 Pair Ultrasound head (1Mhz) with wire , 1Pair Ultrasound head (3Mhz) with wire | PC |  |  |  |  | ready made | AT- Therapeutic Items
164 | Hot/Cold Pack | Reusable Cold/Hot Pack – Convenient to use it cold for effective pain relief, swelling, bruises or sprains or heat to soothe muscle aches and stiffness. – Dual purpose – Outer material: Made of durable Nylon + PVC – Contents: non-toxic Gel (remains soft and flexible after freezing) – Microwaveable/Freezable/Reusable (Small) 11.5 cm x 28.5 cm, (Large) 17.5 cm x 31.0 cm | PC |  |  |  |  | ready made | AT- Therapeutic Items
165 | Transfer Belt | Material: soft nylon fabric, polyester fabric & foam (leg straps). Safe, comfortable and durable. Size of belt for patient: free size, waist belt adjustable from 70cm~110cm Size of belt for carer: free size, waist belt adjustable from 80cm~110cm For patient one: With 2 leg straps and 4 handles. Leg straps helps to hold him/her up and keep the belt on the waist where it is usable. 4 handles are firmly sewn, sturdy enough to be handheld. For carer one: With 4handles. | pc |  |  |  |  | ready made | AT- Therapeutic Items
166 | Reflex Hammer | Triangular shaped and flat rubber head for reflex testing. 7 3/4" length with a solid chrome steel handle for sure grip Pointed chrome shaft for testing babinski response and nerve sensations Get your reflex hammer in different colors (Blue or Black) approximately 7 3/4" long with hammerhead approximately 2" wide and 1/2" thick. | pc |  |  |  |  | ready made | AT- Therapeutic Items
167 | GYMNASTIC BALL | Gym Ball Static Load Capacity: 550 lbs / 250 kg Gym Ball Dynamic Load Capacity: 450 lbs / 200 kg Size Chart (Ball Diameter> User Height): 45cm/18in> 5'0"/152cm 55cm/22in> 5'1" - 5'6"/155 -167cm 65cm/26in> 5'7" - 6'1"/170 - 185cm 75cm/30in> 6'2" - 6'8"/188cm - 202cm The height guidelines shown are only suggestions. Some therapists, trainers and midwifes may suggest that you use an alternative size. Helps Improve Balance, Coordination and Flexibility. Ideal for Core Strength Training, Stretching, Toning, Resistance Exercises. | PC |  |  |  |  | ready made | AT- Therapeutic Items
168 | Gymnastic mattress | Item Package Dimensions L x W x H = 24 x 6 x 6 inches (61 x 15.2 x 15.2 cm) Package Weight= 1.18 Kilograms Item Dimensions L*W* H= 72*24*0.31 inches (182.9 x 61 x 0.8 cm) Item Weight= 2 Pounds (0.9 kg) mats are made of either plastic or rubber which features higher elasticity, better abrasion & tear resistance, and more eco- friendly than traditional PVC, NBR materials. | PC |  |  |  |  | ready made | AT- Therapeutic Items
169 | Torch light | LED Rechargeable 2SC Aluminum Torch Light is packing in high standard packing case . Then offer one extra free 5 w original CREE lamp . Then one extra free original 3.7v 2000 mah Li-ion battery | PC |  |  |  |  | ready made | AT- Therapeutic Items
170 | Digital White cane | • High tech ultrasonic cane for easy use with beautiful design. • Voice and vibration alarm mode. • Report time, alarm clock function. • Talking electronic compass can tell eight different directions. • The white cane can be found by remote control within 20 meters. • High quality 4 section aluminum construction. • Shaft covered with white and red reflective tape for night visibility. • Easily folds and unfolds without tools. • Replaceable PA rolling head, reliable and flexible. | Pc |  |  |  |  | ready made | AT-Vision
171 | Plastic sheet (pressure relief mattress size) | Size: 75” inch*40”inch*18mm High quality, black or blue color | Pc |  |  |  |  | ready made | AT- Positioning
172 | Ankle Brace | The lightweight ankle support brace is slim fitting for superior comfort and can be worn comfortably throughout the day, the neoprene fabric keeps feet dry. Our ankle support for men is flexible, durable and washable Size: L/M/S | Pair |  |  |  |  | ready made | AT- Orthotics
173 | Lumber roll | Specifically Designed To Relieve Back Pain, Shoulder Pain & Neck Pain Due To Long Seating Hours Light Weight Pu Construction For Ease Of Handling And Long Lasting Material Size- Universal (35cm x 17cm x 8cm). Adjustable belt & Washable cover. | PC |  |  |  |  | ready made | AT- Positioning
174 | Shoe Arch | Sizes Available: S/ M/ L Medial Arch insole is designed to support & maintain the arch of the foot. It is designed to distribute the pressure on the foot evenly and naturally. Placed inside the shoe for effective results | PC |  |  |  |  | ready made | AT- Orthotics
175 | Balance beam (Airex) | 62.99 x 9.45 x 2.36 inches Made of foam | PC |  |  |  |  | ready made | AT- Therapeutic Items
176 | Goniometer | It can be made of plastic/ stainless steel • Clear permits observation of joint's axis of motion and its range of motion • 360degree head has 3 scales calibrated to be used with the ISOM (International Standards of Measurement, STFR) system • Scale reads 1 degree increments • Measurements in inches and centimeters are also available on the arm of the goniometer. | PC |  |  |  |  | ready made | AT- Therapeutic Items
177 | Powerweb (Hard, medium hard, soft) | Made of Rubber Dimensions LxWxH:14.17 x 14.17 x 0.39 inches (Approximate) Accommodates all hand sizes and strength levels | PC |  |  |  |  | ready made | AT- Therapeutic Items
178 | Measuring tape | Spring Measure Tape Measuring Glass Fiber Tape Round case automatic Winding | PC |  |  |  |  | ready made | AT- Therapeutic Items
179 | IRR machine | 275W Infrared Light Rotatable head and flexible arm | PC |  |  |  |  | ready made | AT- Therapeutic Items
180 | Exercise bike | (Best Quality Spinning Bike for Home Use Item Name : Spinning Bike' Flywheel : 15 KG Transmission System: Belt Brake System: Friction Meter Function: Time, Speed, Distance, ODO, Calories, Heart, Rate Genuine Weight Capacity : 150 KG Product Weight: 29Kg 100% Authentic & Brand New Intake Product) | PC |  |  |  |  | ready made | AT- Therapeutic Items
181 | Bed steps | (Material: Wood; Number of steps : 3 Patient bed stair (Wooden with polish) Size for each steps 24 inch length and 10 inch wide and 1.5 inch thickness' (Approximate)) | PC |  |  |  |  | ready made | AT- Therapeutic Items
182 | Orthopaedic mirror | (Wheels : No 6 length and 3 feet height (Approximate) High quality looking glass with. wooden frame with varnish polish surface for rehab center) | PC |  |  |  |  | ready made | AT- Therapeutic Items
183 | Portable Treatment Bed | Portable Treatment Bed for Therapy extra: Portable Treatment Bed for Therapy 84 Inch - Adjustable, Black. Table Unfold Size: 83.9 x 32.3 x 25.2-33.7 inches (L x W x H) Folding Size: 36.4 x 23.6 x 7.3 inches (L x W x H) Headrest Size: 11 x 10.4 x 2.8 inches (L x W x H) Armrest Size: 13.8 x 4.3 x 2 inches (L x W x H) The Thickness of Sponge: 2 inches Specification of Bed: Beech Wood Leg + Composite Board + Cushion (Plywood + Non-woven Fabrics + Sponge + PVC ) | PC |  |  |  |  | ready made | AT- Therapeutic Items
184 | Traction bed with maching and belt | Specification of bed Place of Origin: Bangladesh/ indian Type: traction table Material: Stainless steel Feature: Physical therapy Colour: Blue/Black Function: Lumber & cervical traction Specification of machine: General Specifications: Type: Cervical & Lumbar Traction Machine Operation Mode: Digital / Microprocessor Controlled Display: LCD / LED Touchscreen Traction Mode: Continuous, Intermittent, and Cyclic Force Range: Cervical: 5–50 lbs (2–23 kg) Lumbar: 10–200 lbs (5–90 kg) Timer: 0–99 minutes adjustable Hold & Rest Time: Adjustable (1–99 sec) Accessories: • Cervical Traction Head Halter • Lumbar Traction Belt Set • Adjustable Rope with Hook Input Voltage: 220V AC, 50Hz / 110V AC, 60Hz Power Consumption: 50–100W | PC |  |  |  |  | ready made | AT- Therapeutic Items
185 | Peg velcro board | One Peg Velcro with five different shape and handle for hand manipulations One Posting Ring stand with multi color circle ring One Connect Four set with accessories | PC |  |  |  |  | ready made | AT- Therapeutic Items
186 | Oral motor brush | Wonderful tools for oral motor stimulation. White or green color, using the battery. It is made in latex-free rubber, length 14 cm, 5.7 in. Approximately 1. vibrating toothbrush 2. 3 Modes available 3. The battery will be used 4. on/off mode button, | pc |  |  |  |  | ready made | AT- Therapeutic Items
187 | Portable Vibrator | Product Name - Mini Massage Fascia Gun Application- Body Type - Percussion Massage Gun Function- Deep Massage Muscle Muscle Relax Massage Heads - 4 Massage Heads Gear- 6 Weight- 0.7kg Lengths- 15cm Motor- Brush Motor Speed- 1200-3200rpm Battery Capacity- 800mAh Working time - 4-6h Massage Heads- 4massageheads | PC |  |  |  |  | ready made | AT- Therapeutic Items
188 | Wax Bath (proteble) | Specification • Promotes the absorption of nutrients and moisture. • Softens rough and dry skin. • Stimulates blood flow. • Adjustable temperature. • Parameters display. • Includes 2 sachets (2 x 450 g) of paraffin wax (with orange scent). • Includes 30 plastic liners. • Protective cover. • Mains operation. • Dimensions: 33 x 23 x 18.5 cm. • Weight: 1.1 Kg. | PC |  |  |  |  | ready made | AT- Therapeutic Items
189 | Hot Water Bag with Cover | Material : High-quality Rubber Top Features : Leak-proof, Durable, Long-lasting heat retention Size: Standard hot water bag size Usage : Heat therapy for pain relief Application Areas : Muscular pain, joint pain, menstrual cramps, stomach aches, back pain | PC |  |  |  |  | ready made | AT- Therapeutic Items

## Ready Made
Appendix A (Item List with Specifications) LOT-1 ( Ready Made Items )
S/N | Name | Additional Description | UNIT | Unit Price(Including VatsssssVat, Tax & Transportation cost ) | Picture of the item | Source of the item Manufacture/ Import/Locally sourced | Delivery Lead time | categorize | AT - Type
1 | Arm Sling/ Shoulder Sling | Prefabricated articulated arm sling in light, breathable, washable fabric (canvas fabric),Reversible to fit right or left arm.Sling needs to support a forearm in a plaster cast, if necessary.A strap (Adjustable cushioned shoulder pad) attached to the arm piece is worn around the neck to support the forearm.Velcro fasteners and adjustable strap. Adjustable Bukle fastener to fit variable heights for sling.Brand: OAC (Made by Tynor) | PC |  |  |  |  | ready made | AT- Orthotics
2 | Axillary Crutch- Adjustable-Large | Light weight and Durable made of high-quality aluminum alloy, soft comfortable hand grip (ergonomic) made of TPR material, pre-assembled including crutch tips (rubber tips with metal inlay for longer resistance), underarm pads.Height adjustable with butterfly screws.Overall Length - 1145-1345 mm aluminum Handle Height- 795-845mm ,Arm Pad to Hand Grip - 350-500 mm,Ferrules 22mm | Pair |  |  |  |  | ready made | AT- Mobility
3 | Axillary Crutch-Adjustable-Child | Light weight and Durable made of high-quality aluminum alloy, soft comfortable hand grip (ergonomic) made of TPR material, pre-assembled including crutch tips (If possible, rubber tips with metal inlay for longer resistance), underarm pads.Height adjustable with butterfly screws.Ferrules 22mm | Pair |  |  |  |  | ready made | AT- Mobility
4 | Axillary Crutch-Adjustable-Medium | Light weight and Durable made of high-quality aluminum alloy, soft comfortable hand grip made of TPR material, pre-assembled including crutch tips, hand grip, underarm pads.Height adjustable with butterfly screws.Ferrules 22mm | Pair |  |  |  |  | ready made | AT- Mobility
5 | Balance/Coordination board (sitting and standing) | Size: Child, Adult,Material & Technical details: High quality Light weight and durable Rubber & plastic doping material. Plane top with aching/textured surface and bottom surface with a half-circle concave shape which control coordination or balance Two sides whole way help to carry during transportation. It develops motor coordination skills, weight distribution and core strength It prevents knee and ankle injury | PC |  |  |  |  | ready made | AT- Therapeutic Items
6 | Ball, Soft Gripper Foam Ball | Made of high-quality fabric with soft foam filler High density (<45kg/m3) foam material. | PC |  |  |  |  | ready made | AT- Therapeutic Items
7 | Ball, Soft Gripper Gel Ball | High quality material (Made of silicone) and textured surface will give a fantastic and comfortable touch feeling. | PC |  |  |  |  | ready made | AT- Therapeutic Items
8 | Battery operated wheelchair (Small) | The design consists of an electric motor, a drive system, motor and steering controls, and a power supply. Use of sealed lead acid batteries (SLA), wet or dry cell batteries that have an output of 4 to 5 amps. The battery can be recharged using a standard electrical outlet when the wheelchair/tricycle is not being used. | pc |  |  |  |  | ready made | AT- Mobility
9 | Battery operated wheelchair (Large) | The design consists of an electric motor, a drive system, motor and steering controls, and a power supply. Use of sealed lead acid batteries (SLA), wet or dry cell batteries that have an output of 4 to 5 amps. The battery can be recharged using a standard electrical outlet when the wheelchair/tricycle is not being used. | pc |  |  |  |  | ready made | AT- Mobility
10 | Motor operated tricycle | The design consists of an electric motor, a drive system, motor and steering controls, and a power supply.Use of sealed lead acid batteries (SLA), wet or dry cell batteries that have an output of 4 to 5 amps. The battery can be recharged using a standard electrical outlet when the wheelchair/tricycle is not being used.Head light, back light and statistic brake of both back wheels must be added | pc |  |  |  |  | ready made | AT- Mobility
11 | Bed pan (Toilet pot) | Made of high-quality medical grade polypropylene plastic or metal with secure fitted lid, suitable for both male and female use. Lightweight, strong and durable with ergonomic seat With inside ledges for easier installation and soft rim to prevent injuries. must be observed there is no any sharp ends present | pc |  |  |  |  | ready made | AT- Daily Leaving
12 | Bed Urinal pot/ Urine Flask - Female | Made of high-quality medical grade polypropylene plastic with secure easy grip handle, lightweight, strong and durable. 1000ml capacity, large opening, must be observed there is no any sharp ends present | PC |  |  |  |  | ready made | AT- Daily Leaving
13 | Bed Urinal pot/ Urine Flask - Male | Made of high-quality medical grade polypropylene plastic with secure easy grip handle, lightweight, strong and durable. 1000ml capacity must be observed there is no any sharp ends present | Pc |  |  |  |  | ready made | AT- Daily Leaving
14 | Hearing Aid Device | • Hearing Aid Quality: Hooks over the top of the ear and rests behind the ear. A tube connects the hearing aid to a custom earpiece called an earmold that fits in the ear canal. Type: BTE Including 1 Pata (6 pcs) l3 Size Battery and 1 pe Elbow with Ear tip, • Origin: Europe • Customization Capability: The vendor must demonstrate the ability to adjust the hearing aids to match the assessments provided (e.g., various amplification levels, noise reduction features, etc.). • Durability: Hearing aids must be durable and suited to the environmental conditions. • Protective Clip for daily worker person with hearing disabilities Moderate to severe and severe to profound hearing loss cover Warranty of Hearing Aid at least 1 Years | pc |  |  |  |  | ready made | AT- Hearing and Speech
15 | Bobath Sling | comfortable feeling by memory foam ('' viscoelastic'' polyurethane foam) ,wide strap and high quality fabric, Adjustable Buckle fastener to fit variable heights for sling. Cross straps at shoulder area to pick up shoulder in right position | pc |  |  |  |  | ready made | AT- Orthotics
16 | Cervical Collar / Cervical Brace | made from high density polyurethane foam with higher cushioning, dermophillic cotton, rust proof ventilation, dermophillic | pc |  |  |  |  | ready made | AT- Orthotics
17 | Communication board-1 | Low tech basic communication board A board with symbols or pictures that is used to facilitate communication for persons with limited expressive language ability. Children communicate using the board by pointing and gesturing or gazing at the various symbols and pictures. | pc |  |  |  |  | ready made | AT-Communication
18 | Communication board-2 | Low tech basic communication board A board with symbols or pictures that is used to facilitate communication for persons with limited expressive language ability. Children communicate using the board by pointing and gesturing or gazing at the various symbols and pictures. Pictrure are must be related to the ADLs | PC |  |  |  |  | ready made | AT-Communication
19 | Compression Socking – Thigh High) | High quality high denier yarns, tapered shape, uniform compression, durable, soft and comfortable, anti-slip silicone belt Washable and re-usable. Depending on the context, it is advisable to check the quality of fabrics and intended use in regard to hot climate environment. | pc |  |  |  |  | ready made | AT- Orthotics
20 | COMPRESSION SOCKINGS -Mid Thigh | High quality high denier yarns, tapered shape, graduated compression, durable, soft and comfortable Washable and re-usable. Depending on the context, it is advisable to check the quality of fabrics and intended use in regard to hot climate environment. | pc |  |  |  |  | ready made | AT- Orthotics
21 | Corner Chair | Made from wood, foam, tissue V-shaped back rest designed to support trunk and sides during sitting Adjustable back rest and head rest height. Optional accessories include adductor block, trunk and/or head support, tray table (fixed and removable). | pc |  |  |  |  | ready made | AT- Learning, Cognition and development
22 | Crepe Bandage/Elastic Bandage | Made from 75% soft cotton, 15% spandex, 10% polyester. Should retains elasticity after repeated use and washing. A fastener (metal clip or Velcro) to hold the bandage in place. Washable and breathable. Non-sterile. Width : 3 and 4 inch | pc |  |  |  |  | ready made | AT- Therapeutic Items
23 | Crutch Tips | Made from heavy duty rubber, metal washer reinforced base Non slip cushioning Adaptable with a variety of mobility aids including cane, crutches and walking frames. Tube diameter of Elbow crutch and Walking stick is same (OD -19mm), for Auxiliary Crutch tube OD-22mm and Walker Tube OD-28mm, So you have to mention the size when you will place order, because this is not possible to adapt one size for different outer diameters tube. | pc |  |  |  |  | ready made | AT-Consumpable item
24 | Pressure relief cushion | High quality double layer foam with cotton cover. Tube or square shape. Base layer Foam density <45Kg/m3 and Upper layer foam density <35Kg/m3, base level is little hard and top level is softness. Washable and re-useable cotton cover. Two layers with two different densities can relief pressure by special cutting shape | pc |  |  |  |  | ready made | AT- Positioning
25 | Education Material Kit (number blocks) | Wooden or plastic materials, square box shape with multiple color, 1 set box, Printed with number (1,2,3,4,5,6,7,8,9,0, +,-,X,÷,=). | Set |  |  |  |  | ready made | AT- Learning, Cognition and development
26 | Education Material Kit (building blocks,) | High quality and light weight PVC material. Blocks with different length. Contrast color painting on block This block can be used as elementary teaching material | Set |  |  |  |  | ready made | AT- Learning, Cognition and development
27 | Education Material Kit (shape blocks,) | High quality and light weight PVC material. Blocks with different length shape and size. Contrast color painting on block | Set |  |  |  |  | ready made | AT- Learning, Cognition and development
28 | Education Material Kit (letter blocks) | High quality and light weight food grade PVC material. Blocks with different alphabetic letters. Clear and contrast color printing on block. Printed with number (A, B, C, D, E, F, G, H,I,J,K,L,M,N,O,P,Q, R,S,T,U,V,W,X,Y,Z) or bangle letters | Set |  |  |  |  | ready made | AT- Learning, Cognition and development
29 | Education Material Kit (puzzles) | Light PVC material Puzzles with different shapes Clear and contrast color painting on puzzle blocks Puzzle help develop Hand-Eye coordination and also develop fine motor skils | Set |  |  |  |  | ready made | AT- Learning, Cognition and development
30 | Elbow Crutch-Adjustable-Child | Light weight and long-lasting made of high quality aluminum alloy, pre-assembled crutch tips, comfortable hand grip, adjustable arm rest and length | pc |  |  |  |  | ready made | AT- Mobility
31 | Elbow Crutch-Adjustable-Large | Light weight and long-lasting made of high quality aluminum alloy, pre-assembled crutch tips, comfortable hand grip(Ergonomic handle), adjustable arm rest Possibility of adjustable forearm section Adjustable floor to handgrip. for maximum use and comfort of patient. Prefer rubber tips with metal inlay forgreater resistance. | pc |  |  |  |  | ready made | AT- Mobility
32 | Elbow Crutch-Adjustable-Medium | Light weight and longlisting made of high quality aluminum alloy, pre-assembled crutch tips, comfortable hand grip (Ergonomic handle), adjustable arm rest Possibility of adjustable forearm section Adjustable floor to handgrip. for maximum use and comfort of patient. Prefer rubber tips with metal inlay for greater resistance. | pc |  |  |  |  | ready made | AT- Mobility
33 | Gaiter (Arm/Leg) | Immobilizer and stabilizer of joints High quality artificial leather, aluminum flat bar and Velcro straps | PC |  |  |  |  | ready made | AT- Orthotics
34 | Hand gripper | High tensile pressure spring and soft grip padding It improves strength, power and speed in the wrist Hand gripper also work great for rehabilitation | PC |  |  |  |  | ready made | AT- Therapeutic Items
35 | Hearing Aid with Double cord | Max. sound output: <130 + 5dB Sound gain: >50dB Total Harmonic wave Distortion: < 5% Frequency Response: 300Hz ~4000Hz Input noise: <30dB Voltage: DC 1.5V Current: < 4mA Double cord ear amplifier Made by Siemens Moderate to severe and severe to profound hearing loss cover | Set |  |  |  |  | ready made | AT- Hearing and Speech
36 | Hearing Aid with single cord | Max. sound output: <130 + 5dB Sound gain: >50dB Total Harmonic wave Distortion: < 5% Frequency Response: 300Hz ~4000Hz Input noise: <30dB Voltage: DC 1.5V Current: < 4mA Single cord ear amplifier Made by Siemens Moderate to severe and severe to profound hearing loss cover | Set |  |  |  |  | ready made | AT- Hearing and Speech
37 | Knee Brace-Open Patella & Hinge | Soft, resistant and washable material. Pre-fabricated brace, designed to match the anatomical shape of the joint. Suspension and straps configuration varies. Commonly consists of 2 velcro straps positioned proximal and distal to the patella. Soft and malleable material, usually neoprene. Easily washable. Lateral reinforcements. Patellar window with reinforcement for additional patella support and to facilitate correct positioning of the device. Specific left and right sided models. | PC |  |  |  |  | ready made | AT- Orthotics
38 | Knee Cap | High quality four way stretch yarns Bi-layered, cotton on the inside, a dermophillic interphase improves sweat absorption, comfort and compliance Two layered with interwoven air space, retain body heat effectively, speeds up healing and allays pain Uniform compression by unique wave Classic design and freely breathable Tapered shape and hypoallergenic | Pair |  |  |  |  | ready made | AT- Orthotics
39 | Knee Orthosis with Knee Joint | Functional ROM Knee joint with Carbon fiber bars at both sides, four strongest Velcro straps to hold at right position Washable and re-useable prefabricated brace Knee joint control the knee rotating angles Universal design for lateral reinforcement Light weight and easy to use Tapered shape with clear indication at Thigh and Calf side It has a dial lock to hold at rigid position for any angle | PC |  |  |  |  | ready made | AT- Orthotics
40 | Knee Orthosis without Knee Joint | High quality light rigid flat bars at both sides, three strongest Velcro straps to hold at right position Washable and re-useable prefabricated brace Neoprene fabric material gives extra comfort Universal design for lateral reinforcement Light weight and easy to use Tapered in shape High quality four way stretch yarns Neoprene patella window with reinforcement Uniform compression and universal design for lateral reinforcement Classic design and freely breathable Tapered shape and hypoallergenic | PC |  |  |  |  | ready made | AT- Orthotics
41 | Knee Support-Open Patella | Soft and comfortable Washable and re-useable User friendly for both in hot & cold weather | pc |  |  |  |  | ready made | AT- Orthotics
42 | Lumber Corset / Lumber Brace /Lumber Orthosis | Elastic webbing, Ethafoam, strongest pull Velcro and semi rigid aluminum splints Flexible back splinting on application takes the body shape for excellent immobilization Double pull Velcro mechanism ensure secure fitting Porous elastic webbing improves ventilation and patient comfort Heat resistant rubber of high modules of elasticity improves life of the belt Large hook loop panel allows controlled compression, sizing flexibility, easy application Comfortable immobilization provided by this belt makes it an ideal belt for everyday use in mild back ache. | pc |  |  |  |  | ready made | AT- Orthotics
43 | Mattress, Foam With Plastic Cover | Size: 72” inch*36”inch*4”inch Orthopedic grade high quality Foam material with density <35Kg/m3 Washable and re-useable dark black or black cotton cover Uniform suspension to get better stress & strain | pc |  |  |  |  | ready made | AT- Positioning
44 | Mattress, Pressure Relief | High resilient molded foam (HR) (>45kg/m3) Mattress with pressure relief properties in recumbent position to prevent the risk of bedsores. Mattress with nodular foam. With removable, waterproof and washable pillow case. The components of the mattress should be long-lasting and resistant to frequent handling. One part will be heard and other soft | pc |  |  |  |  | ready made | AT- Positioning
45 | Hand Mirror | Wooden/hard plastic handle(Easy-to hold handle.), size : 27*13 cm , mirror surface wide :11 cm | pc |  |  |  |  | ready made | AT- Therapeutic Items
46 | Mirror, Medium Size | 6feet*2.5 feet (Approximate) High quality looking glass with wooden frame and wooden stand Light weight wooden frame with varnish polish surface Rectangular shape has no handle | pc |  |  |  |  | ready made | AT- Therapeutic Items
47 | Object Reacher | Manufactured in light weight material (plastic) not exceeding 400 grammas. Grasping device with a non-slip jaw at the end of a handle, activated by a trigger at wrist - finger level. Approximate length: 70 cm. | pc |  |  |  |  | ready made | AT- Daily Leaving
48 | Pillow - Cushion | Foam (35kg/m3) Covered with leatherette (artificial leather / PVC leather), thick fabric, water-resistant, washable and preferably dark color.Square cushion with approximate size. Length = 50 cm, width = 50 cm | pc |  |  |  |  | ready made | AT- Positioning
49 | Pillow - Neck (Soft microcellular foam with a colored cover in imitation leather) | Open circle cushion.The components of the cushion should be long-lasting, washable and resistant to frequent handling. | pc |  |  |  |  | ready made | AT- Positioning
50 | Pillow – Rectangular (Foam (35kg/m3) | Covered with leatherette (artificial leather / PVC leather), thick fabric, and water-resistant, washable and preferably dark color.) | pc |  |  |  |  | ready made | AT- Positioning
51 | Pillow – Round (Foam (35kg/m3) | Covered with leatherette (artificial leather / PVC leather), thick fabric, and water-resistant, washable and preferably dark color.) | pc |  |  |  |  | ready made | AT- Positioning
52 | Pillow – Semi Cylindrical. | Covered with leatherette (artificial leather / PVC leather), thick fabric, and water-resistant, washable and preferably dark color.) | pc |  |  |  |  | ready made | AT- Positioning
53 | Pillow – Wedge | Covered with leatherette (artificial leather / PVC leather), thick fabric, and water-resistant, washable and preferably dark color.) | pc |  |  |  |  | ready made | AT- Positioning
54 | Special seat/Cp Wheel chair -Customized | As per measurement will provide by the HI | pc |  |  |  |  | ready made | AT- Mobility
55 | Special seat/Cp Wheel chair | Well cushioned seat with back rest covering head rest including trunk and pelvic support belt, thigh divider (to maintain abduction position) with proper cushion, foot rest with velcro stra, also forearm strap ,movable and adjustable leg rest(to maintain knee on extension position ) . If possible with Tray. | pc |  |  |  |  | ready made | AT- Mobility
56 | Sitting Chair- Normal Plastic/ Wooden | made from high quality plastic with arm rest and back rest | pc |  |  |  |  | ready made | AT- Positioning
57 | Ball, Soft Ball | High quality foam material. High density foam has Good balance between stress and stain to get better elongation for compression | PC |  |  |  |  | ready made | AT- Therapeutic Items
58 | Spectacle | High performance glass fiber frame Power glass will be provided as per the assessment report Universal design can easily fit for men and women | PC |  |  |  |  | ready made | AT- Vision
59 | Standing Frame | frame made of G.I pipe, tray made of wood, well cushioned knee support, good quality velcro straps(foot straps, knee steps), with pelvic and chest support belt. Height adjustable, (if possible attached frame made form iron bar for holding toys.) | PC |  |  |  |  | ready made | AT- Learning, Cognition and development
60 | Taylor Brace | Elastic webbing, pull Velcro and rigid mild steel splints. Back rigid splints is strong and allow accurate posture correction. Double pull mechanism ensures secure fitting. Canvas back pad offers moderate cushioning. Hook loop panel allows controlled compression | PC |  |  |  |  | ready made | AT- Orthotics
61 | Taylor Brace-adjustable | Elastic webbing, Ethafoam, strongest wider pull Velcro and semi rigid aluminum splints Aluminum Back Rigid Splints are light weight, durable and maintain the spine in neutral position and allow accurate posture correction Horizontal Chest Splint prevent the rotational movement of the torso for effective immobilization | PC |  |  |  |  | ready made | AT- Orthotics
62 | Therapeutic toy like peg velcro, posting ring) | One Peg Velcro with five different shape and handle for hand manipulations One Posting Ring stand with multi color circle ring One Connect Four set with accessories | PC |  |  |  |  | ready made | AT- Therapeutic Items
63 | Tilt chair | High quality Light weight and durable strongest aluminum alloy tube with anodized blue lecar painting color foldable frame 6”( inch) Castors Well cushioned seat and backrest Tilting back angle up to 45° degree Integrated United Break and Static break Flip up and adjustable Seat, Hand rest, Backrest and Removable Footrest Adjustable, rotating and removable headrest Back recline angles and united break controlled by Hydraulic system | PC |  |  |  |  | ready made | AT- Mobility
64 | Tilting wooden horse for static balance practice | Made of high quality solid wood Attractive painting looks like a real horse Horse head with handle to hold while balancing A small railing set at tail of horse which protect children for quick drive balancing time Color option: Red, yellow, Green | PC |  |  |  |  | ready made | AT- Therapeutic Items
65 | Toilet Chair With Bucket (Adult and Child) | Made of stainless steel/high quality aluminum alloy, foldable, With removable toileting seat and a toilet bowl/ bucket Stable armrests (can be removable for easier transfer). The components of the chair should be light-weight (easy to transport) and washable (ensure hygiene). | PC |  |  |  |  | ready made | AT- Daily Leaving
66 | Toilet Chair Without Bucket Adult and Child) | Made of stainless steel/high quality aluminum alloy, foldable, With removable toileting seat, commode of Asian type. Stable armrests (can be removable for easier transfer). The components of the chair should be light-weight (easy to transport) and washable (ensure hygiene). | PC |  |  |  |  | ready made | AT- Daily Leaving
67 | Transfer Board | Made with strong plastic or wood. Mix of 1 straight and 1 curve If possible: with cut-out handles for gripping. Light | PC |  |  |  |  | ready made | AT- Therapeutic Items
68 | Tray, Adjustable for wheel chair and special seating chair | Adjustable wooden or strong plastic tray | PC |  |  |  |  | ready made | AT- Positioning
69 | Trolley, Long | For transportation of goods | PC |  |  |  |  | ready made | AT- Mobility
70 | Walker- Child Closed | Steel and plastic. Walker with 4 fully rotating wheels. Sling seat of the walker is adjustable for different sizes, removable and washable. Front bar (with non-slip grip) enables manual bearing for user. The frame can be adjusted according to height of user. | PC |  |  |  |  | ready made | AT- Mobility
71 | Walker- Child Posterior | Made form aluminum, foldable and height adjustable with rest seat. Rear wheels should move forwards only and lock when frame pushed back. Front wheels should be able to swivel or locked to go straight only | PC |  |  |  |  | ready made | AT- Mobility
72 | Walker- Child without wheel | Made from aluminum tubing light weight, foldable, height adjustable legs with rubber ferrule tips, ergonomic handles. | PC |  |  |  |  | ready made | AT- Mobility
73 | Walking Frame /Walker (Adjustable ) with Four Wheels-adult | Made from lightweight aluminum frame, foldable, puncture proof wheels, padded rest seat with cushioned safety bar, ergonomic hand grip. | PC |  |  |  |  | ready made | AT- Mobility
74 | Walking Frame/ Walker (Adjustable ) with no wheel-Adult | Made from aluminum tubing light weight, foldable, height adjustable legs with rubber ferrule tips, ergonomic handles. | PC |  |  |  |  | ready made | AT- Mobility
75 | Walking Frame/ Walker (Adjustable ) with Two Wheels-Adult | Made from aluminum tubing light weight, foldable, height adjustable legs with rubber ferrule tips, with two front wheel, ergonomic handles. | PC |  |  |  |  | ready made | AT- Mobility
76 | Walking Frame/ Walker (Adjustable ) with Two Wheels-Children | Made from aluminum tubing light weight, foldable, height adjustable legs with rubber ferrule tips, with two front wheel, ergonomic handles. | PC |  |  |  |  | ready made | AT- Mobility
77 | Walking Stick Four Point /Quadripod Cane-Adjustable | Made of chrome plated steel/ aluminum, light weight and durable, cane with four feet, adjustable in height with ergonomic handle (high quality polymer material).Rubber tips with metal inlay for greater resistance | PC |  |  |  |  | ready made | AT- Mobility
78 | Walking Stick, Tripod Cane /Three point -Adjustable | Made of chrome plated steel/ aluminum, light weight and durable, cane with three feet, adjustable in height with ergonomic handle (high quality polymer material ). | PC |  |  |  |  | ready made | AT- Mobility
79 | Walking Stick-Adjustable | Made from aluminum, light and durable, height adjustable with ergonomic handle made from high quality polymer material. If possible, rubber tips with metal inlay for greater resistance. | PC |  |  |  |  | ready made | AT- Mobility
80 | Wheel chair - Belt | Foam and soft tissue belt thick double foam padding, secure lock and release Attach straps via velcro or latch system. 1 strap for pelvic /abdomen 2 optional straps for trunk Resistant and washable straps Width and height adaptable. | PC |  |  |  |  | ready made | AT-Consumpable item
81 | Wheel Chair Tool Kit - One rear seat bag | Made of thick and strong Canvas fabric which able to carry minimum 10Kg weight Two hook handle can easily adjust with wheel chair caregiver push handle Classic design can adjust with any wheel chair Pocket adjustable by strong Velcro straps Washable and re-useable | PC |  |  |  |  | ready made | AT-Consumpable item
82 | Wheel Chair Tool Kit- One air pump | Made of Stainless steel body with air hose pipe Two different size air nozzle Manual and easy operation | PC |  |  |  |  | ready made | AT-Consumpable item
83 | Wheel Chair Tool Kit - Four standard inner air tubes | Four standard inner air tubes standard (24 pouches?). | PC |  |  |  |  | ready made | AT-Consumpable item
84 | Wheel Chair Tool Kit - One mini kit patches | Small piece of rubber cutting with different shapes for instant leak proof One small tube super glue One small piece of sand paper One small & hard PE Bag | Set |  |  |  |  | ready made | AT-Consumpable item
85 | Wheel Chair Tool Kit - One classic lubricant. | One classic lubricant. | pc |  |  |  |  | ready made | AT-Consumpable item
86 | Wheel Chair Tool Kit - One vise grip. | One vise grip. | pc |  |  |  |  | ready made | AT-Consumpable item
87 | Wheel Chair Tool Kit- grease bearing. | One pot of grease bearing. | pc |  |  |  |  | ready made | AT-Consumpable item
88 | Wheel Chair Tool Kit - wheelchair ball bearings. | Two standard wheelchair ball bearings. | Set |  |  |  |  | ready made | AT-Consumpable item
89 | Wheel Chair Tool Kit - multi wrench tool. | One multi wrench tool. | Set |  |  |  |  | ready made | AT-Consumpable item
90 | Wheel Chair,- Active Rough Terrain-38(fold able) | Mild steel frame with foldable 28”( inch) spoke wheel with solid Pneumatic/air tyre-tube Rear wheel and 8” (inch) Front Castors with handmade fork Round type hand rest for easy propel and transfer from wheel chair to bed Steel material Push-hand rim for self-propel 3” (inch) thickness cotton covered seat cushion Fixed Hand rest, Backrest and Footrest Seat belt, Leg belt and mild foot plate with hand spray paint | PC |  |  |  |  | ready made | AT- Mobility
91 | Wheel Chair,- Active Rough Terrain-39 (Foldable) | Mild steel frame with foldable 28”( inch) spoke wheel with solid Pneumatic/air tyre-tube Rear wheel and 8” (inch) Front Castors with handmade fork Round type hand rest for easy propel and transfer from wheel chair to bed Steel material Push-hand rim for self-propel 3” (inch) thickness cotton covered seat cushion Fixed Hand rest, Backrest and Footrest Seat belt, Leg belt and mild foot plate with hand spray paint | PC |  |  |  |  | ready made | AT- Mobility
92 | Wheel Chair,- Active Rough Terrain-40 (foldable) | Mild steel frame with foldable 28”( inch) spoke wheel with solid Pneumatic/air tyre-tube Rear wheel and 8” (inch) Front Castors with handmade fork Round type hand rest for easy propel and transfer from wheel chair to bed Steel material Push-hand rim for self-propel 3” (inch) thickness cotton covered seat cushion Fixed Hand rest, Backrest and Footrest Seat belt, Leg belt and mild foot plate with hand spray paint | PC |  |  |  |  | ready made | AT- Mobility
93 | Wheel Chair, Fixed- Active Rough Terrain-41(foldable) | Mild steel frame with foldable 28”( inch) spoke wheel with solid Pneumatic/air tyre-tube Rear wheel and 8” (inch) Front Castors with handmade fork Round type hand rest for easy propel and transfer from wheel chair to bed Steel material Push-hand rim for self-propel 3” (inch) thickness cotton covered seat cushion Fixed Hand rest, Backrest and Footrest Seat belt, Leg belt and mild foot plate with hand spray paint | PC |  |  |  |  | ready made | AT- Mobility
94 | Wheelchair - 18''(Hospital) Adult folding | Frame: iron, aluminum or combination seat and backrest: canvas or leatherette materials Standard folding wheelchair with 4 wheels and posterior handles, foot plates and breaks. Washable canvas seat and backrest. Height, declinable backrest, adjustable and declinable foot and leg rest, flip back or removable armrests, static brakes system. | PC |  |  |  |  | ready made | AT- Mobility
95 | Wheelchair - (Hospital) Children folding | Frame: iron, aluminum or combination seat and backrest: canvas or leatherette materials Standard folding wheelchair with 4 wheels and posterior handles, foot plates and breaks. Washable canvas seat and backrest. Height, declinable backrest, adjustable and declinable foot and leg rest, flip back or removable armrests, static brakes system. | PC |  |  |  |  | ready made | AT- Mobility
96 | Wheelchair-16''(Hospital) Adult Folding | Frame: iron, aluminum or combination seat and backrest: canvas or leatherette materials Standard folding wheelchair with 4 wheels and posterior handles, foot plates and breaks. Washable canvas seat and backrest. Height, declinable backrest, adjustable and declinable foot and leg rest, flip back or removable armrests, static brakes system. | PC |  |  |  |  | ready made | AT- Mobility
97 | Reversy board | High quality wood with Varnish surface finish Reversy hole hand knob Complete set put into a PE poly bag | Set |  |  |  |  | ready made | AT- Therapeutic Items
98 | Posting tree | Made by wood Different shape and size. | Set |  |  |  |  | ready made | AT- Therapeutic Items
99 | Soft spiky ball | Made of high quality plastic 20 CM in Diameter, filled with air | PC |  |  |  |  | ready made | AT- Therapeutic Items
100 | White Cane (Foldable) | Made from high quality aluminum alloy, firm and durable. Snaps open for quick assembly and can be collapsed/ fold instantly Must be white as it is a means of identification. With tips and can be reuseble. Different size for adult and children | PC |  |  |  |  | ready made | AT- Vision
101 | Cylindrical grasp board and special grasp board | Made by paper, cylindrical shape and different color, 6- 8 peach set in a box | Set |  |  |  |  | ready made | AT- Therapeutic Items
102 | Manipulation Board | Made of paper and bottle, different shape of the bottle and cap in different color | Set |  |  |  |  | ready made | AT- Therapeutic Items
103 | Shoulder ladder | Shoulder Exercise Ladder is designed to increase a users range of motion, strength, and flexibility. This can be adjusted to 3 different angles 70 degrees, 65 degrees, and 55 degrees • Working surface measures 18.5" wide x 23.5" high • Constructed of durable Birch wood • Includes a 36" movable dowel rod; ladder can be folded down for easy storage | pc |  |  |  |  | ready made | AT- Therapeutic Items
104 | Toilet Chair- Customized | As per the measurements will provide by the HI | Pc |  |  |  |  | ready made | AT- Daily Leaving
105 | Hammock | Made of high quality strong Nylon rope Net swing with strong knot like loop Complete Hammock net with PE poly bag for packing | Pc |  |  |  |  | ready made | AT- Therapeutic Items
106 | Kneeling chair/ Balance chair | Made of high-quality strong wood /metal frame with Varnish surface finish Cross leg with wheel Well cushioned seat and Knee support | Pc |  |  |  |  | ready made | AT- Positioning
107 | Walker Kits | High quality PVC material with shock absorbing properties Roller bush with cover MAG spoke with light weight | Pc |  |  |  |  | ready made | AT-Consumpable item
108 | Peg Velcro | Size: 12” * 12” High quality ply wood with Varnish surface finish Five square rows with peg hole Complete set put into a PE poly bag | Set |  |  |  |  | ready made | AT- Therapeutic Items
109 | Connect Four | Size: 10” Made of food grade plastic material Vertical board with 42 holes Two colored 42 coin | Set |  |  |  |  | ready made | AT- Therapeutic Items
110 | Painting color | Rainbow color box,18 acrylic paint color | Set |  |  |  |  | ready made | AT- Therapeutic Items
111 | Counting and Stacking Board | Wooden Toys Kids Education Mathematics Rainbow Ring Logarithmic Plate Aids Counting and Stacking Board for kids Children | Set |  |  |  |  | ready made | AT- Therapeutic Items
112 | .Trampoline | PVC cover with sewn-in padding and connect to a durable, polypropylene jumping mat Trampoline and safety enclosure proudly carries the heigh quality seal Weight limit of 200 lbs and should not exceed more than 1 rider at a time Trampoline Type: Fitness Trampolines Round shape 40’’ -48’’ Bar height – 8.5’’-9’’ | PC |  |  |  |  | ready made | AT- Therapeutic Items
113 | Iron Frame for Drainage | Size: 3feet*4 feet Foldable and heigh quality still | PC |  |  |  |  | ready made | AT- Environment Modification
114 | Mobile ramp | Size: 8inch*56inch, Lightweight, Easy-to-Handle and Set Up. Folds In Half | PC |  |  |  |  | ready made | AT- Environment Modification
115 | BP Machine | Single Head Stethoscope – Black Enamel 300 mmHg Non Stop Pin– Manometer – Latex Free Cuff – Chrome-Plated Brass Air Release Valve – Includes:- Zipper Bag, Cuff, Bulb, and Instruction Manual | PC |  |  |  |  | ready made | AT- Therapeutic Items
116 | Brush for tactile stimulation | • This oval-shaped brush is easier to use than regular sensory brushes in that it comes with an attached handle and has a more ergonomic design that makes it fit comfortably in your hand • Vibrant colors make these brushes fun and can be used to teach children colors while brushing • Designed by an occupational therapist to ensure they are most effective • The high density of the bristles, make it an ideal brush for the body | Set |  |  |  |  | ready made | AT- Therapeutic Items
117 | Hand Cycle | Structure size: 48*41*30cm Accessories: mini leg trainer, corrugated box Product size: 48*41*30cm Product material: steel, rubber | PC |  |  |  |  | ready made | AT- Therapeutic Items
118 | Pulley | Steel bracket with non-skid rubber tips, nylon rope, 2 high quality metal pulleys, 2 easy grip plastic handles. Dimensions: 18.25 inches long, 15.5 inches wide, 14.25 inches high. | PC |  |  |  |  | ready made | AT- Therapeutic Items
119 | .Basketball | Details Height: 9.43”-9.51” ¦ 24-24.2 cm Circumference: 29.5” ¦ 74.9 cm Diameter: 9.43”-9.51” ¦ 24-24.2 cm Pressure: 7.5-8.5 PSI Weight: 22 ounces (maximum) Material (Indoor): Full-grain leather Material (Outdoor): Rubber | PC |  |  |  |  | ready made | AT- Therapeutic Items
120 | Parallel Bar | Type: Portable Length: 3-4 meter Handrails: yes Height & Width : Adjustable | Pair |  |  |  |  | ready made | AT- Therapeutic Items
121 | Vibrator | Full Body Vibrating Massager Physiotherapy Machine for Back Muscle, Pain Relief, Weight Loss, Fat Burning, Leg Massage Power Requirements Power Source: Electric Power Consumption (Watts) : 35 W Power Required (Volts): 220V-240V, 50Hz | Set |  |  |  |  | ready made | AT- Therapeutic Items
122 | Digi flex | Size: Hand(2.5lbs) • he Digi-Flex hand therapy device develops isolated finger strength, flexibility and coordination as it builds hand and forearm strength • Weights of hand therapy device refer to lbs per finger • Entire unit lbs are also listed for the digi-flex hand exercise device • Yellow color • 2.5 lbs Weight | PC |  |  |  |  | ready made | AT- Therapeutic Items
123 | Counter Force Brace | NE SIZE FITS MOST - Universal size fits forearm circumferences up to 12”. It can be worn on your right or left arm. Package Dimensions ‏ : ‎ 5.67 x 4.41 x 1.42 inches; 1.59 Ounces | PC |  |  |  |  | ready made | AT- Orthotics
124 | Thumb Spica Splint | • For correct size please measure circumference evenly around wrist joint and refer corresponding size in size chart. • Size: 5 to 9.5 inches (12.5 to 23.8 cms). For correct size please measure circumference evenly around wrist joint and refer corresponding size in size chart | PC |  |  |  |  | ready made | AT- Orthotics
125 | Thera-band | A high-quality, easy-to-use product designed for resistance training, rehabilitation, and can be easily integrated in a variety of exercise. Color-coded progressive resistance gives at-a-glance documentation of progress from one level to the next. Made with the highest quality natural rubber latex. | Set |  |  |  |  | ready made | AT- Therapeutic Items
126 | Thera-putty | Thera-putty is made from a silicone polymer and is gluten, latex, nuts, egg and soy free. • Product Dimensions ‏ : ‎ 8 x 7 x 5 inches; 1 Pounds | Set |  |  |  |  | ready made | AT- Therapeutic Items
127 | Moisture Lotion | • CETAPHIL BODY MOISTURIZING LOTION: Fast absorbing and non-greasy, lightweight body lotion provides instant and long lasting hydration for all skin types • INSTANT AND LONG LASTING 24 HOUR HYDRATION: Binds water to the skin, preventing moisture loss to hydrate and protect skin from dryness | PC |  |  |  |  | ready made | AT- Therapeutic Items
128 | Weight Bag | Type 1: Medium 36 * 60cm (outer dimension), 2 kg for waist circumference approx. 50-56cm, approx. 104 Type 2: Large 40 * 72cm (external dimensions), 3 kg for waist circumference approx. 62-68cm, approx. 110-116 Weight: 2 kg or 3 kg Color: gray Material: cotton fabric | PC |  |  |  |  | ready made | AT- Therapeutic Items
129 | Abacus | This wooden "calculator" helps teach math skills, patterning and color recognition Slide and count the colourful beads with this timeless counting frame Solid hardwood frame with 100 wooden beads 305 mm x 302 mm x 76 mm | PC |  |  |  |  | ready made | AT- Therapeutic Items
130 | Colorful Bubbles | Different colour Large/miduam/small size Easy to grip | PC |  |  |  |  | ready made | AT- Therapeutic Items
131 | Colour pencil & paper | Heigh quality colour pencil box | Set |  |  |  |  | ready made | AT- Therapeutic Items
132 | Colourful Lighting Toys for Visual sensory stimulation | Soft and different colour, different doll size of fish and other animal | Set |  |  |  |  | ready made | AT- Therapeutic Items
133 | Dumbbell .5 kg | Great for home or studio workouts - Great for physiotherapy exercises - Grips easily in sweaty hands - Perfect for light-weight training and toning - Safe rubber wont scratch flooring - Hexagonal ends provide stability Package Include : 2 unit x 0.5kg Neoprene Dumbbell | Pair |  |  |  |  | ready made | AT- Therapeutic Items
134 | Dumbbell 1 kg | Great for home or studio workouts - Great for physiotherapy exercises - Grips easily in sweaty hands - Perfect for light-weight training and toning - Safe rubber wont scratch flooring - Hexagonal ends provide stability Package Include : 2 unit x 1.0kg Neoprene Dumbbell | Pair |  |  |  |  | ready made | AT- Therapeutic Items
135 | Dumbbell 2 kg | Great for home or studio workouts - Great for physiotherapy exercises - Grips easily in sweaty hands - Perfect for light-weight training and toning - Safe rubber wont scratch flooring - Hexagonal ends provide stability Package Include : 2 unit x 2kg Neoprene Dumbbell | Pair |  |  |  |  | ready made | AT- Therapeutic Items
136 | Incentive Spirometer | Type - Three Ball Synonyms - breathing or lung exerciser, respirometer Material - PVC Uses/Application - achieve optimum lung capacity | Set |  |  |  |  | ready made | AT- Therapeutic Items
137 | Motor skill/ADL board | Standard Quality | Set |  |  |  |  | ready made | AT- Therapeutic Items
138 | Puzzle Human/Animal | Wooden, Both Boy and Girl picture. Every part of the body (Head, hand, Leg, trunk, Belly) need to separate Easy to grip, colourful. | Set |  |  |  |  | ready made | AT- Learning, Cognition and development
139 | Sand bag-.5 kg | • Filled with low friction smooth steel balls for soft feel, easy wearing and to make the product accident free. High density of steel balls ensures small volume of the product and convenience of use. • Reverse buckle mechanism ensure secure tightening, easy application and removal of the cuff and flexible sizing. Aerodynamic shape ensures good grip and better aesthetics. • Made from strong spandex fabric for durability, enhanced comfort and pleasing aesthetics. • Package Include : 2 unit x 0.5kg | pc |  |  |  |  | ready made | AT- Therapeutic Items
140 | Sand bag- 1 kg | Filled with low friction smooth steel balls for soft feel, easy wearing and to make the product accident free. High density of steel balls ensures small volume of the product and convenience of use. Reverse buckle mechanism ensure secure tightening, easy application and removal of the cuff and flexible sizing. Aerodynamic shape ensures good grip and better aesthetics. Made from strong spandex fabric for durability, enhanced comfort and pleasing aesthetics. Package Include : 2 unit x 1.0kg | pc |  |  |  |  | ready made | AT- Therapeutic Items
141 | Sand bag-2 kg | Filled with low friction smooth steel balls for soft feel, easy wearing and to make the product accident free. High density of steel balls ensures small volume of the product and convenience of use. Reverse buckle mechanism ensure secure tightening, easy application and removal of the cuff and flexible sizing. Aerodynamic shape ensures good grip and better aesthetics. Made from strong spandex fabric for durability, enhanced comfort and pleasing aesthetics. Package Include : 2 unit x 2kg | pc |  |  |  |  | ready made | AT- Therapeutic Items
142 | Sound Making Toys for auditory sensory stimulation - Xylophone | Wood box design, unique wood box design as a creative move for making our best sound kids xylophone after years of works on kids music instruments. Kids will love this one unique toy instrument for this beautiful looking. Product Dimensions 8.66 x 3.15 x 1.46 inches | pc |  |  |  |  | ready made | AT- Therapeutic Items
143 | Velcro Board | Wooden board 14’’ x 14’’ design as check board with Velcro and square shape wooden box are covered by velcro and small clip(soft) to hold | pc |  |  |  |  | ready made | AT- Therapeutic Items
144 | TENS | Dimensions: 3.9" H x 2.45" W x 1" D. Weight: 140 grams with battery. Channel: Dual, isolated between channels. Pulse intensity: Adjustable, 0-80 mA peak into 500 ohm load each channel, constant current. Pulse Rate: adjustable from 1 to 160 Hz. Pulse Width: Adjustable, from 50 to 260 microseconds. Patient compliance meter: shows the treatment times in hours. Patient lock system: prevents the user from changing any fixed parameters set by the physician or licensed practitioner. Wave Form: Asymmetrical Bi-Phase Square Pulse. Voltage: 0 to 110 V. Power Supply: One 9V battery (Alkaline or Nickel-Cadmium Rechargeable). Five Function modes: 1. Cycle bursts: 2 bursts/sec, 9 pulses/burst and 100 HZ, width is adjustable. 2. Continuous mode: adjustable pulse rate, width and intensity. 3. Modulation width: pulse width is automatically varied in a six-second interval. 4. Strength, duration and rate modulation (SDR): consists of alternating modulated intensity (amplitude) and pulse rate. 5. Strength, duration and width modulation (SDW): consists of alternating modulated intensity (amplitude) and pulse width. Box Included: 9-Volt Battery. 2 Lead Wires. 1 Pack of 4 Pre-Gelled Electrodes. Carrying Case. Manual. | Set |  |  |  |  | ready made | AT- Therapeutic Items
145 | UST | Technical Specifications: Ultrasonic nominal Frequency : 1 Mhz or 3 Mhz Ultrasonic Output : cont. 2.5W/cm, Pulse 3.5/cm Pulse Frequency : 8hz, 16z 50hz, 100hz Pulse ratios : 1:1, 1:4, 1:7, 1:9 Treatment time : 0 to 6 Minutes Timer : Electronic timer 0to 99 minutes Display :LCD display Standard Accessories : 1 Main Cord, 1 Pair Ultrasound head (1Mhz) with wire , 1Pair Ultrasound head (3Mhz) with wire | PC |  |  |  |  | ready made | AT- Therapeutic Items
146 | Hot/Cold Pack | Reusable Cold/Hot Pack – Convenient to use it cold for effective pain relief, swelling, bruises or sprains or heat to soothe muscle aches and stiffness. – Dual purpose – Outer material: Made of durable Nylon + PVC – Contents: non-toxic Gel (remains soft and flexible after freezing) – Microwaveable/Freezable/Reusable (Small) 11.5 cm x 28.5 cm, (Large) 17.5 cm x 31.0 cm | PC |  |  |  |  | ready made | AT- Therapeutic Items
147 | Transfer Belt | Material: soft nylon fabric, polyester fabric & foam (leg straps). Safe, comfortable and durable. Size of belt for patient: free size, waist belt adjustable from 70cm~110cm Size of belt for carer: free size, waist belt adjustable from 80cm~110cm For patient one: With 2 leg straps and 4 handles. Leg straps helps to hold him/her up and keep the belt on the waist where it is usable. 4 handles are firmly sewn, sturdy enough to be handheld. For carer one: With 4handles. | pc |  |  |  |  | ready made | AT- Therapeutic Items
148 | Reflex Hammer | Triangular shaped and flat rubber head for reflex testing. 7 3/4" length with a solid chrome steel handle for sure grip Pointed chrome shaft for testing babinski response and nerve sensations Get your reflex hammer in different colors (Blue or Black) approximately 7 3/4" long with hammerhead approximately 2" wide and 1/2" thick. | pc |  |  |  |  | ready made | AT- Therapeutic Items
149 | GYMNASTIC BALL | Gym Ball Static Load Capacity: 550 lbs / 250 kg Gym Ball Dynamic Load Capacity: 450 lbs / 200 kg Size Chart (Ball Diameter> User Height): 45cm/18in> 5'0"/152cm 55cm/22in> 5'1" - 5'6"/155 -167cm 65cm/26in> 5'7" - 6'1"/170 - 185cm 75cm/30in> 6'2" - 6'8"/188cm - 202cm The height guidelines shown are only suggestions. Some therapists, trainers and midwifes may suggest that you use an alternative size. Helps Improve Balance, Coordination and Flexibility. Ideal for Core Strength Training, Stretching, Toning, Resistance Exercises. | PC |  |  |  |  | ready made | AT- Therapeutic Items
150 | Gymnastic mattress | Item Package Dimensions L x W x H = 24 x 6 x 6 inches (61 x 15.2 x 15.2 cm) Package Weight= 1.18 Kilograms Item Dimensions L*W* H= 72*24*0.31 inches (182.9 x 61 x 0.8 cm) Item Weight= 2 Pounds (0.9 kg) mats are made of either plastic or rubber which features higher elasticity, better abrasion & tear resistance, and more eco- friendly than traditional PVC, NBR materials. | PC |  |  |  |  | ready made | AT- Therapeutic Items
151 | Torch light | LED Rechargeable 2SC Aluminum Torch Light is packing in high standard packing case . Then offer one extra free 5 w original CREE lamp . Then one extra free original 3.7v 2000 mah Li-ion battery | PC |  |  |  |  | ready made | AT- Therapeutic Items
152 | Digital White cane | • High tech ultrasonic cane for easy use with beautiful design. • Voice and vibration alarm mode. • Report time, alarm clock function. • Talking electronic compass can tell eight different directions. • The white cane can be found by remote control within 20 meters. • High quality 4 section aluminum construction. • Shaft covered with white and red reflective tape for night visibility. • Easily folds and unfolds without tools. • Replaceable PA rolling head, reliable and flexible. | Pc |  |  |  |  | ready made | AT-Vision
153 | Plastic sheet (pressure relief mattress size) | Size: 75” inch*40”inch*18mm High quality, black or blue color | Pc |  |  |  |  | ready made | AT- Positioning
154 | Ankle Brace | The lightweight ankle support brace is slim fitting for superior comfort and can be worn comfortably throughout the day, the neoprene fabric keeps feet dry. Our ankle support for men is flexible, durable and washable Size: L/M/S | Pair |  |  |  |  | ready made | AT- Orthotics
155 | Lumber roll | Specifically Designed To Relieve Back Pain, Shoulder Pain & Neck Pain Due To Long Seating Hours Light Weight Pu Construction For Ease Of Handling And Long Lasting Material Size- Universal (35cm x 17cm x 8cm). Adjustable belt & Washable cover. | PC |  |  |  |  | ready made | AT- Positioning
156 | Shoe Arch | Sizes Available: S/ M/ L Medial Arch insole is designed to support & maintain the arch of the foot. It is designed to distribute the pressure on the foot evenly and naturally. Placed inside the shoe for effective results | PC |  |  |  |  | ready made | AT- Orthotics
157 | Balance beam (Airex) | 62.99 x 9.45 x 2.36 inches Made of foam | PC |  |  |  |  | ready made | AT- Therapeutic Items
158 | Goniometer | It can be made of plastic/ stainless steel • Clear permits observation of joint's axis of motion and its range of motion • 360degree head has 3 scales calibrated to be used with the ISOM (International Standards of Measurement, STFR) system • Scale reads 1 degree increments • Measurements in inches and centimeters are also available on the arm of the goniometer. | PC |  |  |  |  | ready made | AT- Therapeutic Items
159 | Powerweb (Hard, medium hard, soft) | Made of Rubber Dimensions LxWxH:14.17 x 14.17 x 0.39 inches (Approximate) Accommodates all hand sizes and strength levels | PC |  |  |  |  | ready made | AT- Therapeutic Items
160 | Measuring tape | Spring Measure Tape Measuring Glass Fiber Tape Round case automatic Winding | PC |  |  |  |  | ready made | AT- Therapeutic Items
161 | IRR machine | 275W Infrared Light Rotatable head and flexible arm | PC |  |  |  |  | ready made | AT- Therapeutic Items
162 | Exercise bike | (Best Quality Spinning Bike for Home Use Item Name : Spinning Bike' Flywheel : 15 KG Transmission System: Belt Brake System: Friction Meter Function: Time, Speed, Distance, ODO, Calories, Heart, Rate Genuine Weight Capacity : 150 KG Product Weight: 29Kg 100% Authentic & Brand New Intake Product) | PC |  |  |  |  | ready made | AT- Therapeutic Items
163 | Bed steps | (Material: Wood; Number of steps : 3 Patient bed stair (Wooden with polish) Size for each steps 24 inch length and 10 inch wide and 1.5 inch thickness' (Approximate)) | PC |  |  |  |  | ready made | AT- Therapeutic Items
164 | Orthopaedic mirror | (Wheels : No 6 length and 3 feet height (Approximate) High quality looking glass with. wooden frame with varnish polish surface for rehab center) | PC |  |  |  |  | ready made | AT- Therapeutic Items
165 | Portable Treatment Bed | Portable Treatment Bed for Therapy extra: Portable Treatment Bed for Therapy 84 Inch - Adjustable, Black. Table Unfold Size: 83.9 x 32.3 x 25.2-33.7 inches (L x W x H) Folding Size: 36.4 x 23.6 x 7.3 inches (L x W x H) Headrest Size: 11 x 10.4 x 2.8 inches (L x W x H) Armrest Size: 13.8 x 4.3 x 2 inches (L x W x H) The Thickness of Sponge: 2 inches Specification of Bed: Beech Wood Leg + Composite Board + Cushion (Plywood + Non-woven Fabrics + Sponge + PVC ) | PC |  |  |  |  | ready made | AT- Therapeutic Items
166 | Traction bed with maching and belt | Specification of bed Place of Origin: Bangladesh/ indian Type: traction table Material: Stainless steel Feature: Physical therapy Colour: Blue/Black Function: Lumber & cervical traction Specification of machine: General Specifications: Type: Cervical & Lumbar Traction Machine Operation Mode: Digital / Microprocessor Controlled Display: LCD / LED Touchscreen Traction Mode: Continuous, Intermittent, and Cyclic Force Range: Cervical: 5–50 lbs (2–23 kg) Lumbar: 10–200 lbs (5–90 kg) Timer: 0–99 minutes adjustable Hold & Rest Time: Adjustable (1–99 sec) Accessories: • Cervical Traction Head Halter • Lumbar Traction Belt Set • Adjustable Rope with Hook Input Voltage: 220V AC, 50Hz / 110V AC, 60Hz Power Consumption: 50–100W | PC |  |  |  |  | ready made | AT- Therapeutic Items
167 | Peg velcro board | One Peg Velcro with five different shape and handle for hand manipulations One Posting Ring stand with multi color circle ring One Connect Four set with accessories | PC |  |  |  |  | ready made | AT- Therapeutic Items
168 | Oral motor brush | Wonderful tools for oral motor stimulation. White or green color, using the battery. It is made in latex-free rubber, length 14 cm, 5.7 in. Approximately 1. vibrating toothbrush 2. 3 Modes available 3. The battery will be used 4. on/off mode button, | pc |  |  |  |  | ready made | AT- Therapeutic Items
169 | Portable Vibrator | Product Name - Mini Massage Fascia Gun Application- Body Type - Percussion Massage Gun Function- Deep Massage Muscle Muscle Relax Massage Heads - 4 Massage Heads Gear- 6 Weight- 0.7kg Lengths- 15cm Motor- Brush Motor Speed- 1200-3200rpm Battery Capacity- 800mAh Working time - 4-6h Massage Heads- 4massageheads | PC |  |  |  |  | ready made | AT- Therapeutic Items
170 | Wax Bath (proteble) | Specification • Promotes the absorption of nutrients and moisture. • Softens rough and dry skin. • Stimulates blood flow. • Adjustable temperature. • Parameters display. • Includes 2 sachets (2 x 450 g) of paraffin wax (with orange scent). • Includes 30 plastic liners. • Protective cover. • Mains operation. • Dimensions: 33 x 23 x 18.5 cm. • Weight: 1.1 Kg. | PC |  |  |  |  | ready made | AT- Therapeutic Items
171 | Hot Water Bag with Cover | Material : High-quality Rubber Top Features : Leak-proof, Durable, Long-lasting heat retention Size: Standard hot water bag size Usage : Heat therapy for pain relief Application Areas : Muscular pain, joint pain, menstrual cramps, stomach aches, back pain | PC |  |  |  |  | ready made | AT- Therapeutic Items

## Customized
Appendix A (Item List with Specifications) LOT-2 ( Customized Items )
S/N | Name | Additional Description | UNIT | Unit Price(Including Vat, Tax & Transportation cost ) | Picture of the item | Source of the item Manufacture/ Import/Locally sourced | Delivery Lead time
1 | AFO (Ankle Foot Orthosis)-Adult | Made of propylene, Prefabricated plastic brace / holder that fits around the back of the ankle joint and hold it in a 90° position (open orthosis). 2 Velcro straps: 1 around the shin and 1 across the front of the ankle. | PC
2 | AFO (Ankle Foot Orthosis)-Child | Made of propylene, Prefabricated plastic brace / holder that fits around the back of the ankle joint and hold it in a 90° position (open orthosis). 2 Velcro straps: 1 around the shin and 1 across the front of the ankle. | PC
3 | Battery operated tricycle | The design consists of an electric motor, a drive system, motor and steering controls, and a power supply.Use of sealed lead acid batteries (SLA), wet or dry cell batteries that have an output of 4 to 5 amps. The battery can be recharged using a standard electrical outlet when the wheelchair/tricycle is not being used. Head light, back light and statistic brake of both back wheels must be added | pc
4 | Congenital Talipes Equinovarus (CTEV) orthosis | For correction of congenital club foot High quality Orfit sheet like Thermoplastic polypropylene (PP) Sheet, Thermoplastic is kind material that softens when heated and hardens again when cooled, so it is re-shapeable for growing child | pc
5 | Denis Brown Shoe | Helps in foot abduction, Genuine leather material, EVA and Aluminum flat bar, minimum, maximum and increments for adjustable bar or between fixed bar sizes Length of bar: size range to accommodate infants (0–12 months) and children (1–5 years) (e.g. bar width 12–38 cm) • Bilateral boots: size range to accommodate infants (0–12 months) and children (1–5 years) (e.g. foot bed length 6.4–20.4 cm) • Abduction angle of boot 30–70 ° (allows for unaffected foot) • Dorsiflexion angle of boot 10–15 ° • Smallest assembled size weight range 110–320 g • Largest assembled size weight range 270–650 g | Pair
6 | Extensor splint | Post-injury extensor tendon healer Durable polypropylene (PP) / mild steel sheet, EVA and Velcro straps No moveable components and immobilizes a joint | pc
7 | Foot Drop Splint | Foot drop preventer, Durable polypropylene (PP) sheet, Ethaplast and Velcro straps Foot drop splint is also known as Ankle-foot brace It holds the foot and ankle in a straightened position to improve walking | pc
8 | Hand Splint (Static/Dynamic) | Fabricated from rigid or semi-rigid plastic (Poly-ethylene, co-polymer or similar) The splint is designed to maintain the wrist and hand in functional position: Wrist in 30 degrees extension, slight flexion in metacarpophalangeal joints and thumb in opposition. Suspension and control provided by three Velcro straps, positioned at forearm, wrist and fingers. Left OR right hand models | pc
9 | Knee Ankle Foot Orthosis(KAFO) | High quality polypropylene (PP) sheet, aluminum joint bars at both sides, EVA, strongest Velcro straps Variation in model for Left and Right leg It helps to control instabilities in the knee and lower limb by maintaining proper alignment and controlling motion | pc
10 | Transfemoral prosthesis | Material & Technical details: High density (0.95g/cm3) polypropylene (PP) sheet Axial foot piece with adapter High quality heavy duty aluminum pylon/connecting tube Four axis knee joint with auto lock Rest of stainless steel accessories imported from overseas | pc
11 | Transtibial Prosthesis | High density (0.95g/cm3) polypropylene (PP) sheet Axial foot piece or Sach foot piece with adapter High quality heavy duty aluminum pylon/connecting tube Rest of stainless steel accessories imported from overseas | pc
12 | Splint (resting & dynamic both) | High quality Ploy-Vinyl-Chloride (PVC), EVA and Velcro straps Elastic rope for dynamic splint Variation in model for Left and Right hand It help to immobilize, protect and support inflamed joints and tendons | PC
13 | Tricycle- Customized | As per the measurements will provide by the HI Pull bar in both side, static brake in both back wheel | PC
14 | Tricycle | Proper and easier hand cycling system, if possible rear tire with push bar. Proper breaks system. Well cushioned seat, arm and back rest. Well foot rest and user friendly for person with disability (Like easy to in and out). Calling bell, looking glass. , if possible extra basket on the posterior of back rest. | PC
15 | Trolley, Low | As per HI design | PC
16 | Wheel Chair, - Active Rough Terrin Children size (foldable) | Mild steel frame with foldable 28”( inch) spoke wheel with solid Pneumatic/air tyre-tube Rear wheel and 8” (inch) Front Castors with handmade fork Round type hand rest for easy propel and transfer from wheel chair to bed Steel material Push- hand rim for self-propel 3” (inch) thickness cotton covered seat cushion Fixed Hand rest, Backrest and Footrest Seat belt, Leg belt and mild foot plate with hand spray paint | PC
17 | Wheel Chair, - Active Rough Terrin -Customized (foldable) | As per the measurements shared by the HI Mild steel frame with foldable | PC
18 | SMO (Supra malleolar orthosis) | Made of propylene, Prefabricated plastic brace / holder that fits around the back of the ankle joint and hold it in a 90° position (open orthosis). 2 Velcro straps: 1 around the shin and 1 across the front of the ankle | pc