## Technical specification
ANNEX 1 – TECHNICAL SPECIFICATIONS
Invitation to Bid (ITB) BD42000004034_Supply, Delivery and Commissioning of Marine Ambulance
Important Note: The major requirement and specifications for this marine ambulance have been prepared with the intent to set forth the broad picture of the product IOM is looking to procure. Interested vendors should submit their proposal for suitable marine ambulance with detailed specification of the ambulance boat, main features and standard medical equipment. Bidders are requested to follow the below guidelines: - The specification should be detailed enough to enable IOM technical team to understand the quality of the product; - Complete plan (drawing) specification should be submitted along side with the proposal. Real pictures of the product is preferable; - The product should be certified by the manufacturer and / or national authority for maritime safety from the country of origin; - If the bidder is a ship builder then the authorization certificate for shipbuilding activities needs to be submitted as a part of the bid documents; - In case, the company, which participates in the bid is not itself a ship builder, then it should have the authorization certificate from the relevant manufacturer of marine boat(s) whose product is offered ensuring quality requirements. Additionally, the authorization certificate of the manufacturer for ship building needs submitted as a part of the bid documents- The vendor should submit the production inspection and authorization certificate, and the registration certificate for the water ambulance under the BIWTA (Bangladesh Inland Water Transport Authority) prior to the handover of the ambulance. - A one-year warranty certificate must be included at the time of product delivery. - Marine insurance covering twelve (12) months, to be purchased by the vendor before delivery of water ambulances.
Major requirement and specification | Detailed Spec of the Vendors offered vessel | Comments / Remarks
Ambulance Boat
Brand: Any brand having at least 5 years proven history and experience of producing the proposed product. Model: Interested vendors to mention the model number in their proposal. Origin: Interested vendors to mention the origin of the product in their proposal.
Length: 10 to 12 meters
Draft: 0.70m to 0.76m
Beam: 3 to 3.5 meter
Capacity: Not less than 10 persons. (including Crew, Patient, Escort).
Speed: Light speed around 30 knots and loaded cruise speed around 25 knots.
Engine Type: Outboard.
Engine Capacity: 2 pcs 200 hp engine, 6 cylinder brand new Yamaha/Honda/Suzuki or equvalent engine with gauges and control propulsion (remote control system), Blidge pump system in each boat.
Fuel Tank: 2X (100 to 200) liter fuel tank which will made of double coated liquid fiber, oil meter & fire proof in each boat
Main Features
The hull and deck are made out of a single piece GRP mould with fiber materials, built from combination of chopped strand mat, bi-directional knit fabric and balsa core hand-laminated under controlled temperatures with Isophthalic polyester resin. The hull and deck exterior have got mirror glaze gel-coat finish. The hull is stiffened with marine plywood laminated over & bonded to hull bottom. Hull sides have minimum 7 layers with a thickness of 19 mm (+-5%). Hull bottom should have minimum 8 layers with a thickness of 20.5 mm (+-5%). Hydraulic steering system, Deck floor, Window, emergency item storage cabinet made of aluminum sheet. Paint is red & white doco spray paint. Anchor 20 Kg 100m rope
Electrical System, including Generator, Fully Air condition system for patients cabin , Socket 220 Vdc (8 Nos). 4 in back room and 4 in front room. Electrical outlet 12 V Lighter (9 Nos). 4 in back room, 4 in front room and one in cockpit. Electrical line totally separate from cabin & basement which will be covered by shock and fire proof system with fire alarm system. Electrical item run by IPS & Battery (with Backup).
All materials used in the construction are approved marine quality - to be ensured by the registered quality assurance team inspection and technical documents preparation, including manuals. Must be certified by a registered Naval Architect and Marine Engineer.
Medical area for patient treatment separated from the pilot cabin with a door
Shock absorbing stretcher
Shock absorbing seats for pilot, crew, and health worker
Storage cabinet for medical equipment: aluminum sheet cabinet with door & locker system
Foldable ramp for loading of terrestrial stretchers (Material: Stainless Steel)
Tempered glass minimum 8mm thickness on the entire cabin
Navigation lights/mooring light kit
Courtesy Light (stern) for patient loading area: led light
Marine grade stainless steel bollard
One rear access door-weather proof
One service door for co-pilot side
Magnetic Compass: Ritchie Model: B81-WM or equivalent 1 year warranty
VHF Marine Radio: Samyung, Model NF430 or equivalent 1 year warranty
Marine Radar Unit Koden, Model MDC 2041 or equivalent 1 year warranty
Fire Extinguisher ABC powder 4 kg in size and minimum 6 numbers fitting with the boat
10 pcs of Life jackets with whistles and lights
100-Watt electronic SIREN
Standard Medical Equipment
Important Note for Medical Equipment: For the medical equipment following is required: - CE Marking or equivalent certification for all applicable equipment - ISO Certification (e.g., ISO 13485 for medical devices) - Certificate of Good Manufacturing Practices (GMP)- if applicable - Declaration of Conformity from the manufacturer - Registration with National Regulatory Authority (if available) - Manufacturer/Principal’s Authorized Distributorship Certificate (if applicable) - Medical equipment has to be covered by the warranty from the manufacturers on the territory of Bangladesh
2 sets per Boat Portable Oxygen Cylinder (Capacity: 14 Ltrs) with Cylinder Regulator, Humidifier Jar, Oxygen Mask, Tube (all equipment fitting with Patient Bed),
1 Pcs per Boat Flexible Roll in Patient Bed (picture attached)
1 Pcs per Boat Flexible Roll in Wheel Chair (picture attached)
1 Pcs per Boat Back Board cum Stretcher with Head immobilizer (picture attached)
3 Pcs per Boat Medical IV Pole (Material: SS) , 4 Hooks/IV Pole, Patient bed up side
1 Pcs per Boat Blood Pressure Machine (Adult) Model: Tanaka sangyo/ALPK2 or Equivalent
1 Pcs per Boat Stethoscope (Adult) Model: ALPK2 or Equivalent
1 Pcs per Boat Blood Pressure Machine (Pediatric) Model: Tanaka sangyo/ALPK2 or Equivalent
1 Pcs per Boat Stethoscope (Pediatric) Model: Litman/ALPK or Equivalent
1 Pcs per Boat Led marine grade electric flashlights Brightstar 2206 LED Lantern Light or equivalent
2 Sets per Boat First Aid Kit Box Material : Stainless Steel with Numeric Lock & Key
2 Pcs per Boat Wall Clock Digital, with light/ radium fluorescent so that time is visible in dark
2 Pcs per Boat Comfortable cervical collar Adult Size and Child size
1 Pcs per Boat Marine Ambulance Cloth Code Flag
2 Pcs per Boat Fire Blanket, Size: (1.2x1.8)mtr
1 Pcs per Boat Sterilizer machine Heater Coil 2KW (1 Pc), Electric Cable, Plug & Socket (1 Set) with all standard accessories
1 Pcs per Boat ECG machine ECG 6 Channel Model: ECAREECG 606A, /GE/ or equivalent
1 Set per Boat Portable Suction machine Somatco or equivalent brand
1 Pcs per Boat Heartstart FRX Defibrillator: DM 7000/ZOLL series or equivalent
1 Pcs per Boat Patient Monitor Brand: GE/PHILIPS or Equivalent brands: Parameters: NIBP (Adult)-1 pc, SpO2(Adult)-1 pc, ECG (Adult)-1 pc, Temperature Probe (Adult Skin)-1 pc & pediatrics
1 Pcs per Boat Nebulizer machine Yuwell, Model: 403E or Equivalent
Date:
Vendor's Signature
Vendor's Stamp