## Analysis (hidden)
Cost Estimate of Gazipur Faecal sludge treatment plant
(According to the Rate Schedule of LGED ( 2020-2021) of Gazipur district & Local Market Price of Gazipur City Corporation )
SL No. | Description of Item | Estimated value | Remarks
1 | Planted Drying Bed | #REF!
2 | Anaerobic baffel reactor (ABR) | #REF!
3 | Horizontal Planted Gravel Filter (HPGF) | #REF!
4 | Polishing Pond (PP) | #REF!
5 | Soak well | #REF!
Sub total= |  | #REF!
6 | Office & Meeting room | #REF!
7 | PDB shed | #REF!
8 | Septi tank (10 user) | #REF!
9 | Tube well | #REF!
10 | Gourd Room | #REF!
11 | Gate, lighting etc. | #REF!
12 | Ramp & Internal road | #REF!
13 | Boundary fencing (BF) | 0
Sub total= |  | #REF!
Gross Total= |  | #REF!

## BoQ
BoQ of Public Toilet Renovation
SL No. | Item Code of LGED schedule of rates | Description of Item | Location | Quantity | Unit | Rate (Tk./Unit) | Amount (Tk.)
Two public toilet in Boro Achra
1 | 5.12.02.01 | Minimum 12mm thick cement plaster (1:6) with Portland Composite cement (CEM II/AM, 42.5N) and best quality sand (minimum FM1.2) to wall both inner and outer surface, finishing the corner and edges in/c washing of sand cleaning the surface, scaffolding and curing for the requisite period etc. all complete as per direction of the E-I-C. Ground floor | Outer wall | 96.69 | m2 |  | 0
2 | 5.16.04.01 | Distempering with ready mixed synthetic polyvinyl distemper from authorized manufacturer in a seal container, to wall and ceiling in two coats over a coat of primer/sealer. Applying one vertical and one horizontal coat for each coat and successive coat is to be applied after drying up of previous coat by brush/roller/spray in/c cleaning the plinth, floors, doors, windows, portions and ventilators by washing, rubbing, as necessary and sand papering the surface and necessary scaffolding, etc. curing for the requisite period etc. all complete for all floors i/c cost of all materials as per direction of the E-I-C. | Outer wall | 56 | m2 |  | 0
3 | 5.16.09.01 | On exterior surface applying as per manufacturer instruction specific coat of weather coat of approved quality and colour delivered from authorized local agent of the manufacturer in a sealed container. Applying one vertical and one horizontal coat for each coat and successive coat is to be applied after drying up of previous coat by brush/roller/spray in/c cleaning, washing, rubbing, as necessary and sand papering the surface and necessary scaffolding, etc. all complete for all floors i/c cost of all materials as per direction of the E-I-C. | Outer wall | 119 | m2 |  | 0
4 | 8.03.1.2 | Supplying, fitting and fixing energy meter with cutout teak wood board etc. all complete as per directions of E-I-C (when the meter is not supplied by PDB). 500 Volts 3 phase 150 amps | From nearby electric pole | 2 | each |  | 0
5 | 8.05.07.3 | ELECTRICAL WIRING BYA Cable: Conduit wiring on surface with the following PVC insulated stranded cable (BYA) & green Colored PVC insulated ECC wire (BYA) through PVC Conduit complete with fixing materials & other accessories as specified, Manufacturer of cable Eastern/BRB/Paradise/Poly cable/ Super sign/BBS or equivalent according to the Specification & direction of the Engineer- in-charge. 1c-2x4.0 Sq.mm (BYA ) Cable with 4.0 Sq.mm (BYA) ECC wire through PVC Pipe of 25 mm inner dia. | From nearby electric pole | 50 | m |  | 0
6 | 8.11.3.04 | Supplying, fitting and fixing the following electric lamp for garden/gate/room light and different places as per directions of the E-I-C. Energy Savings Lamp (CLF) 15 watt Spiral Type lamps B22 CD | Inside PT | 16 | each |  | 0
7 | 8.12.2.2 | Supplying, assembling, fitting, fixing, installation (with effictive connection) testing & Commissioning of single stage 2800-2900 RPM Centrifugal water Pump Motor Set monobloc type manufactured according to DIN/NEMA/IEC/BS/VDE/JIS & ISO 9001 standard of following capacity suitable for operation at single phase, 230V/400V ± 5% 50Hz A.C having insulation: Class F & Protection: IP44 (Minimum) manufactured by CE certified/UL listed countries as per sample accepted/approved by the Engineer. 220 volts single phase 1.00 H.P Centrifugal Pump Motor Set Discharge: 10-90 liter/min, Head: 34-25 meter. Suction & delivery : 25 mm x 25 mm (1" x 1" ) | Beside PT | 2 | each |  | 0
8 | 7.07.05.02 | Supplying, fitting and fixing super quality unframed 5mm thick Mirror with hard boards at the back with all necessary fittings fitted with rowel plug and screw including making holes in walls by drill machine and mending good the damages etc. all complete as per direction of the E-I-C. Belgium made Mirror (Size:450mmx300mm) | Inside PT | 4 | each |  | 0
9 | 7.06.01.05 | Supplying, fitting and fixing best quality and heavy type bib cock, and Two in one Bib cock of brass or cromium plated or special quality plastic materials made with leak proof and fixing in position with selected tape etc. all complete as per direction of the E-I-C. 20mm dia Plastic Bib Cock with heavy iron thread | Inside PT | 8 | each |  | 0
10 | 8.06.5.03 | Gang switch & socket: Supplying, assembling, fitting, fixing & installation (with effictive connection) on prepared board 250 volt 5 amp concealed type switch/socket with switch (foreign made MK/Legrand/ Hager (Stylea)/ABB /MEM or equivalent brand) mounted on 18 SWG galvanized sheet board 75mm depth with other accessories as per drawing, specification & direction of the Engineer-in-charge.. 03-gang switch | Inside PT | 8 | each |  | 0
11 | 8.05.01.1 | Batten Wiring: Surface Batten Wiring for the following Points Looping at the Switch board with earth terminal including Circuit wiring with 2c-1.5 sq.mm PVC insulated and sheathed cable (BYFYE) on minimum 12.5 mm thick teak wood batten painted at the bottom complete with 18 SWG GP Sheet switch board with 3mm thick ebonite sheet cover, 5 amps. Piano type switch, brass holder, ceiling rose, wooden round block, fixing materials & all other accessories as required including mending the damages: Manufacturer of cable Eastern/BRB/Paradise/Poly cable/ Super sign/BBS or equivalent according to the specification & direction of the Engineer- in-charge. Light point / Exhaust / Wall bracket fan point | Inside PT | 4 | point |  | 0
12 | 7.11.07.01.1 | Manhole Cover CI Manhole Cover Supplying, fitting and fixing best quality heavy type CI manhole cover round perforated/solid plate made with locking & un-locking arrangement. All other remaining cost including all accessories; their carriages, wages of labor, technician and incidental charges etc. all complete as per direction & approval of the Engineering –in- charge. Size: 600 mm dia with locking arrangement, Brand: MANCO or equivalen | On septic tank slab | 2 | each |  | 0
13 | 5.08.26.01 | Supplying fitting, fixing of UPVC hollow or solid plastic door shutter having specific gravity 1.35-1.45, thickness 1.7 mm - 2.2 mm and other physical, chemical, thermal, fire resistivity properties etc. as per BSTI approved manufacturer standards or ASTM, BS/ISO/IS standards of different sizes fitted fixed with uPVC plastic door frame weighing 5.82 kg/m2 with at least 3 Nos Stainless Steel hinges fitted with min 64 Nos of 3.17 mm - 3.97 mm dia 12.7 mm long rivets, 12 Nos 25.4 mm Stainless Steel screws. 9.38 mm dia, 150 mm long Stainless Steel tower bolts 2 Nos, 146 mm long Stainless Steel handle fitted with rivet, fitted with 2 Nos of G.I inner joint 234.95 mm x 127 mm clamp, 76.2 mm x 57.15 mm, 25 mm dia 1 no Stainless Steel haspbolt, special type round rack, carrying the same to site and local carriage etc. all complete as per direction of the E-I-C. 760mmx1980mm uPVC plastic shutter (hollow) | Inside PT | 4 | each |  | 0
14 | 7.12.01.02 | Manufacturing, supplying, fitting and fixing white porcelain 450mm long pan (BISF standard) with PVC trap fixed properly to make it fully leak proof, etc. all complete as per direction of the E-I-C. | Inside PT | 1 | each |  | 0
15 |  | Supplying fitting, fixing of Soak well made of RCC ring-slab according to the attached design. The soak well will be filled with 50% brick chips and 50% course sand. | Beside PT | 2 | each |  | 0
16 |  | Cleaning of existing public toilet as per the direction of E-I-C | Whole PT | 2 |  |  | 0
Sub total= | [6 empty] | 0
Two public toilet in Amra Khali
1 | 5.16.09.01 | On exterior surface applying as per manufacturer instruction specific coat of weather coat of approved quality and colour delivered from authorized local agent of the manufacturer in a sealed container. Applying one vertical and one horizontal coat for each coat and successive coat is to be applied after drying up of previous coat by brush/roller/spray in/c cleaning, washing, rubbing, as necessary and sand papering the surface and necessary scaffolding, etc. all complete for all floors i/c cost of all materials as per direction of the E-I-C. | Outer wall | 112.5 | m2 |  | 0
2 | 8.03.1.2 | Supplying, fitting and fixing energy meter with cutout teak wood board etc. all complete as per directions of E-I-C (when the meter is not supplied by PDB). 500 Volts 3 phase 150 amps | From nearby electric pole | 2 | each |  | 0
3 | 8.05.07.3 | ELECTRICAL WIRING BYA Cable: Conduit wiring on surface with the following PVC insulated stranded cable (BYA) & green Colored PVC insulated ECC wire (BYA) through PVC Conduit complete with fixing materials & other accessories as specified, Manufacturer of cable Eastern/BRB/Paradise/Poly cable/ Super sign/BBS or equivalent according to the Specification & direction of the Engineer- in-charge. 1c-2x4.0 Sq.mm (BYA ) Cable with 4.0 Sq.mm (BYA) ECC wire through PVC Pipe of 25 mm inner dia. | From nearby electric pole | 40 | m |  | 0
4 | 8.11.3.04 | Supplying, fitting and fixing the following electric lamp for garden/gate/room light and different places as per directions of the E-I-C. Energy Savings Lamp (CLF) 15 watt Spiral Type lamps B22 CD | Inside PT | 30 | each |  | 0
5 | 8.12.2.2 | Supplying, assembling, fitting, fixing, installation (with effictive connection) testing & Commissioning of single stage 2800-2900 RPM Centrifugal water Pump Motor Set monobloc type manufactured according to DIN/NEMA/IEC/BS/VDE/JIS & ISO 9001 standard of following capacity suitable for operation at single phase, 230V/400V ± 5% 50Hz A.C having insulation: Class F & Protection: IP44 (Minimum) manufactured by CE certified/UL listed countries as per sample accepted/approved by the Engineer. 220 volts single phase 1.00 H.P Centrifugal Pump Motor Set Discharge: 10-90 liter/min, Head: 34-25 meter. Suction & delivery : 25 mm x 25 mm (1" x 1" ) | Beside PT | 2 | each |  | 0
6 |  | Cleaning of existing public toilet as per the direction of E-I-C | Whole PT | 2 |  |  | 0
Sub total= | [6 empty] | 0
One public toilet in Kagospukur bazar
1 | 5.16.04.01 | Distempering with ready mixed synthetic polyvinyl distemper from authorized manufacturer in a seal container, to wall and ceiling in two coats over a coat of primer/sealer. Applying one vertical and one horizontal coat for each coat and successive coat is to be applied after drying up of previous coat by brush/roller/spray in/c cleaning the plinth, floors, doors, windows, portions and ventilators by washing, rubbing, as necessary and sand papering the surface and necessary scaffolding, etc. curing for the requisite period etc. all complete for all floors i/c cost of all materials as per direction of the E-I-C. | Outer wall | 51 | m2 |  | 0
2 | 5.16.09.01 | On exterior surface applying as per manufacturer instruction specific coat of weather coat of approved quality and colour delivered from authorized local agent of the manufacturer in a sealed container. Applying one vertical and one horizontal coat for each coat and successive coat is to be applied after drying up of previous coat by brush/roller/spray in/c cleaning, washing, rubbing, as necessary and sand papering the surface and necessary scaffolding, etc. all complete for all floors i/c cost of all materials as per direction of the E-I-C. | Outer wall | 68 | m2 |  | 0
3 | 8.03.1.2 | Supplying, fitting and fixing energy meter with cutout teak wood board etc. all complete as per directions of E-I-C (when the meter is not supplied by PDB). 500 Volts 3 phase 150 amps |  | 1 | each |  | 0
4 | 8.05.07.3 | ELECTRICAL WIRING BYA Cable: Conduit wiring on surface with the following PVC insulated stranded cable (BYA) & green Colored PVC insulated ECC wire (BYA) through PVC Conduit complete with fixing materials & other accessories as specified, Manufacturer of cable Eastern/BRB/Paradise/Poly cable/ Super sign/BBS or equivalent according to the Specification & direction of the Engineer- in-charge. 1c-2x4.0 Sq.mm (BYA ) Cable with 4.0 Sq.mm (BYA) ECC wire through PVC Pipe of 25 mm inner dia. |  | 50 | m |  | 0
5 | 8.11.3.04 | Supplying, fitting and fixing the following electric lamp for garden/gate/room light and different places as per directions of the E-I-C. Energy Savings Lamp (CLF) 15 watt Spiral Type lamps B22 CD |  | 8 | each |  | 0
6 | 8.12.2.2 | Supplying, assembling, fitting, fixing, installation (with effictive connection) testing & Commissioning of single stage 2800-2900 RPM Centrifugal water Pump Motor Set monobloc type manufactured according to DIN/NEMA/IEC/BS/VDE/JIS & ISO 9001 standard of following capacity suitable for operation at single phase, 230V/400V ± 5% 50Hz A.C having insulation: Class F & Protection: IP44 (Minimum) manufactured by CE certified/UL listed countries as per sample accepted/approved by the Engineer. 220 volts single phase 1.00 H.P Centrifugal Pump Motor Set Discharge: 10-90 liter/min, Head: 34-25 meter. Suction & delivery : 25 mm x 25 mm (1" x 1" ) | Beside PT | 1 | each |  | 0
7 | 7.07.05.02 | Supplying, fitting and fixing super quality unframed 5mm thick Mirror with hard boards at the back with all necessary fittings fitted with rowel plug and screw including making holes in walls by drill machine and mending good the damages etc. all complete as per direction of the E-I-C. Belgium made Mirror (Size:450mmx300mm) | Inside PT | 2 | each |  | 0
8 | 7.06.01.05 | Supplying, fitting and fixing best quality and heavy type bib cock, and Two in one Bib cock of brass or cromium plated or special quality plastic materials made with leak proof and fixing in position with selected tape etc. all complete as per direction of the E-I-C. 20mm dia Plastic Bib Cock with heavy iron thread | Inside PT | 4 | each |  | 0
9 | 8.06.5.03 | Gang switch & socket: Supplying, assembling, fitting, fixing & installation (with effictive connection) on prepared board 250 volt 5 amp concealed type switch/socket with switch (foreign made MK/Legrand/ Hager (Stylea)/ABB /MEM or equivalent brand) mounted on 18 SWG galvanized sheet board 75mm depth with other accessories as per drawing, specification & direction of the Engineer-in-charge.. 03-gang switch | Inside PT | 2 | each |  | 0
10 | 8.05.01.1 | Batten Wiring: Surface Batten Wiring for the following Points Looping at the Switch board with earth terminal including Circuit wiring with 2c-1.5 sq.mm PVC insulated and sheathed cable (BYFYE) on minimum 12.5 mm thick teak wood batten painted at the bottom complete with 18 SWG GP Sheet switch board with 3mm thick ebonite sheet cover, 5 amps. Piano type switch, brass holder, ceiling rose, wooden round block, fixing materials & all other accessories as required including mending the damages: Manufacturer of cable Eastern/BRB/Paradise/Poly cable/ Super sign/BBS or equivalent according to the specification & direction of the Engineer- in-charge. Light point / Exhaust / Wall bracket fan point | Inside PT | 4 | point |  | 0
11 |  | Supplying fitting, fixing of Soak well made of RCC ring-slab according to the attached design. The soak well will be filled with 50% brick chips and 50% course sand. | Beside PT | 1 | each |  | 0
12 |  | Cleaning of existing public toilet as per the direction of E-I-C | Whole PT | 1 | LS |  | 0
Sub total= | [6 empty] | 0
One public toilet at Railway Station
1 | 5.12.02.01 | Minimum 12mm thick cement plaster (1:6) with Portland Composite cement (CEM II/AM, 42.5N) and best quality sand (minimum FM1.2) to wall both inner and outer surface, finishing the corner and edges in/c washing of sand cleaning the surface, scaffolding and curing for the requisite period etc. all complete as per direction of the E-I-C. Ground floor | Outer wall | 66 | m2 |  | 0
2 | 5.16.04.01 | Distempering with ready mixed synthetic polyvinyl distemper from authorized manufacturer in a seal container, to wall and ceiling in two coats over a coat of primer/sealer. Applying one vertical and one horizontal coat for each coat and successive coat is to be applied after drying up of previous coat by brush/roller/spray in/c cleaning the plinth, floors, doors, windows, portions and ventilators by washing, rubbing, as necessary and sand papering the surface and necessary scaffolding, etc. curing for the requisite period etc. all complete for all floors i/c cost of all materials as per direction of the E-I-C. | Outer wall | 34 | m2 |  | 0
3 | 5.16.09.01 | On exterior surface applying as per manufacturer instruction specific coat of weather coat of approved quality and colour delivered from authorized local agent of the manufacturer in a sealed container. Applying one vertical and one horizontal coat for each coat and successive coat is to be applied after drying up of previous coat by brush/roller/spray in/c cleaning, washing, rubbing, as necessary and sand papering the surface and necessary scaffolding, etc. all complete for all floors i/c cost of all materials as per direction of the E-I-C. | Outer wall | 60 | m2 |  | 0
4 | 8.03.1.2 | Supplying, fitting and fixing energy meter with cutout teak wood board etc. all complete as per directions of E-I-C (when the meter is not supplied by PDB). 500 Volts 3 phase 150 amps |  | 1 | each |  | 0
5 | 8.05.07.3 | ELECTRICAL WIRING BYA Cable: Conduit wiring on surface with the following PVC insulated stranded cable (BYA) & green Colored PVC insulated ECC wire (BYA) through PVC Conduit complete with fixing materials & other accessories as specified, Manufacturer of cable Eastern/BRB/Paradise/Poly cable/ Super sign/BBS or equivalent according to the Specification & direction of the Engineer- in-charge. 1c-2x4.0 Sq.mm (BYA ) Cable with 4.0 Sq.mm (BYA) ECC wire through PVC Pipe of 25 mm inner dia. |  | 30 | m |  | 0
6 | 8.11.3.04 | Supplying, fitting and fixing the following electric lamp for garden/gate/room light and different places as per directions of the E-I-C. Energy Savings Lamp (CLF) 15 watt Spiral Type lamps B22 CD |  | 8 | each |  | 0
7 | 8.12.2.2 | Supplying, assembling, fitting, fixing, installation (with effictive connection) testing & Commissioning of single stage 2800-2900 RPM Centrifugal water Pump Motor Set monobloc type manufactured according to DIN/NEMA/IEC/BS/VDE/JIS & ISO 9001 standard of following capacity suitable for operation at single phase, 230V/400V ± 5% 50Hz A.C having insulation: Class F & Protection: IP44 (Minimum) manufactured by CE certified/UL listed countries as per sample accepted/approved by the Engineer. 220 volts single phase 1.00 H.P Centrifugal Pump Motor Set Discharge: 10-90 liter/min, Head: 34-25 meter. Suction & delivery : 25 mm x 25 mm (1" x 1" ) | Beside PT | 1 | each |  | 0
8 | 7.07.05.02 | Supplying, fitting and fixing super quality unframed 5mm thick Mirror with hard boards at the back with all necessary fittings fitted with rowel plug and screw including making holes in walls by drill machine and mending good the damages etc. all complete as per direction of the E-I-C. Belgium made Mirror (Size:450mmx300mm) | Inside PT | 2 | each |  | 0
9 | 7.06.01.05 | Supplying, fitting and fixing best quality and heavy type bib cock, and Two in one Bib cock of brass or cromium plated or special quality plastic materials made with leak proof and fixing in position with selected tape etc. all complete as per direction of the E-I-C. 20mm dia Plastic Bib Cock with heavy iron thread | Inside PT | 4 | each |  | 0
10 | 7.11.07.01.1 | Manhole Cover CI Manhole Cover Supplying, fitting and fixing best quality heavy type CI manhole cover round perforated/solid plate made with locking & un-locking arrangement. All other remaining cost including all accessories; their carriages, wages of labor, technician and incidental charges etc. all complete as per direction & approval of the Engineering –in- charge. Size: 600 mm dia with locking arrangement, Brand: MANCO or equivalen | On septic tank slab | 2 | each |  | 0
11 | 7.10.02.02 | Supplying, fitting and fixing plastic overhead Water Tank of different capacity. Supplying, fitting and fixing plastic overhead Water Tank of 1000 litres capacity made with 25mm thick plastic composed sheet with plastic cover on top with locking arrangements, providing inlet and outlet pipe with flanges and plug, jum nuts, 40mm dia ball cock, 12mm dia 1.12m long overflow pipe and with all other necessary fittings etc. all complete in all respects as per direction of the E-I-C. | On PT roof | 1 | each |  | 0
12 |  | Supplying fitting, fixing of Soak well made of RCC ring-slab according to the attached design. The soak well will be filled with 50% brick chips and 50% course sand. | Beside PT | 1 | each |  | 0
13 |  | Cleaning of existing public toilet as per the direction of E-I-C | Whole PT | 1 |  |  | 0
Sub total= | [6 empty] | 0
One public toilet at Private Car Stand
1 | 5.12.02.01 | Minimum 12mm thick cement plaster (1:6) with Portland Composite cement (CEM II/AM, 42.5N) and best quality sand (minimum FM1.2) to wall both inner and outer surface, finishing the corner and edges in/c washing of sand cleaning the surface, scaffolding and curing for the requisite period etc. all complete as per direction of the E-I-C. Ground floor | Outer wall | 39 | m2 |  | 0
2 | 5.16.04.01 | Distempering with ready mixed synthetic polyvinyl distemper from authorized manufacturer in a seal container, to wall and ceiling in two coats over a coat of primer/sealer. Applying one vertical and one horizontal coat for each coat and successive coat is to be applied after drying up of previous coat by brush/roller/spray in/c cleaning the plinth, floors, doors, windows, portions and ventilators by washing, rubbing, as necessary and sand papering the surface and necessary scaffolding, etc. curing for the requisite period etc. all complete for all floors i/c cost of all materials as per direction of the E-I-C. | Outer wall | 45 | m2 |  | 0
3 | 5.16.09.01 | On exterior surface applying as per manufacturer instruction specific coat of weather coat of approved quality and colour delivered from authorized local agent of the manufacturer in a sealed container. Applying one vertical and one horizontal coat for each coat and successive coat is to be applied after drying up of previous coat by brush/roller/spray in/c cleaning, washing, rubbing, as necessary and sand papering the surface and necessary scaffolding, etc. all complete for all floors i/c cost of all materials as per direction of the E-I-C. | Outer wall | 67 | m2 |  | 0
4 | 8.03.1.2 | Supplying, fitting and fixing energy meter with cutout teak wood board etc. all complete as per directions of E-I-C (when the meter is not supplied by PDB). 500 Volts 3 phase 150 amps |  | 1 | each |  | 0
5 | 8.05.07.3 | ELECTRICAL WIRING BYA Cable: Conduit wiring on surface with the following PVC insulated stranded cable (BYA) & green Colored PVC insulated ECC wire (BYA) through PVC Conduit complete with fixing materials & other accessories as specified, Manufacturer of cable Eastern/BRB/Paradise/Poly cable/ Super sign/BBS or equivalent according to the Specification & direction of the Engineer- in-charge. 1c-2x4.0 Sq.mm (BYA ) Cable with 4.0 Sq.mm (BYA) ECC wire through PVC Pipe of 25 mm inner dia. |  | 30 | m |  | 0
6 | 8.11.3.04 | Supplying, fitting and fixing the following electric lamp for garden/gate/room light and different places as per directions of the E-I-C. Energy Savings Lamp (CLF) 15 watt Spiral Type lamps B22 CD |  | 8 | each |  | 0
7 | 8.12.2.2 | Supplying, assembling, fitting, fixing, installation (with effictive connection) testing & Commissioning of single stage 2800-2900 RPM Centrifugal water Pump Motor Set monobloc type manufactured according to DIN/NEMA/IEC/BS/VDE/JIS & ISO 9001 standard of following capacity suitable for operation at single phase, 230V/400V ± 5% 50Hz A.C having insulation: Class F & Protection: IP44 (Minimum) manufactured by CE certified/UL listed countries as per sample accepted/approved by the Engineer. 220 volts single phase 1.00 H.P Centrifugal Pump Motor Set Discharge: 10-90 liter/min, Head: 34-25 meter. Suction & delivery : 25 mm x 25 mm (1" x 1" ) | Beside PT | 1 | each |  | 0
8 | 7.07.05.02 | Supplying, fitting and fixing super quality unframed 5mm thick Mirror with hard boards at the back with all necessary fittings fitted with rowel plug and screw including making holes in walls by drill machine and mending good the damages etc. all complete as per direction of the E-I-C. Belgium made Mirror (Size:450mmx300mm) | Inside PT | 2 | each |  | 0
9 | 7.06.01.05 | Supplying, fitting and fixing best quality and heavy type bib cock, and Two in one Bib cock of brass or cromium plated or special quality plastic materials made with leak proof and fixing in position with selected tape etc. all complete as per direction of the E-I-C. 20mm dia Plastic Bib Cock with heavy iron thread | Inside PT | 4 | each |  | 0
10 | 8.06.5.03 | Gang switch & socket: Supplying, assembling, fitting, fixing & installation (with effictive connection) on prepared board 250 volt 5 amp concealed type switch/socket with switch (foreign made MK/Legrand/ Hager (Stylea)/ABB /MEM or equivalent brand) mounted on 18 SWG galvanized sheet board 75mm depth with other accessories as per drawing, specification & direction of the Engineer-in-charge.. 03-gang switch | Inside PT | 2 | each |  | 0
11 | 8.05.01.1 | Batten Wiring: Surface Batten Wiring for the following Points Looping at the Switch board with earth terminal including Circuit wiring with 2c-1.5 sq.mm PVC insulated and sheathed cable (BYFYE) on minimum 12.5 mm thick teak wood batten painted at the bottom complete with 18 SWG GP Sheet switch board with 3mm thick ebonite sheet cover, 5 amps. Piano type switch, brass holder, ceiling rose, wooden round block, fixing materials & all other accessories as required including mending the damages: Manufacturer of cable Eastern/BRB/Paradise/Poly cable/ Super sign/BBS or equivalent according to the specification & direction of the Engineer- in-charge. Light point / Exhaust / Wall bracket fan point | Inside PT | 4 | point |  | 0
12 | 7.10.02.02 | Supplying, fitting and fixing plastic overhead Water Tank of different capacity. Supplying, fitting and fixing plastic overhead Water Tank of 1000 litres capacity made with 25mm thick plastic composed sheet with plastic cover on top with locking arrangements, providing inlet and outlet pipe with flanges and plug, jum nuts, 40mm dia ball cock, 12mm dia 1.12m long overflow pipe and with all other necessary fittings etc. all complete in all respects as per direction of the E-I-C. | On PT roof | 1 | each |  | 0
13 |  | Supplying fitting, fixing of Soak well made of RCC ring-slab according to the attached design. The soak well will be filled with 50% brick chips and 50% course sand. | Beside PT | 1 | each |  | 0
14 |  | Cleaning and washing of existing public toilet as per the direction of E-I-C | Whole PT | 1 |  |  | 0
Sub total= | [6 empty] | 0
Gross total= | [6 empty] | 0

## Bar Shedule (hidden)
Gazipur City Corporation, Gazipur
Bar schedule for DEWATS
CDC: Shahid Ahsanullah Nagar
SL # | Descrip of Items | Dia of bar | Bar Shape | Length | # of bar | Total | Unite weight | Quantity-Kg
1 | Setteler (B. Slab)_Long | 10 mm |  | 9.125 | 41 | 374.125 | 0.617 | 230.8351
2 | Setteler(B. Slab)_Short | 10 mm |  | 2.75 | 124 | 341 | 0.617 | 210.397
3 | ABR & AF(B. Slab)_Long | 10 mm |  | 13.275 | 41 | 544.275 | 0.617 | 335.8177
4 | ABR & AF(B. Slab)_Short | 10 mm |  | 2.75 | 176 | 484 | 0.617 | 298.628
5 | HPGF(B. Slab)_Long | 10 mm |  | 22.1 | 60 | 1326 | 0.617 | 818.142
6 | HPGF(B. Slab)_Short | 10 mm |  | 4.325 | 295 | 1275.875 | 0.617 | 787.2149
7 | Setteler(T. Slab)_Long | 10 mm |  | 8.85 | 17 | 150.45 | 0.617 | 92.8276
8 | Setteler(T. Slab)_Short | 10 mm |  | 2.45 | 30 | 73.5 | 0.617 | 45.3495
|  | 10 mm |  | 2.55 | 30 | 76.5 | 0.617 | 47.2005
9 | ABR & AF(T. Slab)_Long | 10 mm |  | 12.95 | 12 | 155.4 | 0.617 | 95.8818
|  | 10 mm |  | 13.05 | 5 | 65.25 | 0.617 | 40.2593
10 | ABR & AF(T. Slab)_Short | 10 mm |  | 2.45 | 63 | 154.35 | 0.617 | 95.234
|  | 10 mm |  | 2.55 | 24 | 61.2 | 0.617 | 37.7604
11 | HPGF(T. Slab)_Long | 10 mm |  | 3.975 | 10 | 39.75 | 0.617 | 24.5257
12 | HPGF(T. Slab)_Short | 10 mm |  | 1.35 | 14 | 18.9 | 0.617 | 11.6613
|  | 10 mm |  | 1.45 | 14 | 20.3 | 0.617 | 12.5251
13 | Inspection Pit | 10 mm |  | 1.325 | 360 | 477 | 0.617 | 294.309
14 | Inlet Chamber _ Logn | 10 mm |  | 1.05 | 7 | 7.35 | 0.617 | 4.535
15 | Inlet Chamber _Short | 10 mm |  | 0.825 | 8 | 6.6 | 0.617 | 4.0722
| Total | [6 empty] | 3487.176
Lapping wastage considered 2% | [7 empty] | 69.744
Grand Total | [7 empty] | 3556.92