## LOT 4 Appliances, Elect & ICT
Annex A2 - TECHNICAL SPECIFICATIONS OF LIST OF APPLIANCES, ELECTRICAL AND ICT ITEMS (LOT 4)
NO | ITEM | SPECIFICATIONS | ESTIMATED ANNUAL REQUIREMENT | UNIT OF MEASURE | REFERENCE PICTURE | catalogue(s)/ Photographs required. Yes/No
1 | Non- electric water purifier | Multistage purification; Germ Killer; 23 Liter capacity; Dimension : 61(H) x 29 (W)x 26 (D) cm | 34.5 | pcs |  | Yes
2 | Electric Kettle | Cordless 1.5-1.8 L | 34.5 | pcs |  | Yes
3 | Microwave | 23 L capacity | 11.5 | pcs |  | No
4 | Inverter Split Air Conditioner | 1 ton capacity (3.5kW min), wall-mounted; white. • The supplier shall provide a detailed technical specification sheet for each of the air conditioning units, which shall include the following informatioan : Energy efficiency rating, Max. input current (A), operating current (A), cooling capacity (kW), fan capacity (m3/hr), dimensions, noise levels (dBA), manufacturer, model, warranty. Supplier to install wiring to wall-mounted AC units (internal and/or external unit as required) using3x2.5sqmm PVC/PVC cabling enclosed in PVC conduit. Supply and install 13A socket at internal units. Equipment locations to be agreed with site engineer before installation. The supplier shall also include for 2 years maintenance of the AC unit in their bid price. Technicians for the daily maintennce should be available readily in Cox's Bazar. | 17.25 | pcs |  | No
5 | Inverter Split Air Conditioner | 1.5 ton capacity (5.25kw min), wall-mounted; white. • The supplier shall provide a detailed technical specification sheet for each of the air conditioning units, which shall include the following informatioan : Energy efficiency rating, Max. input current (A), operating current (A), cooling capacity (kW), fan capacity (m3/hr), dimensions, noise levels (dBA), manufacturer, model, warranty. Supplier to install wiring to wall-mounted AC units (internal and/or external unit as required) using3x2.5sqmm PVC/PVC cabling enclosed in PVC conduit. Supply and install 13A socket at internal units. Equipment locations to be agreed with site engineer before installation. The supplier shall also include for 2 years maintenance of the AC unit in their bid price. Technicians for the daily maintennce should be available readily in Cox's Bazar. | 23 | pcs |  | No
6 | Inverter Split Air Conditioner | 2 ton capacity (7kw Min), wall-mounted; white.• The supplier shall provide a detailed technical specification sheet for each of the air conditioning units, which shall include the following informatioan : Energy efficiency rating, Max. input current (A), operating current (A), cooling capacity (kW), fan capacity (m3/hr), dimensions, noise levels (dBA), manufacturer, model, warranty. Supplier to install wiring to wall-mounted AC units (internal and/or external unit as required) using3x2.5sqmm PVC/PVC cabling enclosed in PVC conduit. Supply and install 13A socket at internal units. Equipment locations to be agreed with site engineer before installation. The supplier shall also include for 2 years maintenance of the AC unit in their bid price. Technicians for the daily maintennce should be available readily in Cox's Bazar. | 34.5 | pcs |  | No
7 | Dehumidifiers | Capacity : 5 litres per day @ 25C, Relative Humidity 60%. Supplier to provide technical specification sheet with air flow capacity, electrical current ratings, sound output, dimensions and weight | 34.5 | pcs |  | No
8 | Dehumidifiers | Capacity : 10 litres per day @ 25C, Relative Humidity 60%. Supplier to provide technical specification sheet with air flow capacity, electrical current ratings, sound output, dimensions and weight. | 34.5 | pcs |  | No
9 | Cassette AC Units | Split ceiling-mounted cassete inverter AC units – 1 ton (3.5kW) capacity. • The supplier shall provide a detailed technical specification sheet for the air conditioning units, which shall include the following informatioan : Energy efficiency rating, Max. input current (A), operating current (A), cooling capacity (kW), fan capacity (m3/hr), dimensions, noise levels (dBA), manufacturer, model, warranty. • Supplier to include installation of AC unit & electrical wiring (13A socket wired with 2.5sqmm PVC/PVC cabling enclosed in PVC conduit to 16/20A MCB – separate MCB for each AC unit). Equipment locations to be agreed with site engineer before installation. • The supplier shall also include for minimum 2 years maintenance of the AC unit in their bid price. | 34.5 | pcs |  | No
10 | Cassette AC Units | Split ceiling-mounted cassete inverter AC units – 1.5 ton (3.5kW) capacity. • The supplier shall provide a detailed technical specification sheet for each of the air conditioning units, which shall include the following informatioan : Energy efficiency rating, Max. input current (A), operating current (A), cooling capacity (kW), fan capacity (m3/hr), dimensions, noise levels (dBA), manufacturer, model, warranty. • Supplier to include installation of AC unit & electrical wiring (13A socket wired with 2.5sqmm PVC/PVC cabling enclosed in PVC conduit to 16/20A MCB – separate MCB for each AC unit). Equipment locations to be agreed with site engineer before installation. • The supplier shall also include for minimum 2 years maintenance of the AC unit in their bid price. | 34.5 | pcs |  | No
11 | Cassette AC Units | Split ceiling-mounted cassete inverter AC units – 2 ton (3.5kW) capacity. • The supplier shall provide a detailed technical specification sheet for each of the air conditioning units, which shall include the following informatioan : Energy efficiency rating, Max. input current (A), operating current (A), cooling capacity (kW), fan capacity (m3/hr), dimensions, noise levels (dBA), manufacturer, model, warranty. • Supplier to include installation of AC unit & electrical wiring (13A socket wired with 2.5sqmm PVC/PVC cabling enclosed in PVC conduit to 16/20A MCB – separate MCB for each AC unit). Equipment locations to be agreed with site engineer before installation. • The supplier shall also include for minimum 2 years maintenance of the AC unit in their bid price. | 34.5 | pcs |  | No
12 | Gas Stove | Free standing ; four burner with oven; white | 2.3 | pcs |  | No
13 | Gas Stove | Two burner with ceramic table top | 2.3 | pcs |  | No
14 | Refrigerator | 350 L capacity | 11.5 | pcs |  | No
15 | Coffee Maker | 1.2 liter | 40.25 | pcs |  | No
16 | Ceiling Fan | 36 inch; nickel brush with remote control | 17.25 | pcs |  | No
17 | Wall Mounted Fan | 18 inch: oscillating; nickel brush with remote control | 17.25 | pcs |  | No
18 | Table lamp | contemporary; metal | 11.5 | pcs |  | Yes
19 | Flat screen TV 55" | Product Type:LED Display Screen Size: 55" Resolution: 3,840 x 2,160 Video Picture Engine: UHD Engine PQI (Picture Quality Index):1400 HDR (High Dynamic Range):HDR HDR 10+:Yes Contrast:Mega Contrast Audio Dolby Digital Plus: Yes Dialog Enhancement:Yes Speaker Type:2CH Blutooth Audio:Yes Smart Service SmartThings App Support:Yes SmartThings:Yes Gallery:Yes Convergence Mobile to TV - Mirroring, DLNA:Yes TV Sound to Mobile:Yes Sound Mirroring:Yes Connectivity HDMI:3 USB:2 Additional Feature Processor:Quad-Core Digital Clean View:Yes Eco Feature Eco Sensor:Yes Power Power Supply:AC100-240V 50/60Hz Power Consumption (Max):120 W Dimension Package Size (WxHxD):1097 x 678 x 151 mm(apprx.) Set Size with Stand (WxHxD):970.2 x 636.3 x 210.3 mm(apprx.) Set Size without Stand (WxHxD)L970.2 x 563.2 x 58.2 mm(apprx.) Weight Package Weight:12.8 kg(apprx.) Set Weight with Stand:9.8 kg(apprx.) Set Weight without Stand:9.6 kg(apprx.) Accessory Remote Controller:yes Power Cable:Yes Vesa Wall Mount Support:Yes | 3 | pcs
20 | Flat screen TV 75" | Display Screen Size – 75” Resolution – 3840 x 2160 Video Picture Engine – UHD Engine Motion Rate – 200 PQI – 2500 HDR – HDT Elite Contrast Enhancer – Yes Auto Motion Plus – Yes Film mode – Yes Audio Dolby Digital Plus – Yes Sound Output – 40W Speaker Type – 2.1CH Woofer – Yes Bluetooth Audio – Yes Smart Service Voice Interation – English Web Browser – Yes Specifications Convergence TV to Mobile Mirroring – Yes Mobile to TV Mirroring, DLNA – Yes 360 Video Player – Yes 360 Camera Support – Yes Bluetooth Low Energy – Yes Wifi Direct – Yes Localization Analog Clean View – Yes Tuner/Broadcasting Digital Broadcasting – DVB-T2 Analog Tuner – Yes TV Key – Yes Specifications Connectivity HDMI – 4 USB – 2 Component In – 1 Composite In – 1 Ethernet – Yes Digital Audio Out – 1 HDMI A/Return Ch. Support – Yes HDMI Quick Switch – Yes Wireless LAN Built-in – Yes Anynet + (HDMI - CEC) – Yes Design Design - Slim Design Bezel Type – 3 Bezel-less Slim Type – Slim Front Color – Slate Black + Eclipse Silver Stand Type – T-Type Center Low Additional Feature Instant On – Yes Processor – Quad Core Digital Clean View – Yes Auto Channel Search – Yes Auto Power Off – Yes Caption (Subtitle) – Yes Connect Share (HDD) / (USB)– Yes Embeded POP – Yes EPG – Yes Extended PVR – Yes Game Mode – Yes OSD Language – 22 Local Language BT HID Built-in – Yes USB HID Support – Yes Teletext – Yes Time Shift – Yes IPV6 Support – Yes Specifications Eco Feature Eco Sensor – Yes Power Power Supply – AC100-240V 50/60Hz Power Consumption – 270W Dimension Package Size - 1891 x 1121 x 230 mm(apprx.) Set Size with Stand (WxHxD) - 1673.8 x 1040.8 x 369.2 mm(apprx.) Set Size without Stand (WxHxD) - 1673.8 x 964.1 x 57.6 mm(apprx.) Weight Package Weight – 54.8 kg Set Weight with Stand – 39.6 kg Set Weight without Stand - 36.0 kg Accessory Remote Controller-yes Vesa Wall Mount Support – Yes User Manual – Yes E-Manual – Yes Power Cable – Yes Slim Gender Cable - Yes | 2 | pcs |  | No
21 | Sound/Audio System for Gym |  | 1 | set |  | No
21a | Open-Ceiling Weatherized Indoor Outdoor 125W Pendant Speakers | • Patented BroadBeam® waveguide technology delivers a consistent dispersion pattern for maximum intelligibility and edge-to-edge coverage (up to 10 kHz, independently verified) • One 8" (203 mm) polypropylene woofer and one 1" (25 mm) convex titanium tweeter with FerroFluid cooling mounted to a proprietary cast-aluminum baffle and heat sink • Weatherized components for indoor and outdoor applications • Includes UL listed hanging hardware with galvanized steel cables and integrated SpeedClamp self-locking cable grip for fast, easy and secure installation. Also includes Euroblock connector and terminal weather boot • Patented ZeroReflection enclosure technology for optimal sound reproduction and cabinet rigidity • Easy access six-position selectable tap switch for 25-, 70.7- and 100-volt applications with transformer bypass position simplifies ordering and inventory tracking • Steel grille with protective powder-coated finish for lasting durability • Average sensitivity of 89.5 dB offers high-output capabilities and reduced amplification costs • UL 1480 (UEAY), 2239 (hanging cable) and milspec 810 approved • High-quality black or white paint finish • Custom paint colors optional • Optional accessory: bracket for surface-mount applications | 6 | pcs |  | No
21b | Professional 12-Channel Line Mixer with Priority | • 6 HDHQ™ combination inputs with MIC, Phantom, and Line selector switches • 6 mono (3 stereo) RCA Inputs • Mic monitor 1/4" output for private listening to all mic inputs • Balanced XLR line outputs • Mono 1/4" line output can be used to feed audio to external recording device • AC or 24V DC power inputs • Mic 1 Priority Control • Master and individual level controls • 1U rack mountable | 1 | pcs |  | No
21c | 2-Channel Power Amplifier | • "Flex-Use" loading options allow you to drive low-impedance loads down to 2 ohms and certain models to drive 70 and 100V distributed loudspeaker systems • "Flex-Use" input connectivity choices including actively balanced barrier strip, XLR, or 1/4" TRS • "Flex-Use" output connectivity choices include NL4 Speakon™ and detachable terminal block • Rack mountable with chassis less than 16" or 40.6 mm deep • 1 dB recessed, detented gain controls for fast, accurate and repeatable settings • Tamper-proof security cover for gain controls • Recessed rear DIP switches for easy selection of stereo, parallel, or bridged mode operation, and the additional choice of enabling/disabling low-frequency filter protection • Low-noise variable-speed fans with rear-to-front airflow keep amplifiers and racks cool | 1 | pcs |  | No
21d | CD and Media Player with Integrated AM/FM Receiver and Bluetooth | CD/SD/USB/ and FM/AM tuner realtime audio playback Wireless Bluetooth playback when paired with a Bluetooth-enabled device like a smartphone, tablet, or computer Outputs: XLR, RCA X 2, and headphone 1/8" audio input for playback from any external source "Power on Play" function starts audio playback automatically when powered on "Panel Lock" function disables buttons to avoid unauthorized operation or programming Real-time recording from CD or FM/AM tuner to SD or USB media External control via RS-232C Control via ethernet with optional IF-E100 ethernet card is planned in the future | 1 | pcs |  | No
21e | Single-Channel 2.4 GHz Handheld System | Receiver: 2.4 GHz ISM band stable digital FSK modulation circuitry. All frequencies are located within this band With the FHSS frequency-hopping technique, each channel has 4 preset hopping frequencies By using an adaptive tracking algorithm, the 2400-Series can skip the Wi-Fi frequency in use and effectively avoid interference from 2.4 GHz communication products The hopping frequencies skip most Wi-Fi frequencies With dual tuner, true diversity receiving, receiving distance is up to 100 meters (330 ft) with no signal drop-out PCB is enclosed in a sturdy case The antennas are fixed at the left / right side of the front panel The transmitter has a high-efficiency circuitry design. The included single rechargeable lithium battery can be easily removed or interchanged for charging. The intelligent battery charger maintains a high charge capacity for up to 600 charge cycles Ideal for entry-level consumers Transmitter: Bright LEDs for battery status Patented design of the integrated grille and battery housing makes it easy to unscrew the grille to open the battery compartment to exchange the lithium battery or simply charge the transmitter in the charger The unique multi-layered metal grille protects the capsule against impact, rolling and pop noise and ensures sound clarity Proprietary capsule suspension design eliminates vibrations and touch noises for a true natural sound reproduction Interchangeable capsule module with premium condenser or dynamic options for easy and fast changeovers ACT™ function provides precise and rapid frequency sync to the receiver Transmitter has high-efficiency circuitry design. The included single rechargeable lithium battery can be easily removed or interchanged for charging. The intelligent battery charger maintains a high charge capacity for up to 600 charge cycles for cost-saving and is environmentally friendly | 1 | set |  | No
21f | Other Accessories | • 1 Pcs of CBI MLN-3 XLR Patch Cable - 3ft • 1 Pcs of CBI BLC-3 22 Gauge Balanced Wire Cable - 3ft • 500ft West Penn 225 16/2 Audio Speaker Wire | 1 | Set |  | No
21g | Installation | Installation | 1 | Nos |  | No
22 | Laptop Computer type 1 | Basic Information Processor Intel Core i5-8265U (6M Cache, 1.60GHz up to 3.90 GHz)Processor Display 14″ FHD (1920 x 1080) IPS AG Display Memory 8GB DDR4 RAM Storage 1TB HDD +128GB SSD Graphics NVIDIA MX230 2GB Graphics Chipset Intel Operating System: Win-10 Pro with license Microsoft office: 2019 Battery 3 Cell Li-Polymer Audio 2 x 2W speakers Input Devices Keyboard standard Optical Drive No WebCam HD Webcam Card Reader 4-in-1 SD card reader Network & Wireless Connectivity Wi-Fi 802.11 AC 1x1 & 2x2 Bluetooth 4.2 Bluetooth Ports, Connectors & Slots USB (s) 2 x USB 3.1 Gen 1 (1 supports charging) 1 xUSB-C (USB 3.1) HDMI 1x HDMI Audio Jack Combo Yes Extra RAM Slot Yes Extra M.2 Slot Yes Physical Specification Dimensions (W x D x H) 322.7mm x 230.5mm x 17.9mm / 12.7" x 9.07" x 0.7" Weight Starting at 1.55kg Color(s) Platinum Grey , Abyss Blue , Granite Black Warranty Manufacturing Warranty 2 years International Warranty | 40 | pcs |  | No
23 | Laptop Computer type 2 | Basic Information Processor Intel® Core™ i7-8550U Processor (8M Cache,1.80 GHz up to 4.00 GHz, 4 Cores, 8 Threads) Display 12.5” FHD (1920 x 1080) IPS Memory 8 GB DDR4 Ram Storage 1TB PCIe SSD Graphics Intel® UHD 620 Operating System:Genuine Windows 10 Pro with license Microsoft Office: 2019 Battery Up to 16 hours Audio Dolby® Premium Audio Input Devices Keyboard Backlit Optical Drive No WebCam 720p HD with IR Camera Card Reader Smart Card reader Network & Wireless Connectivity Wi-Fi Intel® Dual Band Wireless-AC (2 x 2) Bluetooth 4.2 Ports, Connectors & Slots USB (s) x USB 3.0, USB Type-C HDMI Yes Audio Jack Combo audio combo jack Physical Specification Dimensions (W x D x H) 307.7 mm x 209.8 x 17.4-17.8 mm / 12.1” x 8.3” x 0.69-0.70” Weight Starting at 1.13 kg / 2.49 lbs Color(s) black Warranty Manufacturing Warranty 3 years International Warranty | 40 | pcs |  | No
24 | Mobile Phone | Category Smartphone Network Network Type GSM / HSPA / LTE Network 2G GSM 850 / 900 / 1800 / 1900 - SIM 1 & SIM 2 (Dual-SIM Model only) Network 3G HSDPA 850 / 900 / 1900 / 2100 Network 4G LTE Speed HSPA, LTE-A GPRS Yes EDGE Yes Body Body Dimensions 158.5 x 73.6 x 7.9 mm (6.24 x 2.90 x 0.31 in) Body Weight 172 g Build Glass Front (Gorilla Glass 3), Plastic Back, Plastic Frame Network Sim Single SIM (Nano-SIM) or Dual SIM (Nano-SIM, Dual stand-by) Display Display Type Super AMOLED capacitive touchscreen, 16M Colors Display Size 6.5 inches, 102.0 cm2 (~87.4% screen-to-body ratio) Display Resolution 1080 x 2400 pixels, 20:9 ratio Display Multitouch Yes Display Density 405 ppi density Display Screen Protection Corning Gorilla Glass 3 Platform Operating System Android OS Version 10.0 (Ten) User Interface (ui) One UI 2 CPU Octa-core (4x2.3 GHz Cortex-A73 & 4x1.7 GHz Cortex-A53) GPU Mali-G72 MP3 Chipset Exynos 9611 (10nm) Memory Memory Internal 128 GB Memory External microSDXC (dedicated slot) Ram 6 GB Camera Primary Camera Quad: 48 MP 12 MP, (ultrawide) 12 MP, (macro) 5 MP, (depth sensor) Secondary Camera 32 MP Camera Features LED Flash, Panorama, HDR Video 2160p@30fps, 1080p@30/60/120fps Sound Audio Yes Loudspeaker Yes 3.5mm Jack Yes Connectivity WiFi Wi-Fi 802.11 a/b/g/n/ac, dual-band, Wi-Fi Direct, Hotspot Bluetooth 5.0, A2DP, LE NFC Yes USB 2.0, Type-C 1.0 reversible connector, USB On-The-Go Fm Radio Yes GPS Yes, with A-GPS Features Sensors Fingerprint (under display, optical), accelerometer, gyro, proximity, compass Messaging SMS(threaded view), MMS, Email Browser HTML5 Java No Battery Battery Type Non-removable Li-Po Battery Battery Capacity 4000 mAh Battery Charging Fast Battery Charging 15W Body Color Prism Crush Black Other Features ANT+ Warranty: 2yrs | 100 | pcs |  | No